## Slide 1: sPHENIX Status
Time Meeting
Nov. 4, 2025
Kin Yip
sPHENIX Director of Operations

## Slide 2: sPHENIX Status
  sPHENIX continues to accumulate luminosity towards the luminosity goal of 7/nb (Au + Au).
  TPC and other subsystems have survived ~4 unplanned beam aborts on Oct. 30 without harm.
  sPHENIX work hard to resolve emerging issues expeditiously:
    Computer node gserver1 (nfs server that stores log files) has been unstable and resulted in a few hours of downtime in sPHENIX data taking.
    MVTX data link errors (affecting 1% of the sensors) were first thought to be due to transceiver issue; but investigation during Monday’s (Nov. 3) access narrowed down the issue to the Readout Unit board which was then replaced.

## Slide 3: sPHENIX Status (cont.)
When all sPHENIX detectors were being operated.
1008C pump trips
CDU issue
1008C pump trips
CDU issue
6x6
No MVTX
No TPC

## Slide 4: sPHENIX Status (cont.)
> 69%