## Slide 1
1
10th EIC DAC Meeting - June 11th – 13th, 2025
ePIC dRICH Status
ePIC Detector
M. Contalbrigo – INFN Ferrara - DSCL
10th EIC DAC Meeting – June 11th - 13th, 2025
M. Contalbrigo

## Slide 2
Goals:
Hadron 3s-separation between 3 - 50 GeV/c
Complement electron ID below 15 GeV/c
Cover forward pseudorapidity 1.5 (barrel) - 3.5 (b. pipe)
dRICH Features:
Extended 3-50 GeV/c momentum range --> Dual radiator
Single-photon detection in high Bfield --> SiPM
Limited space --> Compact optics with curved detector
ePIC dRICH
Dual-radiator Ring-imaging Cherenkov Detector (dRICH)
Essential to access flavor information
4m
2
M. Contalbrigo
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 3
Charge 1: Is the design of the ePIC detector and its sub-systems appropriate and progressing well ?
Slides 4 - 5 - 6 - 7 - 9 - 10 - 11 - 15 - 18
Charge 2: Are the remaining work and technical, cost and schedule risks adequately understood ?
Are there opportunities?
Slides 5 - 8 - 13 - 14 - 16 - 17 - 20 and pre-TDR (pre-brief material)
Charge 3: Will the detector be technically ready for baselining by late 2025 ?
Slides 12 - 21 - 24
Charge 4: Are the detector integration and planning for installation and maintenance progressing well ?
Are there areas where further ideas should be pursued ?
Slides 19
Charge 5: Will the detector be ready for start of construction by late 2026 ?
Slides 12 - 21 - 24
Past Review: Action taken following recommendations
Slide 14 - 19 - 22 - 23 - 24
Review Charges
3
M. Contalbrigo
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 4
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
4
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 5
Aerogel Pre-Production
First large aerogel tile demonstrators delivered
Active Area = 21605 cm2
Dead Area = 3269 cm2 (13%)
Wasted Area = 9112 cm2 (27 %)
Active Area = 21368 cm2
Dead Area = 3506 cm2 (14%)
Wasted Area = 1868 cm2 (7 %)
5
M. Contalbrigo
Engineering of the aerogel wall expected by 2026
Aerogel with n=1.026 validated with lab and prototype tests
dRICH baseline specifications
Goal
Details on
Backup 26
Lab + Beam
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 6
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
6
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 7
Gas Radiator Technical Performance
Transmission in UV range > 98 %
Baseline Hexsafluoroethane validated with lab and beam tests
C2F6 molecular weight: 138.01 g/mol
boiling point: -78.1 °C
melting point: -100.6 °C
density: 5.734 kg/m3 at 24 °C
density: 16.08 kg/m3 at -78 °C
1 covalent + 6 hydrogen bonds
Expected performance
obtained with
dRICH prototype
Measured 139.7 m/s
speed of sound confirms
negligible contaminants
after few year in bottle
7
M. Contalbrigo
s0
s1
s0
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 8
Sonar to measure speed of sound
10 bar chamber + specrophotometer to measure
light transmission in the visible range
Gas Separation and Purging
Jamin interferometer for precise n determination
Purging via membranes
Purging via liquefaction of stand-by gas
Updated vapor-liquid equilibrium C2F6-CO2 model, test in preparation at CERN
Design of online purity monitors expected by 2026
C2F6
CO2
8
Nominal sensitivity down to 10 ppm of refractive index
M. Contalbrigo
Effective separation of CF4 and CO2 demostrated in LHCb
hpps://edms.cern.ch/document/2816490/1
Development of gas separation protocols expected by 2026
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 9
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
9
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 10
Mirror Technical Performance
CFRP substrate mid-size (~50 cm side) demonstrator validated with lab tests before coating
10
M. Contalbrigo
Details on
Backup 27
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 11
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
11
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 12
Photon Detector
50 mm
75 mm
+ SiPM carrierv3
+ RDO
12
M. Contalbrigo
/26
Full size engineering
test article
2025
2026
+ ALCOR 64ch
+ FEB 64
Steadly progress of photodetector towards integrated design completion in 2026
ALCOR 32 ch
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 13
Sensor Layout Engineering
13
M. Contalbrigo
75 mm
50 mm
Photon yield
Time resolution with ALCOR redout
SPAD size
eRD102-FY25
Novel HPK UVE fast SiPM
Baseline specs defined at the SiPM LLP Rewiew in fall 2023 after several tests on a variety of sensors
Details on
Backup 28
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 14
Annealing Engineering
14
M. Contalbrigo
Completion of engineering of the SiPM optimized layout and temperature treatments expected by 2026
PED funds
Recomm. (DAC): Annealing procedures should be investigated, and defined; this will
have implications for the design of the read-out board (heating).
Details of in-situ annealing protocol based on Joule-effect
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 15
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
15
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 16
Silicon die layout
Compact ball-grid array (BGA)
package with interposer
ALCOR Readout Chip & FEB
Improved timing and digital shutter
MPW run in March ‘25
ALCOR block diagram
ALCOR key specifications
16
M. Contalbrigo
ALCOR spces defined with years of lab + beam tests with the 32 channel version - ALCORv64 ready for pilot production
eRD109
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere stage in ingresso, c’e’ gain programmabile ?

## Slide 17
Readout Board (RDO)
Delivery imminent
Readout Electronic
Carrier v3
Front-End Board (FEB)
17
M. Contalbrigo
Design of the readout electronics in the “final” ePIC layout version is ready for test production.
Test-production started ‘Jan 25
Proton irradiation campaigns for ALCOR-32 and key RDO components showed SEU rate is within the expected manageable levels
Details on
Backup 29
Backup 30
A working DAQ scheme has been identified to support ML online data filtering at sub-detector level against pure dark-count event
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: N ties smaller than ePIC!

## Slide 18
n = 1.026
dn/dl = 6 10-6 nm-1
scattering length > 50 mm
Design Status
Momentum reach above 15 GeV/c to overlap with gas
More than 10 detected photons from 4 cm thickness
Single photon resolution approaching 2 mrad
Aerogel:
Momentum reach above 50 GeV/c at pseudorapidity > 2.5
More than 20 detected photons from 1 m depth
Single photon resolution approaching 1 mrad
Gas:
Single photon detection capability in highly non-uniform magnetic field
Excellent PDE in the visible range to cope with aerogel
Marginal contribution to the angular resolution
Preserve prompt Cherenkov information
Tolerance to few 1010 1-MeV neutron equivalent fluence
Sensors:
Below 1 p.e. signal threshold capability
Preserve sensor time resolution to cope with dark counts and accidentals
More than 300 kHz/ch rate capability
Streaming readout with suppression of no-interaction frames
Readout:
Mechanics:
Acceptance maximized in 1.5 – 3.5 pseudorapidity range
Material budget minimized in acceptance
Compatibility with barrel maintenance at IP6
with n = 1.00086
dn/dl = 0.2 10-6 nm-1
absorption length > 100 m
Carbon fiber material
Roughness of few nm
Angular precision < 0.3 mrad
Focalization of Cherenkov light onto the detector surface
Preservation of the Cherenkov information
Material budget limited to O(2 %) of radiation length
Mirror:
Spatial resolution of 3 x 3 mm2
Time resolution O(100 ps)
Operation at < -30 degrees
Annealing curing cycles
ALCOR chip (ToT architecture)
Time resolution < 200 ps
Rate > 300 kHz/ch
Composite materials
Single open volume
Detector in the barrel shadow
C2F6
ALCOR
SiPM
18
M. Contalbrigo
Dimensions
Purging
ALCOR 64ch
RDO
Layout
Annealing
Coating
Real-scale
prototype
Cooling
Technical requirements
Validated technical solutions
Before CD-2
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Vedere soglia in terms of fC.

## Slide 19
General Layout
Entrance window
(CFRP sandwich)
Exit window
(CFRP sandwich)
Detector box
(aluminum)
Shell
(CFRP bulk)
Pipe
(bulk)
19
M. Contalbrigo
A detailed mechanical model of the single-vessel detector is outlined with composite materials
Recomm. (DAC): Provide material for the pending decision
on the single vs two vessel version of the detector.
Composite materials
Total wieght: ~ 2 ton
PDU detector
Quartz window
Detector box
Off-axis bore
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 20
Realistic Components
20
M. Contalbrigo
Aerogel support
CFRP Layer
composition
Mirror mounting and alignment (aka NA62)
Engineering of all the mechanical details pursued with the real-scale prototype being realized in 2025
PO issued
eRD102-FY25
10th EIC DAC Meeting - June 11th – 13th, 2025
Vessel

## Slide 21
Test Beams
Previous validations:
Dual-radiator concept
C2F6 radiator gas performance
Aerogel rafractive index
SiPM-ALCOR readout chain
EIC-drive readout plane
Temperature gradients
2025 main goals:
Real scale 1-sector prototype
with demo components
ALCOR readout with RDO
21
Slot at SPS H8 in November
M. Contalbrigo
2025
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 22
SiPM plane, cycled from 22o to -30o
Quartz Window
5 x 5 cm step
3 mm lucite window
Temperature profile
Temperature profile
Gas volume with thermocouples
22
M. Contalbrigo
Recomm. (DAC): Investigate whether windows are necessary to separate regions at
different temperatures (gas radiator and the photon detector), and if needed, whether
they impact performance significantly.
Ongoing study with ANSYS workbench simulations
Benchmarked by dRICH prototype
Gradients are largely mitigated by
- double lucite window (with air gap) x 0.5
- 8 mm thick quartz window
- inner gas recirculation x 0.1
Ongoing comparative simulation vs prototype thermal study expected to be completed by mid 2026
10th EIC DAC Meeting - June 11th – 13th, 2025
Details on
Backup 33
Notes: Dove metto NISER ?

## Slide 23
dRICH Performance Study
e
p
k
p
p
23
M. Contalbrigo
Simulation within ePIC dd4hep framework accounts for tracking, material budget and magnetic bending.
Model bases on lab characterization and test-beam data of components
Photons impinging angles and transmission probability
10th EIC DAC Meeting - June 11th – 13th, 2025
Details on Backup 34
Notes: A quale pseudorapidity ?

## Slide 24
Stage 1: Procurement for the PDU components (asics, SiPM, carrier, FEB, RDO…)
Anticipate mirror and gas procurement to reduce risk
Stage 2 : Central 2-3 year for the detector box assembling before delivery to BNL
Aerogel production after engineering optimization
Gas system realization after BNL authority approval
Stage 3: Mechanical structures
Assembling and completion of services
6 months of contingency and functionality tests
Construction Plan
60% Preliminary Design Review passed. A construction and QA plan is outlined accounting for lead, assembling and commissioning time
24
M. Contalbrigo
TDR
Recomm. (DAC): Present at least a vague timeline for the project at the next DAC review.
CD-2: Validate ALCOR-64 & RDO design
Validate real-scale prototype mechanics
Study detector box engineering
Define baseline integration and maintenance plan
Work out a baseline cooling & gas sytem
CD-3: Optimize component performance
Complete component integration
Finalize cooling & gas system
Detail detector integration and maintenance
v
v
v
v
v
v
2032
2031
2030
2029
2028
2027
Details on Backup 31-32
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 25
Conclusions
dRICH Design Status is documented in the pre-TDR:
dRICH passed 60% Preliminary Design Review on April 1-2, 2025
Essential technical performance has been validated for each dRICH component
Engineering is ongoing with pre-productions for performance vs cost optimization
Workforce is increasing, with focus in simulations and engineering
Ultimate R&D achievements expected in 2025 (real-scale prototype, RDO, ALCOR64)
On track for CD-2 in 2026 and Final Design completion in January 2027 as for P6
25
M. Contalbrigo
Previous DAC Recommendations:
✓ Annealing procedures should be investigated and defined; this will have implications for the design of the read-out board (heating).
✓ Provide material for the pending decision on the single vs two vessel version of the detector.
✓ Present at least a vague timeline for the project at the next DAC review.
✓ Investigate whether windows are necessary to separate regions at different temperatures (gas radiator and the photon detector),
and if needed, whether they impact performance significantly.
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 26
Aerogel Technical Performance
* meet SPE resolution expectations
* scattering length > 50 mm
* match with TOF end point (2.5 GeV/c)
* overlap with gas (> 12 GeV/c)
* photon yield > 10 per particle with MAPMTs
Goal
Various samples from Aerogel Factory
Lab
40% ring coverage by MAPMTs
Goal
26
M. Contalbrigo
Aerogel with n=1.026 validated with lab and prototype tests
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 27
Mirror Substrate & Coating
Studying special material (ultra-low degassing)
Testing coating (SBU) on dRICH samples
Developing portable reflectivity test bench
Ongoing activities with possible synergies with pfRICH to be completed by 2026
27
M. Contalbrigo
X-ray reflectivity off CMA mirror
(rho ~ 2.1 g/cm3, roughness ~ 1 nm)
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 28
Sensor Technical Performance
Based on PDE vs DCR studies
over a variety of SiPM
new
annealed
post 10-9 neq
28
M. Contalbrigo
Baseline specs defined at the SiPM LLP Rewiew in fall 2023 after several tests on a variety of sensors
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Aggiungere distribuzioni in numero fotoni ?

## Slide 29
Readout Irradiation Tests
Regular irradiation campaign ongoing:
Neutron irradiation campaign at LNL-CN (9-11 October 24)
Gamma irradiation campaign at CERN-GIF (14-16 October 24)
Proton irradiation campaign at TIFPA (12-14 December 24)
ALCOR radiation tolerance
RDO radiation tolerance
Singe-event upset (SEU) rate of dRICH electronics is manageable with standard firmware redundancy and resets features
AU15P (FPGA)
Attiny (power)
Si5326 (clock)
Mean SEU time @ ePIC
4 h
3.8 h
2 min
Measured
29
M. Contalbrigo
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: TMR triple modular redundancy
CRC cyclic redundancy check
SEU single event upset

## Slide 30
dRICH Online Filtering
Scheme based on ePIC DAM (Felix) &
APEIRON communication network (INFN)
Preliminary tests
30
M. Contalbrigo
A working DAQ scheme has been identified to support ML online data filtering at sub-detector level against pure dark-count event
detector integrated analysis
sub-sector integrated analysis
Classifier
10th EIC DAC Meeting - June 11th – 13th, 2025
Notes: Farsi spieare la latenza. Bisogna sapere ul data rate a cui sono arrivati (factor 2?)

## Slide 31
dRICH Overview
Many groups have committed to the construction phase of the above items
QA stations are of common interest: best performance with co-funded equipment & shared workforce
open to collaborators: opportunity for secondments and students traning
24 staff
18 postdocs/
students
18 technicians/
engineers
8 staff
2 postdocs/
students
2 technicians/
engineers
8 staff
2 postdocs/
students
31
M. Contalbrigo
Preliminary commitments for the construction phase are defined
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 32
Quality Assurance
QA stations organized in order to
Be close to the assembling site
Ensure adequate personnel training
Provide redundancy & investment synergy
Support specific in-deep characterization studies
32
Aerogel: Integrity, defects, transmittance, refractive index, dimensions, planarity
Mirror: Dimensions, shape accuracy, radius, reflectivity
Sensors: Electrical connections, quench resistor, I-V characteristics, DCR, relative PDE
Readout: Electrical connections, bias levels, threshold and gain scans, time jitter, DAQ rate
Gas: Refractive index, transparency, sound speed, leakage rate
M. Contalbrigo
QA is organized to allow essential acceptance tests on 100% of components plus in-depth sample characterization
10th EIC DAC Meeting - June 11th – 13th, 2025

## Slide 33
Preliminary Cooling Study
(cool air)
33
M. Contalbrigo
Pipe O(1”)
Duct O(10”)
10th EIC DAC Meeting - June 11th – 13th, 2025
Preliminary CFD
(Computational Fluid
Dynamics) Simulation

## Slide 34
dRICH Performance Study
Experience in Spin Physics and Nucelon Structure gained at
HERMES (DESY), CLAS12 (JLab) and COMPASS (CERN)
INFN FE-BO-PV-TO-SA-LNS-TS (7 staff, 5 student/postdoc)
Close collaboration with Theory groups already
active in inpact studies on (un-)polarized TMDs
INFN PV-TO (4 staff, 1 student/postdoc)
New performance study group being initiated
Focussed on SIDIS physics
Essential to guide technological choices
Effective entry-point for new collaborators
Significant reinforcement of the simulation group
INFN TS-CS
U. of Salerno
Duke U.
Central U. of Karnataka
Central U. of Haryana
Ramaiah U. of Applied Science
(5 staff, 11 student/postdoc)
34
M. Contalbrigo
dRICH technological choices are supported by a structured performance and simulations activity
10th EIC DAC Meeting - June 11th – 13th, 2025