## Slide 1: Echelon 0 - Echelon 1 data flow and processing
Switch
Switch
4Tbps
400Gbps via ESnet
Buffer
Buffer
Archive
Archive
Prompt processing
Prompt processing
BNL data center
JLab data center
ePIC Echelon 1 at BNL
ePIC Echelon 1 at JLab
IP6
DAQ room
DAQ enclave
Echelon 0
STF buffer (1 week depth)
Ext subnet for E1 delivery
Fast monitoring
STF stream
(Rucio)
TF stream
(Messaging?)
Fast monitoring
STF stream
  Bulk data in STF format built in DAQ enclave
  Managed by Rucio, registered at STF buffer via the external subnet and sent to the E1 buffers
TF stream
  Subset of data sent quickly with finer granularity (e.g. via messaging) to E1s for fast monitoring; data availability within a few seconds
  Could be constructed in DAQ enclave in parallel to the STFs, or skimmed from the STFs in the STF buffer

## Slide 2: Echelon 0 - Echelon 1 data flow and processing
DAQ’s domain extends across the IP6-SDCC fiber to the enclave
  In the enclave is the online farm where DAQ assembles detector data into the event data stream
The event data stream is in the form of time frames (TFs) aggregated in contiguous blocks of ~1000 TFs == a super time frame (STF)
  A TF contains all the detector data in a time window of ~half a millisecond
  An STF is the atomic data unit for post-DAQ raw data processing
DAQ inserts file and run markers into the stream
  STFs map to ~2GB files, the full dataset delivered identically to the two E1s
Echelon 1 sites are symmetric peers
  E1 principal responsibilities: archiving the stream, prompt processing, monitoring
  Ensures two geographically separated complete raw data copies
  Uses ePIC distributed computing capabilities supporting the E0/1/2/3 streaming computing model
  Will be up to the ePIC collaboration together with sites to determine the E1 roles in detail
Buffers in the DAQ and Echelon 1 sites ensure latency tolerance to avoid deadtime, smooth streaming operation and robustness against data flow interruptions
  DAQ enclave STF buffer
    holds STFs built in the enclave until validated as received at an E1
    sized to hold 1 week of data
  E1 buffers
    sized to hold 3 weeks of data, such that data is disk resident through the ~2 week calibration process

## Slide 3: E0-E1 dataflow and workflow: Getting to the specifics
We have our streaming computing model document V2 (Oct 2024), and an evolving conception of E0-E1 dataflow and workflows, developed in an active streaming computing model meeting series and expressed in the schematic
Emphasis now is moving from reports and schematics to the specifics
  Prototyping ideas and tools in testbeds, guided by requirements
Requirements document is now a ~month old, gathering input, an instructive guide
Testbed plans are taking concrete shape: infrastructure installed and ready, identified people to work, growing list of questions to address
  Developing E0-E1 streaming workflows in a testbed utilizing Rucio and PanDA
    R&D instances of Rucio and PanDA are operating at BNL for this
    effort identified and ramping, preliminary plan taking shape
  Calibration workflows are to be covered as well in the testbeds
    Describing and executing complex calibration workflows with their dependencies
    Supporting a detector/data state machine describing dynamic, concurrent activity across the ePIC detector and the machine
    We need a volunteer to gather calib info across the DSCs and help establish test workflows
  Streaming reconstruction
    Raw data stream to collision event identification to reconstruction and analysis
  Data handling, storage and archiving
    Object stores? XRootD roles? Handling fine-grained low-latency data distinct from bulk stream?