## Slide 1
Agenda
(https://indico.bnl.gov/conferenceDisplay.py?confId=2763)
Update from B. Parker on how he’s estimating eddy current force during quench.
Schedule update
  P. Rosas took the tech. (from I. Marneris) to do BLIP work instead of sPHENIX’s  He’ll get back to sPHENIX after RHIC cool-down.
  When will FSU deliver the brackets (at least 4 at the bottom) ?
  C. Schultheiss started to work on sPHENIX data-acquisition system...
Working on the project file and dictionary files for 5 WBS branches.
AOB

## Slide 2
Changed from
WBS 1.8.2 Engineering & Design
  Mechanical …
  Cryo …
  Power Supply/Quench Protection …
  Magnetic Measurement …
WBS 1.8.3 Fabrication
  Mechanical …
  Cryo …
  Power Supply/Quench Protection …
  Magnetic Measurement …
WBS 1.8.4 Installation & Testing
  Mechanical …
  Cryo …
  Power Supply/Quench Protection …
  Magnetic Measurement …

## Slide 3
1.9 SC-Magnet
1.9.1 Project Management
1.9.2 Mechanical
1.9.3 Cryogenic Systems
1.9.4 Power Supply
1.9.5 Magnet Measurements
WBS 1.9.3.1 RHIC Lines S/R/H/U-Line Taps and Valvebox
WBS 1.9.3.3 LN2 Cooling System
WBS 1.9.3.4 Coldbox with Heatexchangers, Valve Box Upgrade, 500L Dewar
WBS 1.9.3.5 Cryo Controls –Hardware/Software
WBS 1.9.3.2 Helium Transfer Line Bundle System
WBS 1.9.4.1 AC/DC Power Distribution
WBS 1.9.4.2 Power Supply
WBS 1.9.4.3 Quench Detection and Dump Resistor
WBS Level 2
WBS Level 3
Level 3 Manager
WBS Level 4 – Work Packages
Control Accounts
And Reporting
Level 2 Manager
CAM
1.9 SC- Magnet
Proposed DOE Reporting Levels (Control Accounts)
To
for CD1