## Slide 1
JOINT SRO / ePIC Electronics and DAQ Working Group Meeting
Monitoring / QA
News / Announcements
  Schedule
    May 1: No meeting (Europe Holliday)
    May 7: eRD109 reports
    May 14: pico-DAQ release definition
    May 21: GTU / Timing electronics update
  TDR Draft – June is coming
    Specific section comments to be available soon (but haven’t seen this yet)
    Several comments yet to be incorporated
  TIC, Next meeting 4/28: “RHIC/EIC Transition and Ops Preparation Task Force”
  ePIC Electronics/DAQ Testbed Contact: Martin Purschke
    Initiation or requests for testbed help
    Track testbeds / technologies used
      Guide detector groups that have limited expertise
      Move towards supported ePIC solutions as the hardware/software components become real
TODAY Monitoring / QA
  Short intro
  Discussion -- https://docs.google.com/document/d/1t5vBfgro8Kb6MKc-bz2Y67u3cOCpHK4dfepbJX-nEbE/edit?tab=t.0

## Slide 2
Intro to Monitoring Discussion:
Why is this important now for SRO Group?
SRO topics now include developing the requirements for Echelon 1 / Interface to Echelon 0
  In particular latencies requirements are relevant to the monitoring
Defining the technologies to be used in Echelon 1 / Interface to Echelon 0
  Data transfer
  Data Tracking
  Orchestration of data processing and reconstruction (3 week  reconstruction requires automation of calibration tasks and reconstruction processing)
Why is this important now for Electronics and DAQ Group?
Echelon 0 development needs to incorporate processing tasks, monitoring is such a processing task with the most complex additional issues…
Monitoring is a key example where the responsibilities are shared by multiple groups
Final Outcome for Monitoring will be complex
Reasons for monitoring in Echelon 1:
  Full reconstruction code available
  Full reconstruction environment available (calibration DBs, Mappings, Tools, unlikely to be present in echelon 0)
  (final) Event Selection performed in Echelon 1
Reasons for monitoring in Echelon 0:
  High availability / low latency
  Full data can be scanned for simple processing
  Direct access to DAQ tasks, Slow Controls
  Consequences easy to send to shift crews: alarms, log files, direct interface to run control or slow controls
   Some types of monitoring to be done in Echelon 0 / Others in Echelon 1

## Slide 3
Categories of monitoring
Machine Protection
Interlocks
Slow Controls (ie HVs, Magnet, Detector States and alarms)
Error / Information Logging
Component monitoring (err counts, rates, states)
Sanity checks, or specific data processing for error flagging
Run Logs / DB Displays
Detector monitoring (channel monitoring, time synchronization monitoring)
Computed parameter QA (tracking, beam parameters)
Physics parameters
Separate systems
DAQ / SC systems
Pre-data file or no data file
Data file based
Source:

## Slide 4
Categories of monitoring
Machine Protection
Interlocks
Slow Controls (ie HVs, Magnet, Detector States and alarms)
Error / Information Logging
Component monitoring (err counts, rates, states)
Sanity checks, or specific data processing for error flagging
Run Logs / DB Display
Detector monitoring (channel monitoring, time synchronization monitoring)
Computed parameter monitoring (tracking, beam parameters)
Physics parameters
uSec’s
Prompt (1 sec)
Time Scales
Shift / AI (1 - 30 sec)
? Days ?
Shift / AI (1 - 30 sec)

## Slide 5
Categories of monitoring
Machine Protection
Interlocks
Slow Controls (ie HVs, Magnet, Detector States and alarms)
Error / Information Logging
Component monitoring (err counts, rates, states)
Sanity checks, or specific data processing for error flagging
Run Logs / DB Displays
Detector monitoring (channel monitoring, time synchronization monitoring)
Computed parameter monitoring (tracking, beam parameters)
Physics parameters
Separate systems
DAQ / SC
Responsibility for Developing
Detector DSCs
Physics / Analysis
Computing

## Slide 6
Categories of monitoring
Machine Protection
Interlocks
Slow Controls (ie HVs, Magnet, Detector States and alarms)
Error / Information Logging
Component monitoring (err counts, rates, states)
Sanity checks, or specific data processing for error flagging
Run Logs / DB Displays
Detector monitoring (channel monitoring, time synchronization monitoring)
Computed parameter monitoring (tracking, beam parameters)
Physics parameters
No Detector Data, but
Dedicated processing (PLC) /
Ultra-fast feedback to collider
None, (experience of typical problems)
External features needed to develop
Mappings, simple Calibration, Monitoring of Calibration
Full calibrations, Full computing infrastructure
Full(ish) calibrations, Full computing Infrastructure

## Slide 7
Categories of monitoring
Machine Protection
Interlocks
Slow Controls (ie HVs, Magnet, Detector States and alarms)
Error / Information Logging
Component monitoring (err counts, rates, states)
Sanity checks, or specific data processing for error flagging
Run Logs / DB Displays
Detector monitoring (channel monitoring, time synchronization monitoring)
Computed parameter monitoring (tracking, beam parameters)
Physics parameters
Continuous, Automatic
Continuous, Detector State Based
What Percent of Data is required?
Fraction, potentially depending on detector and dependent on run state
Quality depends on fraction, durations
Fraction

## Slide 8
Latency important for monitoring: Latencies to Echelon 1
(1) If unit of data transfer is Super Time Frames, and we have N parallel senders:
STF_1 (0s – 1s)
STF_1 (2s – 3s)
STF_1 (3s – 4s)
STF_N (4s – 5s)
(…)
Avg latency: ~> N sec
Worst case: ? x5 ?
(2) If transfer mechanism is write to data pool / automated transfer, latencies relatively uncontrolled…
E0
E1/SDCC
E1/JLAB
(3) Latency of scanning / analyzing O(8GB) STF must be accounted for in time for monitoring to be available!
 If latencies are to be O(< 1 min) to Echelon 1 we need strict design for low latency at many levels
 This design would affect/is affected by decisions such as TF / STF granularity
 Needs to account for facility / network uptime
1 sec

## Slide 9
Strategy for Monitoring / QA
Division of responsibilities
  Architecture
  Contributed Code
Allow consistent interface for contributed code
  Failsafe / simple / consistent access to data
  Provide same environment at all levels? How?
Define data use for various levels of monitoring
  Monitor all data
  Selected TF
  Selected STF
How to handle calibrations
  Different levels of monitoring
  As time progresses and calibrations are performed / change
Uniform tools for displaying QA results from different levels?

## Slide 10
Discussion…