## Slide 1: ePIC TOF Open Questions
These slides are intended to document open questions that are creating bottlenecks to advancing the TOF barrel and forward technical design and integration.
They are not the only open questions!
  These are the questions that are the immediate show-stoppers and must show progress in the next few months
  Short-term focus required to resolve these questions

## Slide 2: Open Physics/Simulation Questions
What is the required physics performance for the barrel and forward TOF?
  How much of an overlap is required with the hp-DIRC and dRICH (aerogel) for 3σ e-π, K-p, and π-K separation
    This should be set by the overlap required to cross-calibrate the detectors
  In combination with the start time resolution, this sets the TOF timing resolution requirement. This logic needs to be documented for the preTDR
Does the 500μm pitch in the forward TOF contribute to the tracking resolution?
  If not then the pitch should be reconsidered to reduce complexity and services requirements, optimize detector for PID only

## Slide 3: Open Technical Questions
Will the barrel TOF staves be “monolithic” or modular? If modular, at what level?
  Consider anticipated losses/servicing/rework during construction
  Serviceability for the detector lifetime is a key issue - this may drive/likely drives to modular.
    This will impact performance and cross-correlates with open physics/simulation question
    A decision is needed asap as it is correlated with serviceability of other detector inside the barrel TOF.
  Reducing the material budget below what is required does not help if it makes the detector difficult to build and maintain
Need a mechanical design for the forward TOF disc
  Important to be able to plan integration and services

## Slide 4: DSC Coordination and Meetings
To expedite technical progress and finalize the design phase, find a regular meeting time for the foreseeable future for DSC and ePIC leadership along with relevant CAM/project management to ensure priorities are clear and met in a timely manner.
Is there a better schedule of DSC weekly meetings that will make it easier for more people to participate and communicate?
  Overlap between sim/physics and technical?
  Make it easier to engage and integrate new workforce