## Sheet1
MPGD Costs | Original RDO cost |  |  | Use RDO |  |  | Direct Connection (13 DAM) |  |  | Notes
| Number | Cost / Unit | Cost | Number | Cost / Unit | Cost | Number | Cost / Unit | Cost
RDO | 56 | 500 | 28000 | 44 | 2267 | 99748 | 0 | 0 | 0 | Kintex 5 ASIC
Baseboards |  |  | 0 | 7 | 4000 | 28000 | 0 | 0 | 0 | Baseboard cost assumed $500/RDO independent of number of RDOs / baseboard
Enclosures For RDO |  |  | 0 | 1 | 5000 | 5000 | 0 | 0 | 0 | Power only bo backplane required
Fiber To RDO | 656 | 4.0833 | 2678.6667 | 608 | 4.0833 | 2482.6667 | 608 | 4.0833 | 2482.6667 | Latest BOE (bidirectional fiber)
Fiber To Patch | 56 | 4.0833 | 228.6667 | 124 | 4.0833 | 506.3333 | 608 | 4.0833 | 2482.6667 | Latest BOE (bidirectional fiber)
Patch Panels | 56 | 1.7708 | 99.1667 | 56 | 1.7708 | 99.1667 | 608 | 1.7708 | 1076.6667 | Latest BOE (bidirectional fiber)
Trunk Fiber | 112 | 60.0035 | 6720.3889 | 248 | 60.0035 | 14880.8611 | 1216 | 60.0035 | 72964.2222 | Trunk Fiber ($8640.5 for 600 foot x 144) (single fibers)
South Platform Patch Panels | 56 | 1.7708 | 99.1667 | 56 | 1.7708 | 99.1667 | 608 | 1.7708 | 1076.6667 | Latest BOE
Fiber patch / DAM | 56 | 1.7708 | 99.1667 | 124 | 1.7708 | 219.5833 | 608 | 1.7708 | 1076.6667 | Latest BOE
DAM | 4 | 10074.64 | 40298.56 | 4 | 10074.64 | 40298.56 | 13 | 10074.64 | 130970.32 | Latest BOE
Readout Computer | 2 | 17710 | 35420 | 2 | 17710 | 35420 | 7 | 17710 | 123970 | Latest BOE
GTU ports | 4 | 408.3333 | 1633.3333 | 4 | 408.3333 | 1633.3333 | 13 | 408.3333 | 5308.3333 | Assume full cost of GTU/120 to get per port costs
Integration Labor (RDO) | [5 empty] | 0 |  |  | 0 | Assume that there will be higher integration cost if RDO used…
Integration Labor (DAM) | [5 empty] | 0 |  |  | 0 | Integration Labor in DAQ is significant, but not allocated specifically to detectors
Total |  |  | 115277.1156 |  |  | 228387.6711 |  |  | 341408.2089
Difference |  |  | -113110.5556 | [5 empty] | 113020.5378 | Total Costs: Green original material cost estimate
Grey background, old plan updated material cost
Direct connection, updated material costs
Subdetector Notes: | channel | ASIC | FEB | RDO (If used) | Trunk Fiber (RDO solution) | Trunk Fiber (Direct Solution) | DAM (RDO solution) | DAM (Direct Solution)
urWell-ECT (East) | 10240 | 160 | 40 | 0 | 80 | 80 | 1 | 1 |  | These have less than 48 fibers each, so no aggregation needed at RDO
urWell-ECT (West) | 10240 | 160 | 40 | 0 | 80 | 80 | 1 | 1 |  | <48 Fibers + likely synchrotron radiation rates may requiring high throughput
CyMBal | 36864 | 576 | 144 | 12 | 24 | 288 | 1 | 3 |  | MPGD group to decide RDO vs Direct Connection for CyMBal
urWell-BOT | 98304 | 1536 | 384 | 32 | 64 | 768 | 1 | 8 |  | MPGD group to decide RDO vs Direct Connection for urWell-BOT
sum |  | 2432 | 608 | 44 | 248 | 1216 | 4 | 13