## Slide 1: On the way to understanding detector requirements for polarimetry
E Shulga

## Slide 2
Motivation
EIC will operate at higher frequencies and with higher backgrounds, thus it is important to check detector capabilities and workout improvements to provide accurate measurements
From: “Polarimetry at EIC” on July 25, 2023
çç

## Slide 3
Expected differences
From: “Polarimetry at EIC” on July 25, 2023
Main objectives: Increase time & energy resolution, Suppress backgrounds (with veto detector following the main)

## Slide 4
First thoughts on technology
The MiniPIX TPX3 Flex is a miniaturized and low-power radiation camera with particle tracking and imaging detector Timepix3 (256 x 256 square pixels with a pitch of 55 μm). The device’s chip is equipped with a sensor according to customer preference (standardly 300 μm thick silicon).
https://advacam.com/camera/minipix-tpx3-flex/ $16,496
+:
Well established technology
Readout and DAQ provided
There are also collaborators from UK bringing similar detectors to EIC
-:
Small size for HJET
Not clear if 55 μm pitch is needed, starting various simulations (toy-MC, Geat4)

## Slide 5
First thoughts on technology
https://advacam.com/content/uploads/2024/08/MiniPIX-TPX3-Flex-Datasheet-2024-07-23-1.pdf

## Slide 6
Toy MC for pp 100 GeV (first steps)
AN(t) is from: I Alekseev et al ”Polarized proton collider at RHIC” 2003 Nucl. Instrum. Methods A 499 392-414

## Slide 7
Toy MC for pp 100 GeV CNI region –t<0.1 GeV(first steps)
AN(t) is from: I Alekseev et al ”Polarized proton collider at RHIC” 2003 Nucl. Instrum. Methods A 499 392-414

## Slide 8
Conclusion & Plans
Slowly learning/understanding the systems and requirements
Next steps:
Understand the measurement procedure
Estimate background contribution -> compare to RHIC data -> predict for EIC
Develop detector system suitable for the high intensity measurement at EIC and background subtracktion