## Slide 1: LGAD clusters

## Slide 2: Work done: Digitization work-flow
Start
Geant hit
Charge sharing
Edep in cells
Pulse Generation
Pulse Combiner
ADC and TDC values
Pulse Discretization
Pulse Digitization
Calibration
Clustering
Cluster
Association
Tracking
Measurement2D

## Slide 3: LGADHitCalibration
Convert ADC/TDC values back into time and charge.
Currently it’s just a linear function. Time work correction TBD.

## Slide 4: LGADClustering
Group hits into clusters.
Two hits belong to the same cluster if:
  Their cells are neighbors.
  Time difference between the 2 hits < 1 ns.
Use union-find by rank algorithm with path compression to group all hits
Cluster 1
Cluster 2
Cluster 3
Time axis not shown

## Slide 5: LGADClustering
Weighted average for cluster location.
  Weighted by Edep.
Edep of a cluster is the sum of Edep from all hits in that cluster.
Time of a cluster is the earliest hit time of all hits in that clusters.
TBD: edge correction
Cluster 1
Cluster 2
Cluster 3
Time axis not shown

## Slide 6: Complexity
Space complexity: O(N) where N is total number of hits in an event.
Time complexity:
  k is number of cells.
  n is number of neighbors
  m is ave. number of hits in a cell.
  p is number of clusters
  is inverse Ackermann function
    Grow so slowly that it can be considered constant.
k
nlog(n)??
n
m
m

## Slide 7: LGADClusterAssociation
Convert Measurement2D to TrackerHit
Associate TrackHit with raw hit by temporal proximity in the same sensor.
For debugging: TrackerHit stores global hit location, Measurement2D only store local hit.
  Make plotting reco position vs true position much easier with TTree::Draw
Also make some benchmarks happy

## Slide 8: Performance (No charge sharing)

## Slide 9: Performance (Position resolution)
Tested with 5000 uniformly distributed pi+.

## Slide 10: Performance (Position resolution)
Tested with 5000 uniformly distributed pi+.
Z (true)
Z (reco) – Z (true)

## Slide 11: Performance (time and Edep resolution)
Tested with 5000 uniformly distributed pi+.
T(reco) (ns)
T(true) (ns)
E(true) (GeV)
E(reco) (GeV)

## Slide 12: Performance (time sluewing)
Tested with 5000 uniformly distributed pi+.
E(true) (GeV)
T(reco)-T(true) (ns)

## Slide 13: Performance (number of clusters)
Z (mm)
Red: True hits
Blue: Reco hits

## Slide 14: Performance (default charge sharing)
sigma_sharingx = 1e-5 * dd4hep::cm,
sigma_sharingy = 1e-5 * dd4hep::cm,

## Slide 15: Performance (Position resolution)
Tested with 5000 uniformly distributed pi+.

## Slide 16: Performance (Position resolution)
Tested with 5000 uniformly distributed pi+.
Z (true)
Z (reco) – Z (true)

## Slide 17: Performance (time and Edep resolution)
Tested with 5000 uniformly distributed pi+.
T(reco) (ns)
T(true) (ns)
E(true) (GeV)
E(reco) (GeV)
E(true) (GeV)
E(reco) (GeV)

## Slide 18: Performance (time sluewing)
Tested with 5000 uniformly distributed pi+.
E(true) (GeV)
T(reco)-T(true) (ns)

## Slide 19: Performance (number of clusters)
Z (mm)
Red: True hits
Blue: Reco hits

## Slide 20: Things to do after this pull request
Implement clustering algorithm that my advisor’s students are working on.
Add noise to pulses
Apply everything to ETOF.