## Slide 1: mRICH Protoype 2
Cheuk-Ping Wong
Georgia State University
02-27-2017

## Slide 2: mRICH 2nd Prototype Detector
Aerogel
Mirror set
Glass windows
And sensors
Holder box
Readout electronics
Foam holder
Fresnel lens
aluminum detector box
6” focal length Fresnel lens

## Slide 3: Detector Side View
6”=152.4 mm
1/16”
1/4”
1/4”
1/4”
Aluminum (G4_Al)

## Slide 4: Incident Pion
Single pion at 9GeV/c
-- pion- -- Optical photons

## Slide 5: Separation Power

## Slide 6: Next
Implementing mRICH detector in fsPHENIX simulation
Christine Aidala and Nils Feege,
sPHENIX Cold QCD Topical Group Meeting, BNL, Nov 15 2016

## Slide 7: Photon Sensor for 2nd Prototype
Common use between mRICH and dual RICH
Expected delivery time: June