Discussion:

Goal:

- identify sources of systematic uncertainties for calorimeters.

- What need to be done to get quantitative answers (long term).

- Short term – estimates for preTDR.

e-mail from Rachel and Sal. 09/02/25

- 1. Uncertainties on calibration factors and energy scale

  - Any non linearity in the read-out?

- 2. Minimum thresholds. How much they might vary/move due to radiation damage vs the nominal values in the simulation?

- 3. Impact of backgrounds in case of overlapping clusters.

- 4. Impact of clustering on jet energy scale?

As an example:

- Absolute calibration – x%

- Non-linearity:

- Longitudinal containment (impact position dependent).

- Transverse containment. (beampipe, boundaries between detectors).

- SiPM saturation.

- Dead materials (boundaries between detectors).

- Electronics.

What needs to be done:

Single particle simulations (well defined geometry), realistic reconstruction.

Short term estimates – historical examples?