## Slide 1
11mV/fC
7 ADC RMS
~ 480e ENC
12 ADC RMS
~ 830e ENC
ProtoDUNE VD Noise
Is TDE running at 11mV/fC?

## Slide 2
Yoann’s dQ/dx reco from LArSoft
current config: 14mV/fC for BDE, 11mV/fC for TDE
Now we know BDE runs at 7.8mV/fC
BDE MPV: 4.25 fC/cm * 14/7.8 = 7.63 fC/cm
Consistent with TDE MPV: 7.34
=> Another indication that TDE runs at 11mV/fC