## Slide 1: Preliminary JLab 2025 beam test results:
Efficiency studies with 3 different ar-based gas mixture
2 prototypes: 1 mm gap (proto 1) & 1.5 mm gap (proto 2)
3 Gases: Ar:CO2:iC4H10 (90:7:3), Ar:CO2 (90:10) & Ar:CO2 (80:20)
HV scans: GEM HV, μRWELL HV, drift field & transfer field
Analysis still ongoing some very appealing preliminary results
98% reached for 1.5 mm gap thin-gap prototype with Ar-CO2-iso
96% for 1 mm thin gap reaches 96%
Thin-gap prototypes in beam test at JLab (June 2025)

## Slide 2: Preliminary JLab 2025 beam test results: μRWELL HV scans
96%
Ar:CO2:iC4H10 (90:7:3)
98%

## Slide 3: Preliminary JLab 2025 beam test results: GEM HV scans – Proto 1
Ar:CO2 (90:10)
Ar:CO2 (80:20)

## Slide 4: Preliminary JLab 2025 beam test results: GEM HV scans – Proto 2
Ar:CO2 (90:10)
Ar:CO2 (80:20)

## Slide 5: Preliminary JLab 2025 beam test results: Transfer field scans
Ar:CO2:iC4H10 (90:7:3)
Ar:CO2 (90:10)
Ar:CO2 (80:20)

## Slide 6: Preliminary JLab 2025 beam test results: Drift field scans
Ar:CO2 (90:10)
Ar:CO2 (80:20)