## Slide 1: CALOROC Questions & Answers for B0 Calorimeter
Valery Zhezer, Zvi Citron, Igor Korover
בס"ד

## Slide 2: Questions & Answers
1. What is the capacitance of the detector per channel? (pF)
2200 pF
2. What is the lowest signal measurement required? (fC)
10 photoelectrons * 1.8*105 gain * e = ~290 fC
3. What is the highest signal measurement required? (fC) 40k pe* 3.6*105 gain * e = ~2.3*106 fC

## Slide 3: Questions & not quite Answers
4. Do you have a measurement with certain settings of MIP peak, other fixed signal? (With the H2GCROC and settings)
Not yet
5. What is the charge resolution requirements? (Percentage as a function of charge, not in bits)
We should be able to make an estimate from (existing) simulation
6. What is your timing requirements/measurements? & 7. What is the expected occupancy per channel from simulation? (Including full background)
We should be able to make an estimate from (existing) background simulation

## Slide 4: Questions & not quite Answers
4. Do you have a measurement with certain settings of MIP peak, other fixed signal? (With the H2GCROC and settings)
Not yet 5. What is the charge resolution requirements? (Percentage as a function of charge, not in bits)
We should be able to make an estimate from (existing) simulation Charge is proportional to deposited energy, so the charge resolution requirement in % is the same as for the energy resolution. Although resolution of the charge digitization largely depends on the number of sampling points (that is related to Q12).
6. What is your timing requirements/measurements?
We should be able to make an estimate from (existing) background simulation

## Slide 5: Questions & not quite Answers
7. What is the expected occupancy per channel from simulation? (Including full background) & 8. What is the maximum hit rate per channels needed if all channels are activated at the same time?& 10. What is the maximum hit rate required for a single channel? (If only one receives signal)
We should be able to get this from existing background simulations
9. What is the expected dark noise rate?
3 MHz but presumably this should be zero suppressed i.e. under threshold. We can make some estimate for how much is left above threshold (much less)
11. What is the double pulse separation needed? Overlap signals from two independent bunch crossings? (This affects small or large signals differently in your detector?)
If question is understood correctly ~120 ns, this is the full signal length

## Slide 6: Questions & not quite Answers
12. How many number of samples you require as minimum (max is 7 now in CALOROC)?
Seven sounds low as we want to integrate a fairly long signal tail. We probably need some more input (e.g. how long are the samples) and thought about how to get to a better answer.
13. What is the preference for A or B for CALOROC?
In our case it's B at least from capacitance requirements.