## Slide 1
Goals:
Hadron 3s-separation between 3 - 50 GeV/c
Complement electron ID below 15 GeV/c
Cover forward pseudorapidity 1.5 (barrel) - 3.5 (b. pipe)
dRICH Features:
Extended 3-50 GeV/c momentum range --> Dual radiator
Single-photon detection in high Bfield --> SiPM
Limited space --> Compact optics with curved detector
ePIC dRICH
Dual-radiator Ring-imaging Cherenkov Detector (dRICH)
Essential to access flavor information
4m
1
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo

## Slide 2
Mid-size mirror coating successfully done at ECI
Mirror has arrived in EU (FE)
Refrence samples being characterized at DUKE
2025 production of mid-size aerogel (15-18 cm)
successfully completed, characterization ongoing
Production of large-size aerogel (> 20 cm) initiated
Latest Arrivals
2
M. Contalbrigo
Mid-size demonstrators successfully produced
ePIC Collaboration Meeting, BNL , January 21st, 2026
52 cm
18 cm
Notes: Aggiungere distribuzioni in numero fotoni ?

## Slide 3
Photon Detector
50 mm
75 mm
+ SiPM carrierv3
+ RDO
3
/26
Full size engineering
test article
2025
2026
+ ALCOR 64ch
+ FEB 64
Steadly progress of photodetector towards integrated design completion in 2026
ALCOR 32 ch
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 4
Photon Detection Unit
4
M. Contalbrigo
RDO
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 5
dRICH Sensors
75 mm
50 mm
Spad size vs photon yield
FInalization of the engineering of the SiPM optimized layout
UV enhanced with fast signal
Custom: lower
cross-talk probability
Custom: lower
pile-up probability
Custom
- UVE
5
M. Contalbrigo
A manufacturer error prevented
the use at the 2025 test-beam
ePIC Collaboration Meeting, BNL , January 21st, 2026
Notes: Come si arriva ai 1.8 Tbps ? 3 KHz / 3(shutter) * 3e5 (canali) *64

## Slide 6
Silicon die layout
Compact ball-grid array (BGA)
package with interposer
ALCOR v64
Chip delivery expected soon
ALCOR block diagram
ALCOR key specifications
First ALCORv64 test article produced in a MPW run, chip packaging is ongoing with interesting lesson learned
6
M. Contalbrigo
Notes: Vedere stage in ingresso, c’e’ gain programmabile ?

## Slide 7
RDO Validation
7
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026
Concentrate the ePIC RDO functionalities inside the space of a credit card

## Slide 8
dRICH Prototype
On axis optics to minimize the active area, single or double radiator imaging
Vacuum technology & recovery system for efficient gas exchange
1st chamber
Gas recovery system
8
M. Contalbrigo
Reference
H12700
MAPMTs
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 9
Performance with Basic Prototype
9
Previous validations w Basic Prototype:
Dual-radiator concept
C2F6 radiator gas performance
Aerogel rafractive index
SiPM-ALCOR readout chain
EIC-driven readout plane
Temperature gradients
RDO data acquisition
Alternate gases
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo

## Slide 10
dRICH Readout
Insert the RDO into the readout chain (replacing a stack of 11 KC705 commercial FPGAs)
10
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 11
ePIC Readout Validation
C2F6 at 1 bar
SiPM + ALCOR + RDO readout
Argon at 2.5 bar
MAPMT + ALCOR readout
11
M. Contalbrigo
First successful test of SiPM+ALCOR+RDO readout chain and direct comparison with reference MAPMT system
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 12
Real Scale Prototype
Real-Scale Prototype:
Mechanical stability
Gas & light thightness
Temperature gradients
Assembling scheme
Inner components supports
Optical septa
……..
12
2025++
Previous validations w Basic Prototype:
Dual-radiator concept
C2F6 radiator gas performance
Aerogel rafractive index
SiPM-ALCOR readout chain
EIC-driven readout plane
Temperature gradients
RDO data acquisition
Alternate gases
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo

## Slide 13
Pressurized RICH
Flanges re-worked to mount a suitable quartz window and get the CE safety certification for vacuum up to 3.3 bar
Compare C2F6 with
other radiators,
e.g. Argon
in a close gas circuit
(minimum leaks)
13
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 14
Alternate Gases
ePIC target value
3x inputs
exhauts
inlet
Vacuum pump
First successful comparison among alternate gas mixtures
+Ar
Tested gas:
C2F6
Ar
C4F10
C4F10 – Ar mixture
14
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 15
Real Scale Prototype
15
Aerogel demonstrator
CFRP Layer
composition
Mirror mounting and holder
Under
Construction
CFRP layer samples
JLab
Engineering of all the mechanical details pursued with the real-scale prototype (eRD102 milestone)
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo

## Slide 16
Detector Box
16
Gas volume sealed by a large-area quartz window
Several inlets/outlets for gas dynamics study
Compatible with the existing detector boxes
Different mounting point mimicking the curved surface at ePIC
Baseline for future detector box upgrades
ePIC Collaboration Meeting, BNL , January 21st, 2026
M. Contalbrigo

## Slide 17
Real Scale Prototype
Saddle + Platform for safe operations (pseudorapidity scan with beam and cosmic tests)
Being prepared for safety handling, gas operation validation and a cosmic campaign prior of 2026 test-beam
dRICH submitted two joined requests for beam time at CERN in May-July:
- 2 weeks at PS (mixed hadron beams < 12 GeV/c) with pfRICH 10-24 June 2026
- 1 week ar SPS (mixed hadron beams > 20 GeV/c) with pfRICH + LFHCAL
17
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 18
Real Scale Prototype
18
M. Contalbrigo
ePIC IP
ePIC Collaboration Meeting, BNL , January 21st, 2026

## Slide 19
Conclusions
Work ongoing to complete dRICH test articles
Test-beam campaign in 2025:
Implementation of RDO in the dRICH readout chain
successful commissioning in different experimental conditions
Deploiment of a eco-friendly station for gas performance validation
successful test of alternate gases at various pressure
Test-beam campaign in 2026:
Realization of PDU in the final layout
ALCOR 64
UVE SiPM
FEB+RDO stack
Real-scale prototype
off-axis optics
layout conformed to ePIC
19
M. Contalbrigo
ePIC Collaboration Meeting, BNL , January 21st, 2026