## Slide 1
Simulations for ePIC hpDIRC Detector
Shubham Dutta
January 23rd, 2026
ePIC Collaboration Meeting

## Slide 2
hpDIRC Near-term Software Goals
Single particle gun events to map hpDIRC performance
Standalone:
  Optimization of hpDIRC based on geometry changes
  Misalignment mitigation
  Sensor performance (PDE, arrangement)
  Simulation of CRT and Lens characterization
  Development of xpDIRC (studies potentially relevant for ePIC)
Stand-alone hpDIRC simulation

## Slide 3
hpDIRC Near-term Software Goals
Standalone:
  Optimization of hpDIRC based on geometry changes
  Misalignment mitigation
  Sensor performance (PDE, arrangement)
  Simulation of CRT and Lens characterization
  Development of xpDIRC (studies potentially relevant for ePIC)
Geant4 simulation of CRT setup

## Slide 4
hpDIRC Near-term Software Goals
Standalone:
  Optimization of hpDIRC based on geometry changes
  Misalignment mitigation
  Sensor performance (PDE, arrangement)
  Simulation of CRT and Lens characterization
  Development of xpDIRC (studies potentially relevant for ePIC)
ePIC stack (focus of further slides):
  Finish implementation of geometric and time-imaging reconstruction in eicrecon
  Debug any potential discrepancies in performance between eicrecon and standalone
  Repeat PID performance with backgrounds (multiple hits/bar) with full stack & all detectors
Stand-alone hpDIRC simulation
hpDIRC in ePIC simulation

## Slide 5
hpDIRC Performance Studies For TDR
Performance evaluation may come from ePIC stack (time-permitting)
Sensor choice (Greg's talk on Wednesday)
  Measured most up-to-date sensor characteristic (e.g. PDE) impact on hpDIRC performance
Tracking resolution
  We still hope that 0.5 mrad is reached, eager to test new resolution maps
π/K separation power at 6 GeV/c
π/K separation power at 6 GeV/c
Number of detected photons per particle

## Slide 6
hpDIRC Ongoing Software Tasks
Done:
  Rationalizing dimensions/positioning between npsim/eicrecon design and dirc.xml
  Rebuilding simulation/analysis framework in npsim/eicrecon (to the functional level)
extracted from mechanical design 11/20/2025
(Kris Cleveland)
ePIC baseline geometry 09/12/2025
indico.bnl.gov/event/29963/

## Slide 7
hpDIRC Ongoing Software Tasks
  Goal: Comparing performance between eicrecon and the standalone framework
True hit positions on detector plane
hits per track
photons propagation time
Currently
  First look at optical photons on the senson plane obtained using npsim (from ePIC stack). The plots look reasonable.

## Slide 8
hpDIRC Ongoing Software Tasks
Currently
  Comparing performance between eicrecon and the standalone framework
  Digitization based on either the standalone or dRICH approach (DIRCRawHit / RawTrackerHit → cell ID → position → PMT ID & pixel ID → DIRC tree)
  Reimplementation of geometric and time-imaging PID reconstruction within eicrecon
Near term
  Repeat multiple-hits-per-bar studies using the full ePIC geometry
  Quantify performance with Pythia using the latest ePIC geometry, including realistic sensor background rates
Far term
  Implementation of alternative ML-based reconstruction method
Stand-alone hpDIRC simulation
hpDIRC in ePIC simulation

## Slide 9
Questions?
Thank you!