## Sheet1
Subsystem | Requirements | Primary Calibration | Statistics to meet | Interdepndencies | Special Calibration | Role of Monitoring | Commissioning with | 5 Gev x 41 GeV, @ 12kHz | Satus of calibration software | Any request to software team | Multiple Calibraions
|  | Methods | Requirements |  | Runs | Systems | Cosmic for calibrations | time to get satistics | in EICRecon | to produce specific dta set | during the run
nECal | add <1% to | pi0 | 1000 evt/tower | none | minbias | stability of gain | maybe | 2-3 days ? | N/A |  | Yes. (frequency TBD)
| constant term |  |  |  | LED calibration runs |  |  | TBD
bECal | add <1% to | pi0 | 1000 evt/segment? | none | minbias | stability of gain | maybe | 2-3 day ? | N/A |  | TBD
| constant term |  | TBD | can take advantage | LED calibration runs |  |  | TBD
of tracker
fEMC | add<1% to | pi0 | 1000 evt/tower | none | minbias | stability of gain | not useful | 2-3 days ? | N/A |  | Yes (frequency TBD)
| constant term |  | TBD for low eta |  | LED calibration runs |  |  | TBD
nHCal |  | cosmic for relative |  | Tracker + nECAL |  |  |  |  | N/A
for absolute
bHCal |  | Cosmics for relative | TBD | Tracker + BIC | minbias | stability of gain | Yes | weeks? | N/A
|  |  |  | for absloute | LED calibration runs
fHCal |  |  |  | FEMC |  |  |  |  | N/A