## Slide 1: Test-Beam @ DESY
Satoshi YANO

## Slide 2: Baseline Strip Sensors
Five sensors have been bonded
Classified by voltage value at which leak current reaches 1μA
  4 Class-S (1μA @ BV>=190V)
  1 Class-C (1μA @ 160<BV<170V)
Class-C
Class-S
Class-S
Class-S
Class-S

## Slide 3: Measurement Subject
Baseline strip-type sensor
  Timing & Positioning resolution of best sensor setup @ Best Bias-Voltage
    Hit position along strip direction (ΔL = 1 mm)
    1M events per ΔL (10 M events in total)
  Timing & Positioning resolution of best sensors @ Several Bias-Voltage (HV-Scan)
    5 different HVs (ΔV = 10 V)
    Hit position along strip direction (ΔL = 2 mm)
    1M events per configuration (25 M events in total)
  Timing & Positioning resolution of worse sensor (Class-C) @ Best Bias-Voltage
    Hit position along strip direction (ΔL = 1 mm)
    1M events per ΔL (10 M events in total)
Prototype pixel-type sensor (eRD112 FY24)
  Timing & Positioning resolution @ Best Bias-Voltage
  4 different pad geometries at the sensor
    2-types (500um pitch but different electrode size) is enough?

## Slide 4: AC-LGAD Signal (Sr90)
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
Class-S sensor

## Slide 5: Digitizer and Board Channel mapping
CH0
CH15
CH7
CH8
TR0
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
2xDT5742
16+14 = 30ch

## Slide 6: Setup for Resolution Measurement
DIGITIZER
Telescops1
Telescope2
TLU
DIGITIZER
COINCIDENCE
TRIGGER
TRIGGER
EUDRBs
Telescope DAQ PC
DUT DAQ PC
DUT
~4 mm
Wire-Bonded Area
20 mm
32 mm
MIMOSA Area
~11 mm
Sci.1
Sci.2
10 mm
Sci.1&2
10 mm
10 mm
Scintillator
Scintillator
AC-LGAD
AC-LGAD
AC-LGAD
3 AC-LGAD sensors are installed to calculate σ1, σ2 and σ3

## Slide 7: Setup for Resolution Measurement Channel Mapping (Option-1)
CH0
CH15
CH7
CH8
TR0
CH0
CH15
CH7
CH8
TR0
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15

## Slide 8: Setup for Resolution Measurement Channel Mapping (Option-2)
CH0
CH15
CH7
CH8
TR0
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH15
CH7
CH8
TR0
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH7
CH1
CH2
CH3
CH4
CH5
CH6
CH8
CH15
CH9
CH10
CH11
CH12
CH13
CH14
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15

## Slide 9: Preparation of Jig (3-Sensor Version)

## Slide 10: Preparation of Jig (4-Sensor Version)

## Slide 11: Commissioning @ DESY
5 colleagues are working hard @ DESY (12/1~)
  Bong-Hwi Lim (Tokyo)
  Takashi Hachiya (Nara)
  Taiichi Egami (Tokyo)
  Hiroki Iizuka (Tokyo)
  Koyuki Iwatsuki (Nara)
They already understood how to use EUDAQ

## Slide 12: Logic Circuit

## Slide 13: Backup

## Slide 14: Expected Data Size (Baseline Sensor)
~26kB (0.026MB) per event (Measured Value)
  16Ch + TR0, 1024 sample, 5 GHz
  Example: Reading at 0.31 MB/s (Trg Rate: 11.93 Hz)
Data Size Estimation
  Scenario: 200 Hz trigger rate
  1M events per 16ch = 1.4 hours data-taking = 26 GB
  45M events per 30ch = 26 GB/1M x 45M x 30/16 ~ 2.2 TB

## Slide 15: Setup for DUT Standalone Run
DIGITIZER
DIGITIZER
COINCIDENCE
TRIGGER
DUT DAQ PC
DUT
Scintillator
Scintillator
AC-LGAD
AC-LGAD
AC-LGAD
AC-LGAD

## Slide 16
2 cm
3.2 cm
Bonding on RDO Pad
25 strip
8 strip
Bonding on GND Pad
Bonding on GND Pad
3 strip
25 strip
3 strip