## Slide 1: HRPPD B-field Campaign – Partial Results
2025/12/24
HRPPD B-field Measurements at BNL Meeting
Jihee Kim (jkim11@bnl.gov)
Brookhaven National Laboratory

## Slide 2: Overview
Looked into a subset of available data. (thanks to Ping and Alexander)
Generated some figures to support interpretation of HRPPD performance
  Charge spectra for different magnet currents and inclination angles
  Mean charge as a function of magnet currents
    With different inclination angle
    With different bias voltage
To-do list
JIHEE KIM

## Slide 3: Charge Calculation
JIHEE KIM
Thanks to Ping

## Slide 4: Charge Spectra VS Magnet Current
JIHEE KIM
Measured charge spectra with different magnet current
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Data used: 200197, 200198, 200199, 200200, 200201, 200202, 200203, 200204, and 200205

## Slide 5: Charge Spectra VS Magnet Current
JIHEE KIM
With Reduced Samples
Measured charge spectra with different magnet current
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Observation:
  Clear peak shift with increasing magnetic field
  Higher magnetic field narrower spectra
  Peak shifts toward lower charge values
Conclusion:
  Gain reduction with increasing magnetic field
Data used: 200197, 200198, 200199, 200200, 200201, 200202, 200203, 200204, and 200205

## Slide 6: Charge Spectra VS Magnet Current
JIHEE KIM
Measured charge spectra with magnet current 0A
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Observation:
  Charge distribution extends up to 14,000 fC
Data used: 200197, 200198, 200199, 200200, 200201, 200202, 200203, 200204, and 200205

## Slide 7: Charge Spectra VS Inclination Angle
JIHEE KIM
Measured charge spectra with different inclination angle at ~ 1.4 T
Charge calculation:
  Major signal channel selection by accumulated signals
Observation:
  At fixed magnetic field, charge shows weak angular dependence
  Two distinct trends observed for positive and negative angles
Conclusion:
  Overall angular dependence is weak
Data used: 200171, 200185, 200194, 200203, 200217, 200227, 200236, 200245, and 200254

## Slide 8: Charge Spectra VS Inclination Angle
JIHEE KIM
Measured charge spectra with different inclination angle at ~ 1.4 T
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  and exhibit trends different from other angles
Conclusion:
  Overall angular dependence is weak
Data used: 200171, 200185, 200194, 200203, 200217, 200227, 200236, 200245, 200254, 200267, 200280, 200289, 200298, 200307, and 200316

## Slide 9: Charge Spectra VS Inclination Angle
JIHEE KIM
Data used: 200171, 200185, 200194, 200203, 200245, 200267, 200280, and 200316
Measured charge spectra with different inclination angle at ~ 1.4 T
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  and exhibit trends different from other angles
Conclusion:
  Overall angular dependence is weak

## Slide 10: Charge Spectra VS Inclination Angle
JIHEE KIM
Data used: 200217, 200227, 200236, 200254, 200289, 200298, and 200307
Measured charge spectra with different inclination angle at ~ 1.4 T
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  Overall consistent trend across angles
Conclusion:
  Overall angular dependence is weak

## Slide 11: Sign Alignment
JIHEE KIM
Facing HRPPD Window
pc
MCP#1
MCP#2

## Slide 12: Sign Alignment
JIHEE KIM
Facing HRPPD Window
MCP#1
MCP#2
pc
Rear of HRPPD Window
-Angle
Align with MCP#2
+Angle
Align with MCP#1
-X
angle
+X
angle
MCP#2
MCP#1
Up
Down
pc

## Slide 13: Charge VS Magnet Current
JIHEE KIM
Measured mean charge with different inclination angle
Charge calculation:
  Major signal channel selection by accumulated signals
Observation:
  Overall follows exponential slope across angles
  Two distinct trends observed for positive and negative angles
Conclusion:
  Overall angular dependence is weak

## Slide 14: Charge VS Magnet Current
JIHEE KIM
With Reduced Samples
Measured mean charge with different inclination angle
Charge calculation:
  Major signal channel selection by accumulated signals
Observation:
  Overall follows exponential slope across angles
  Two distinct trends observed for positive and negative angles
Conclusion:
  Overall angular dependence is weak

## Slide 15: Charge VS Magnet Current
JIHEE KIM
Measured mean charge with different bias voltage
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Inclination angle at
Observation:
  Mean charge reduces as higher magnet current
  Mean charge increases as higher bias voltage
Conclusion:
  Gain partially recovered by increasing bias voltage

## Slide 16: Charge VS Magnet Current
JIHEE KIM
Measured mean charge with different bias voltage
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Inclination angle at
Observation:
  Mean charge reduces as higher magnet current
  Mean charge increases as higher bias voltage
Conclusion:
  Gain partially recovered by increasing bias voltage

## Slide 17: Charge VS Magnet Current
JIHEE KIM
Measured mean charge with different bias voltage
Charge calculation:
  Major signal channel selection by accumulated signals
Data note:
  Inclination angle at
Observation:
  Mean charge reduces as higher magnet current
  Mean charge increases as higher bias voltage
Conclusion:
  Gain partially recovered by increasing bias voltage

## Slide 18: Accumulated Waveforms at IB = 400 A
JIHEE KIM
+x title axis, , laser tune 40 %, laser rep rate 1.6 kHz
HV 200-650-200-650-200
HV 200-675-200-675-200
HV 200-700-200-700-200
Data used: 200938, 200939, and 200940
Primary signal channel is 18 and an increase in MCP bias voltage leads to more pronounced afterpulses and higher signal amplitude

## Slide 19: Accumulated Waveforms at IB = 800 A
JIHEE KIM
HV 200-650-200-650-200
HV 200-675-200-675-200
Data used: 200941, 200942, 200943, and 200944
+x title axis, , laser tune 40 %,
laser rep rate 1.6 kHz
HV 200-700-200-700-200
HV 200-725-200-725-200
Primary signal channel is 18
and an increase in MCP bias voltage leads to more pronounced afterpulses and higher signal amplitude

## Slide 20: Accumulated Waveforms at IB = 1600 A
JIHEE KIM
Data used: 200952, 200953, 200954, and 200955
HV 200-650-200-650-200
HV 200-675-200-675-200
+x title axis, , laser tune 40 %,
laser rep rate 1.6 kHz
HV 200-700-200-700-200
HV 200-725-200-725-200
Primary signal channel is 18
and an increase in MCP bias voltage leads to more pronounced afterpulses and higher signal amplitude
Higher magnetic field strength results in fewer afterpulses

## Slide 21: Accumulated Waveforms at IB = 1900 A
JIHEE KIM
HV 200-650-200-650-200
HV 200-675-200-675-200
+x title axis, , laser tune 40 %,
laser rep rate 1.6 kHz
HV 200-700-200-700-200
HV 200-725-200-725-200
Data used: 201451, 201452, 201453, and 201454
Primary signal channel is 18
and an increase in MCP bias voltage leads to more pronounced afterpulses and higher signal amplitude
Higher magnetic field strength results in fewer afterpulses

## Slide 22: Accumulated Waveforms at IB = 2000 A
JIHEE KIM
+x title axis, , laser tune 40 %,
laser rep rate 1.6 kHz
HV 200-650-200-650-200
HV 200-675-200-675-200
HV 200-700-200-700-200
HV 200-725-200-725-200
Data used: 200956, 200957, 200958, and 200959
Primary signal channel is 18
and an increase in MCP bias voltage leads to more pronounced afterpulses and higher signal amplitude
Higher magnetic field strength results in fewer afterpulses

## Slide 23: To-Do List
Convert mean charge to gain
  160 fC ~ Gain of 106
Verify sign alignment with MCP #1 and #2
  Cross-check with MCP#1 (top) and MCP#2 (bottom) using recorded photos
Apply an exponential fit to mean charge (gain) versus magnet current
Find polya fit example
1st and 2nd day when laser warm up time short
Identify runs with significant dark current
  Compare behavior across different bias voltages
Review current mean charge extraction method
  Based on combined 1-photon and 2-photon contributions (first-order approximation acceptable)
  Develop a weighted mean charge method: Aim to isolate and extract 1-photon mode (no filed, gain remains same* with diff angles)
JIHEE KIM

## Slide 24: Backup Slides
JIHEE KIM

## Slide 25: Charge Spectra VS Inclination Angle
JIHEE KIM
Data used: 200171, 200185, 200194, 200203, 200217, 200227, 200236, 200245, and 200254
Measured charge spectra with different inclination angle
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Observation:
  At fixed magnetic field, charge shows weak angular dependence
  Two distinct trends observed for positive and negative angles
Conclusion:
  Overall angular dependence is weak

## Slide 26: Charge Spectra VS Inclination Angle
JIHEE KIM
Measured charge spectra with different inclination angle
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  and exhibit trends different from other angles
Conclusion:
  Overall angular dependence is weak
Data used: 200171, 200185, 200194, 200203, 200217, 200227, 200236, 200245, 200254, 200267, 200280, 200289, 200298, 200307, and 200316

## Slide 27: Charge Spectra VS Inclination Angle
JIHEE KIM
Data used: 200171, 200185, 200194, 200203, 200245, 200267, 200280, and 200316
Measured charge spectra with different inclination angle
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  and exhibit trends different from other angles
Conclusion:
  Overall angular dependence is weak

## Slide 28: Charge Spectra VS Inclination Angle
JIHEE KIM
Data used: 200217, 200227, 200236, 200254, 200289, 200298, and 200307
Measured charge spectra with different inclination angle
Charge calculation:
  34 channel selection
  Channels: 10-13, 16-19, 22-25
Data note:
  Some runs lack laser repetition rate information
  Affects angles:
Observation:
  Overall consistent trend across angles
Conclusion:
  Overall angular dependence is weak