Input from calo subsystems for CALOROC workfest.

1. What is the capacitance of the detector per channel? (pF)

2. What is the lowest signal measurement required? (fC)

3. What is the highest signal measurement required? (fC)

4. Do you have a measurement with certain settings of MIP peak, other fixed signal? (With the H2GCROC and settings)

5. What is the charge resolution requirements? (Percentage as a function of charge, not in bits)

6. What is your timing requirements/measurements?
7. What is the expected occupancy per channel from simulation? (Including full background)

8. What is the maximum hit rate per channels needed if all channels are activated at the same time?

9. What is the expected dark noise rate?

10. What is the maximum hit rate required for a single channel? (If only one receives signal)

11. What is the double pulse separation needed? Overlap signals from two independent bunch crossings? (This affects small or large signals differently in your detector?)

12. How many number of samples you require as minimum (max is 7 now in CALOROC)?
13. What is the preference for A or B for CALOROC?