## Slide 2: Sign Alignment
x
y
z
Magnetic field test setup with HRRPD facing down

## Slide 3: Sign Alignment
x
y
z
PC
Magnetic field test setup with HRRPD facing down

## Slide 4: Sign Alignment
x
y
z
Magnetic field test setup with HRRPD facing down

## Slide 5: Sign Alignment
x
y
z
Magnetic field test setup with HRRPD facing down
Back: anode, readout, PCB
PC
Front: fused silica
Capillary orientation
MCP 1
MCP 2
PiLas
x
y
z

## Slide 6: HRPPD Gain vs B Field (MCP1 Alignment, Inclination Angle around )
The gain decreases with increasing magnetic field strength

## Slide 7: HRPPD Gain vs B Field (MCP1 Alignment, Inclination Angle around )
The gain decreases with increasing magnetic field strength
The gain recovers with higher MCP bias voltage
A gain of 10⁶ or higher is achieved at an inclination angle of approximately 13° at B = 1.5 T with an MCP bias voltage of ≥ 675 V.

## Slide 8: HRPPD Gain vs Tilting Angle
A minimum in gain is observed at approximately +14°, with a second minimum around −14°
The second minimum at −14° is less pronounced than the one at +14°
The gain decreases at large negative tilting angles (around −30°)

## Slide 9: HRPPD Gain vs Tilting Angle
A minimum in gain is observed at approximately +14°, with a second minimum around −14°
The second minimum at −14° is less pronounced than the one at +14°
The gain decreases at large negative tilting angles (around −30°)
A smaller angular dependence is observed when rotating along the y-axis
*Angle correction not applied in the y-axis rotation results