## Slide 2: Timing resolution using a 50 GS/s scope
Data taken at 0, 0.374, 1.138, and 1.509 T
Zero field HV: MCP = 650, PC = 200 V
Non-zero field HV (left to right):
  MCP = 675, PC = 200
  MCP = 675, PC = 400
  MCP = 700, PC = 200
Crystal Ball
Gaus Core
Zero Field
1.5 T (first point)
0.15
0.05

## Slide 3: Scope Timing resolution: Pedestal Cut Only
BACKUP

## Slide 4: Scope Timing resolution: Amplitude Correction
BACKUP

## Slide 5: Scope Timing resolution: 2-Gaus Fit
Zero Field
Full Fit
1st Gaus
2nd Gaus
1.5 T Field
MCP = 675 V
PC = 200 V
BACKUP

## Slide 6: Scope Timing resolution: Laser Contribution
In B-Field setup with PiLas laser and scope, measure time resolution of ~40 ps at zero field and ~50 ps at 1.5 T
With femtosecond laser and scope in lab, measure time resolution of ~16 ps
PiLas laser contribution to timing resolution = = ~37 ps
HRPPD timging resolution @ 1.5 T = = ~34 ps
Many assumptions and hand waving, but we could be seeing ~ a factor of 2 degradation in intrinsic HRPPD timing performance from 0 T to 1.5 T
BACKUP