## Slide 1: BEAM TEST @ DESY
Satoshi YANO

## Slide 2: DESY Beam-Test Campaign
Schedule:
  Pre-commissioning: Dec. 1st to 7th
  Commissioning: Dec. 8th to 14th
  Beam-Time: Dec. 15th to 21st
Pre-commissioning
Commissioning
Beam-Time

## Slide 3: Setup for Strip-Type AC-LGAD
DIGITIZER
TLU
DIGITIZER
COINCIDENCE
TRIGGER
TRIGGER
EUDRBs
Telescope DAQ PC
DUT DAQ PC
Scintillator
AC-LGAD
AC-LGAD
AC-LGAD
Scintillator
Scintillator
BUSY

## Slide 4: Setup for Pixel-Type AC-LGAD
DIGITIZER
TLU
DIGITIZER
COINCIDENCE
TRIGGER
TRIGGER
EUDRBs
Telescope DAQ PC
DUT DAQ PC
Scintillator
AC-LGAD
AC-LGAD
DC-LGAD
Scintillator
Scintillator
BUSY

## Slide 5: DUT Coordination
x (Col)
y (Row)
Sensor_0 (0, 0, 0)
Sensor_1 (0, 0, 20mm)
Sensor_2 (0,0,40mm)
DT5742
16ch 500MHz 5GS/s
X 2

## Slide 6: Baseline Strip Sensors
Five sensors have been bonded
Classified by voltage value at which leak current reaches 1μA
  4 Class-S (1μA @ BV>=190V)
  1 Class-C (1μA @ 160<BV<170V)
Class-C
Class-S
Class-S
Class-S
Class-S

## Slide 7: Setup for Resolution Measurement Channel Mapping (Pattern-2)
CH0
CH15
CH7
CH8
TR0
CH0
CH15
CH7
CH8
TR0
Strip0-29 (DAQ1-CH0)
Strip0-30 (DAQ1-CH1)
Strip0-31 (DAQ1-CH2)
Strip0-32 (DAQ1-CH3)
Strip0-33 (DAQ1-CH4)
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
Sensor2 (Board#3)
Sensor1 (Board#4)
Sensor0 (Board#1)
DAQ00
DAQ01
Strip0-29 (DAQ1-CH5)
Strip0-30 (DAQ1-CH6)
Strip0-31 (DAQ1-CH7)
Strip0-32 (DAQ1-CH8)
Strip0-33 (DAQ1-CH9)
Strip0-29 (DAQ1-CH10)
Strip0-30 (DAQ1-CH11)
Strip0-31 (DAQ1-CH12)
Strip0-32 (DAQ1-CH13)
Strip0-33 (DAQ1-CH14)
Strip1-29 (DAQ0-CH2)
Strip1-30 (DAQ0-CH3)
Strip1-31 (DAQ0-CH4)
Strip1-32 (DAQ0-CH5)
Strip1-33 (DAQ0-CH6)
Strip1-29 (DAQ0-CH7)
Strip1-30 (DAQ0-CH8)
Strip1-31 (DAQ0-CH9)
Strip1-32 (DAQ0-CH10)
Strip1-33 (DAQ0-CH11)
Strip1-29 (DAQ0-CH12)
Strip1-30 (DAQ0-CH13)
Strip1-31 (DAQ0-CH14)
Strip1-32 (DAQ0-CH15)
Strip0-33 (DAQ0-CH1)
col0
col0
col0
col1
col1
col1

## Slide 8: Setup for Resolution Measurement Channel Mapping (Pattern-3)
CH0
CH15
CH7
CH8
TR0
CH0
CH15
CH7
CH8
TR0
Strip0-34 (DAQ0-CH7)
Strip0-28 (DAQ0-CH9)
Strip0-28 (DAQ0-CH1)
Strip0-29 (DAQ0-CH2)
Strip0-30 (DAQ0-CH3)
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
CH0
CH2
CH4
CH6
CH10
CH8
CH12
CH14
CH1
CH3
CH5
CH7
CH11
CH9
CH13
CH15
DAQ00
DAQ01
Strip0-31 (DAQ0-CH4)
Strip0-32 (DAQ0-CH5)
Strip0-33 (DAQ0-CH6)
Strip0-29 (DAQ0-CH10)
Strip0-30 (DAQ0-CH11)
Strip0-31 (DAQ0-CH12)
Strip0-32 (DAQ0-CH13)
Strip0-33 (DAQ0-CH14)
Strip0-34 (DAQ0-CH15)
Strip1-28 (DAQ1-CH0)
Strip1-29 (DAQ1-CH1)
Strip1-30 (DAQ1-CH2)
Strip1-31 (DAQ1-CH3)
Strip1-32 (DAQ1-CH4)
Strip1-33 (DAQ1-CH5)
Strip1-34 (DAQ1-CH6)
Strip1-35 (DAQ1-CH7)
Strip1-28 (DAQ1-CH8)
Strip1-29 (DAQ1-CH9)
Strip1-30 (DAQ1-CH10)
Strip1-31 (DAQ1-CH11)
Strip1-32 (DAQ1-CH12)
Strip1-33 (DAQ1-CH13)
Strip1-34 (DAQ1-CH14)
Strip0-35 (DAQ0-CH8)
Sensor2 (Board#3)
Sensor0 (Board#1)

## Slide 9: DC-LGAD

## Slide 10: AC-LGAD

## Slide 11: Setup for Resolution Measurement Channel Mapping (Pixel-Setup)
CH0
CH15
CH7
CH8
TR0
CH0
CH15
CH7
CH8
TR0
DAQ00
DAQ01
DB-CH7 (DAQ0-CH11)
DB-CH4 (DAQ0-CH8)
DB-CH5(DAQ0-CH9)
DB-CH6 (DAQ0-CH10)
Strip0-15 (DAQ1-CH9)
Strip0-12 (DAQ1-CH6)
Strip0-13 (DAQ1-CH7)
Strip0-14 (DAQ1-CH8)
BD-CH7 (DAQ0-CH15)
BD-CH4 (DAQ0-CH12)
BD-CH5 (DAQ0-CH13)
BD-CH6 (DAQ0-CH14)
BD-CH15 (DAQ1-CH13)
BD-CH12 (DAQ1-CH10)
BD-CH13 (DAQ1-CH11)
BD-CH14 (DAQ1-CH12)
DB-CH6 (DAQ0-CH5)
DB-CH3 (DAQ0-CH2)
DB-CH4 (DAQ0-CH3)
DB-CH5 (DAQ0-CH4)
DB-CH7 (DAQ0-CH6)
DB-CH9 (DAQ0-CH7)
Strip0-13 (DAQ1-CH3)
Strip0-10 (DAQ1-CH0)
Strip0-11 (DAQ1-CH1)
Strip0-12 (DAQ1-CH2)
Strip0-14 (DAQ1-CH4)
Strip0-15 (DAQ1-CH5)
Trigger (DAQ0-CH0)
DB-CH2 (DAQ0-CH1)
Trigger (DAQ1-CH15)
Strip0-8 (DAQ1-CH14)

## Slide 12: Statistics of Test-Beam @ DESY 2025
Statistics for Strip (Triggered Event)
  Nominal HV Run
    5.6 GeV
    3 Class-S Sensors: 10ch/10ch/10ch (Pattern-2)
    All 185V: ~2x106
  HV Scan Run
    5.6 GeV
    3 Class-S Sensors: 10ch/10ch/10ch (Pattern-2)
    Side 185V + Middle 175V/160V/150V: ~2x106 each
  Positioning Measurement Run
    5.6 GeV
    2 Class-S Sensors: 15ch/15ch (Pattern-3)
    185V: ~2x106
  Class-C Sensor Run
    5.6 GeV
    3 Class-S Sensors: 10ch/10ch/10ch (Pattern-2)
    160V: ~2x106
  Low Energy Run
    3.6 GeV
    3 Class-S Sensors: 10ch/10ch/10ch (Pattern-2)
    All 185V: ~12 x106
  Low Energy HV 200V Run
    3.6 GeV
    3 Class-S Sensors: 10ch/10ch/10ch (Pattern-2)
    All 200V: ~12 x106
Statistics for Pixel (Triggered Event)
  Small Pixel Nominal HV-1 Run
    5.6 GeV
    Small-Pixel: 20um/30um
    HV: 110V/150V ~6x106
  Small Pixel Nominal HV-2 Run
    5.6 GeV
    Small-Pixel: 20um/30um
    HV: 100V/130V ~6x106
  Big Pixel Nominal HV-1 Run
    5.6 GeV
    Small-Pixel: 20um/30um
    HV: 100V/160V ~6x106
  Big Pixel Nominal HV-2 Run
    5.6 GeV
    Small-Pixel: 20um/30um
    HV: 80V/140V ~6x106
+ADC Calibration Run
Iinject Pulse: 10/20/30/40/50/60/70/80/90/100/150/200/250/300mV
Into all channels

## Slide 13: Ongoing DUT Analysis
Maximum Strip Amplitude
Sum Amplitude
MPV (Max-STrip): 80~90mV
Rise-Time (10%-90%)~850 ps
Due to BW (500MHz) Limitation?

## Slide 14: Ongoing DUT Analysis
Weighted Position-Row [mm]
Col0
Col1

## Slide 15: Ongoing DUT Analysis
Weighted Position-Row Sensor0 [mm]
Weighted Position-Row Sensor1 [mm]

## Slide 16: Backup