## Slide 1: SPHENIX CRYO STATUS
5/10/17

## Slide 2: SPHENIX CRYO STATUS
As previously mentioned the cable is here.
Frank Toldo has the Paul G documentation for the strain gauge wiring.
Drafting is converting the unofficial strain gauge drawings to a Controlled drawing.
Rich Meier is combining (and simplifying) all the cryo wiring lists so I can create 1-line controlled documents of the cryogenic signals.

## Slide 3: SPHENIX CRYO STATUS
Two CERNOX RTD temperature sensors have been installed by RM. We are waiting for the completion of other groups work before we can proceed to install the remaining two temperature sensors.
Brian continues to work on the PLC logic for the experiment.
DSUB connector order due in the end of this week.

## Slide 4: SPHENIX CRYO STATUS
Brian and I will attend scheduled meetings that Carl S will call to discuss the interface between his system and cryo.