## Slide 1: Kyocera Anode Measured Spatial Variation
Mark Popecki
Incom
02-02-2026

## Slide 2: Position Scans, Two Anodes
Two anodes measured
A 32x32 straight through anode, with the same pattern on both sides
The EIC HRPPD anode, H27.
2
2
3
3
2
2
1
1
3
1
3
1
EIC HRPPD 27
Kyocera Straight Through

## Slide 3: Kyocera Straight Through Anode
Scan along top row.
Good linear fit
Similar result for columns 1-16 only.
2
2
3

## Slide 4: Part Arrangement and Pixel Numbering Convention

## Slide 5: Kyocera Drawing: 32x32 Pattern, Same on Both Sides

## Slide 6: Variation Compared to Expected Pixel Location
3.18 mm spacing specified in drawing

## Slide 7: Vertical Spatial Variation on a Horizontal Scan
Adjacent pixel position differences on Y during a horizontal scan along X.
Position variations are ~2 to 7 um.

## Slide 8: Side A: Adjacent Pixel Position Difference
2
2
3
Row 1
Row 16
Row 32
Col 16
Col 32
Col 1

## Slide 9: Side B: Adjacent Pixel Position Difference
2
2
3
Row 1
Row 16
Row 32
Col 16
Col 32
Col 1

## Slide 10: sd