## Slide 1
10Gbs data decoding and general status
Martin
What’s new this week?
10GB/s firmware - fixed
Miklos found a subtle difference between the BNL and ORNL/his cards
Possibly a same-functionality part replacement, or a different batch (same hardware revision)
The PLL did not initialize properly. New firmware slows tis down, and it works
Gabor is bringing the card back. I’m running with another one that also didn’t work initially.

## Slide 2
Running 10GB in the HighBay as of yesterday
I switched to 10G-running in the highbay
Installed the latest versions of the software, and the “barebones” monitoring
Still needed some help from Norbert finding the right 10G-aware scripts etc,
Norbert also fixed a configuration corruption – thanks!
But now all works.

## Slide 3
Slightly related work
We are preparing for a test beam at Jlab / Hall D for the BIC
That uses the same setup, but we need a few enhancements
The BIC uses more than one KCU (and multiple ROC cards)
I’m working on multiple-KCU support (I had to make an emulator as I have only one card)
Coming RSN now, only some polishing left to do

## Slide 4
On to actual applications
For parameter scans we usually make one run per setting, record the parameter in the beg-run, you know all that
Norbert asked if there is a way not to make a new run (and gazillions of files) but have One Big File with all settings…
Sure. RCDAC can do that. But be warned that works here b/c Norbert can control the triggers.
Take a few events, change scan value and generate a record of that in the event, take more events, and so on
As you scan the file, when you find packet 1021, a new value had been set
-- Event 2 Run: 20 length: 4110 type: 1 (Data Event) 1771968622
Packet 12001 4102 -1 (ePIC Packet) 302 (IDH2GCROC3_10G)
-- Event 3 Run: 20 length: 68312 type: 1 (Data Event) 1771968627
Packet 12001 68304 -1 (ePIC Packet) 302 (IDH2GCROC3_10G)
. . .
-- Event 63 Run: 20 length: 4452 type: 1 (Data Event) 1771968630
Packet 12001 4444 -1 (ePIC Packet) 302 (IDH2GCROC3_10G)
-- Event 64 Run: 20 length: 68326 type: 1 (Data Event) 1771968663
Packet 1020 8 -1 (ePIC Packet) 4 (IDCSTR)
Packet 1021 6 -1 (ePIC Packet) 6 (ID4EVT)
Packet 12001 68304 -1 (ePIC Packet) 302 (IDH2GCROC3_10G)
-- Event 65 Run: 20 length: 68312 type: 1 (Data Event) 1771968663
Packet 12001 68304 -1 (ePIC Packet) 302 (IDH2GCROC3_10G)