## Slide 1: ePIC DAQ setup at BNL_510_1-231

## Slide 2
protoGTU
opticPlugInGTU
FADEonAXU15
GTU02
GTU01.phy.bnl.gov
FLX155
Si5344H
JTAGcables

## Slide 3
Axu15DAM on GTU02 xcau15p firmware
Flx155DAM on GTU02 xcvp1552 firmware
protoGTU
opticPlugInGTU
FADEonAXU15
GTU01.phy.bnl.gov
FLX155
Si5344H
ALMAlinux 10
/tools/Xilinx/Vivado/Vitis 2024.1 license @maia.phy.bnl.gov
/home/jwillgu/PCIeControl/Axu15DAM on GTU02 xdma software/driver
/home/jwillgu/fpga_v2024/GTUzu19 on GTU01 xczu19EG firmware
USB
JTAG
USB
UART
GTU02.phy.bnl.gov
USB
JTAG
USB
(JTAG)
PCIe3x4
Clock
PCIe5x8
PCIe5x8
MTP fibers
RDOs
RDOs

## Slide 4
Thank you
The firmware and software are starting

## Slide 6
The ePIC clocks:
Single clock source, distributed to the whole system
1 2 3 4 5 6 7 8
3 4 5 6 7 8 9 0 1 2 3 4
5 5 5 5 5 5 5 6 6 6 6 6
1 1 1 1 1 1 1 1 1 1 1 1
1 1 1 1 1 1 1 1 1 1 1 1
2 2 2 2
1 1 1 1
7 8 9 0
5 5 5 6
2 2 2 2
1 1 1 1
7 8 9 0
5 5 5 6
1 2 3 4
1160 (all or 1/4 with beam)
100 (no-beam /gap)
* * * * * * * *
* * * * * * * *
* * * * * * * *
EIC_BX_Clock, 98.5 MHz
GTUDAM, 19.7 MHz
(Frequency divided by 5)
ePIC system clock
EIC_beam_orbit
Fixed delay (divider, cable, PCB delays)
The phase (divider) is determined by the orbit information
DAM rec. Clock
39.4 MHz
98.5 MHz
others

## Slide 7
The ePIC downlink (fast controls)
ePIC system clock
(19.7 MHz)
GPN, Five 64-bit words, 8b/10b encoding,  7.88 Gbps, 320-bit per ePIC system clock cycle
GPN1
GPN+1
GPN-1
GPN5
GPN4
GPN3
GPN2
The DownLink, DAM  LpGBT (39.4 MHz)
DgPN1
DgPN2
DgPN+1
DgPN-1
DgPN
LpGBT and VTRx+ dictated package format, extracted (repackaged) from GPN
The DownLink, DAM  RDO (non-LpGBT) (98.5 MHz for example)
DrPN1
DrPN+1
DrPN-1
DrPN5
DrPN4
DrPN3
DrPN2
DrPN
RDO dictated package format, extracted (repackaged) from GPN