## Slide 1: Stave Assembling Steps (current design)
Sensor + ASIC
Interposer
FPC
Glue dispenser
Wire bonding
Module-to-Module bonding machine
Support structure (Carbon fiber)
Module Assembly Site
Final Construction Site
Glue dispenser
Cooling pipe and return (10-20C)
FPC
Stave Front/Back

## Slide 2: Stavelet demonstrator - 2025
Plan to demonstrate the assembly procedure and study the thermal characteristic of a stavelet
First prototype of interposer board produced
Using non-working detectors from the HPK production
Si heaters to simulate ASIC
Fully load a double-sided stavelet with active pipe cooling and check thermal dissipation in prototype

## Slide 3: Changes to discuss
Change 1:
  4 FCFD daisy-chained instead of a single one with traces on the interposer board
  Pro: avoid traces between sensor and chip
  Cons: daisy chaining

## Slide 4: Discussion with FCFD developers
Fan-in lines can be an issue for the chip readout, degrade the signal and introduce extra capacitance
Solution: use 4 chips per 2 half-sensors, long and narrow with same pitch as sensor
  Direct connection to sensor
4 chips will be condensed in only one set of lines, no increase in connections
Stavelet design remains the same, we can’t split in the middle the interposer (need lines between chips)
FCFD
To FPC

## Slide 5: Changes to discuss
Change 2:
  Using concentrator chip to group together ASICs in each interposer board
  Pro: less traces on FPC, better communication. Less wire-bonding at stave level
  Cons: concentrator chip has to be designed!

## Slide 6: Current data Transmission
Front-side
Back-side
8 x 2 x 288 =4608
Half-Stave = 8 x Modules = ~ 1320 [mm]
Module (Stavelet) ~ 160 [mm]
3 x 8 x 2 x 288
=13824
2 x 8 x 2 x 288
=4608
21 [mm]
Each chip is directly connected to SH
Service Hybrid
33 [mm]
lpGBT
VTRx
x4
FPC
Interposer
Sensor
FCFD
(ASIC)
X/X0 < 3% (including support structure)
DCDC
Backend
32 (front-side) + 32 (back-side) = 64 FCFD
600 [mm]

## Slide 7: Data Transmission – using concentrator
Front-side
Back-side
Half-Stave = 8 x Modules = ~ 1320 [mm]
Module (Stavelet) ~ 160 [mm]
Service Hybrid
lpGBT
VTRx
x4
FPC
Interposer
Sensor
FCFD
(ASIC)
X/X0 < 3% (including support structure)
DCDC
Backend
32 (front-side) + 32 (back-side) = 64 FCFD
600 [mm]
Concentrator chip
Make interposer board larger to accommodate concentrator chip
Less lines on the FPC, chips will be grouped by 4
FPC still wide with traces going under the components
Wire bonding between concentrator and FPC
After stave assembly

## Slide 8: Changes to discuss
Change 3:
  Change interposer board material and design
  Pro: more rigid object, easier to glue. Better thermal connection for chips
  Cons: more material, need to check effect

## Slide 9
8 x 2 x 288 =4608
Module (Stavelet) ~ 160 [mm]
FPC
Interposer
Sensor
FCFD
(ASIC)
600 [mm]
Interposer material: FPC (1 metal layer)
Module (Stavelet) ~ 160 [mm]
FPC
Interposer
Sensor
(ASIC)
600 [mm]
Interposer material: Ceramic/Alumina
(1 metal layer)
Thickness 250um
(might go down to 150um)
Hole under chip with ‘frame’
Sensor is glued to frame during assembly
When loaded on stave fill hole with thermal paste
 Better thermal connection with stave
Add holes in the interposer/FPC for alignment pins (could use screws)

## Slide 10: Changes to discuss
Change 4:
  Co-cure vs Co-bond FPC
  Issue with co-cure, might risk fracturing the FPC due to high temperature of curing
    Might be less of an issue with a different glue and curing process
  Co-bond (gluing after curing) can solve this, but need to understand thermal connection

## Slide 11: Changes to discuss
Change 5:
  Flipped stave assembly with ladder structure of the tray
  Pro: sturdier and easier to assembly tray
  Cons: accommodate SH (might need spacers)

## Slide 12: Side view
Current setup
The stave is 6cm divided in 2
  Half for sensor/chip and half for FPC lines
New idea:
Flip the components on the two sides during gluing
Get 100% coverage when assembled in ‘ladder’
FPC
Sensor/chip
Stave
Cooling pipes
FPC
Sensor/chip

## Slide 13: Ladder assembly
From Andreas with current design
  Might be hard to support and connect
New design
  Assemble in ‘ladders’ in each tray, much more solid
  Spacer/support on the FPC between different staves
  Same assembly procedure, change during stave final gluing

## Slide 14
Example assembly
Support?