## Slide 1: FCFD evaluation card status
Initial smoke test passed (Apr 13). Removed a 66.5 Ohm resisters.
  Found input/output channel mapping issue.
Measured timing jitter on HRPPD on May 8 again.
Wire-bonding work completed on Friday last week.
  Passed two cards to Alexander, one card to Raymond.
  Rest three cards are sitting in TS’s office.
No more issue/action item for now.
Takao Sakaguchi, BNL on May 21, 2026
(1) Input pulse
(3) Discr. output
(2) Analog output