## Rack Map & Summary
|  | FLOOR 1 Rack Summary | [7 empty] | FLOOR 2 Rack Summary | [7 empty] | FLOOR 3 Rack Summary
|  | Column | [7 empty] | Column | [7 empty] | Column
|  | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
Row | A | SVT Power | SVT Power & B-TOF Power | HP DIRC Power | AC-LGAD Power | MPGD Power | pfRICH Power & B-HCAL Power | Row | A | SVT RDO | SVT RDO | nHCAL/ECAL RDO & ECAL Scifi RDO & MPGD RDO | Detector Itnerlocks | Detector Itnerlocks | Global Itnerlocks PLC | Row | A | Empty | Empty | Empty | Empty | Empty | Empty
| B | dRICH Power | dRICH Power | dRICH Power | dRICH Power | E-TOF Power | E-TOF power & nHCAL/ECAL Power |  | B | Empty | Empty | Empty | Empty | Empty | Empty |  | B | Empty | Empty | Empty | Empty | Empty | Empty
| C | LF HCAL Power | Empty | Empty | Empty | Empty | pECAL w/ SciFi Power |  | C | Network Switches | Network Switches | Fiber Trunk | Fiber Trunk | Empty | Empty |  | C | Empty | Empty | Empty | Empty | Empty | Empty
1A1
1A2
1A3
1A4
1A5
1A6
1B1
1B2
1B3
1B4
1B5
1B6
1C1
1C2
1C3
1C4
1C5
1C6
South Platform Level 1
2A1
2A2
2A3
2A4
2A5
2A6
2B1
2B2
2B3
2B4
2B5
2B6
2C1
2C2
2C3
2C4
2C5
2C6
North
South Platform Level 2
North
3A1
3A2
3A3
3A4
3A5
3A6
3B1
3B2
3B3
3B4
3B5
3B6
3C1
3C2
3C3
3C4
3C5
3C6
North
South Platform Level 3

## Rack Assignment Details
FLOOR 1 | [7 empty] | FLOOR 2 | [7 empty] | FLOOR 3
|  | Rack Column | [7 empty] | Rack Column | [7 empty] | Rack Column
Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6
A | 1 | SVT LVPS Crate | SVT LVPS Crate | HP DIRC LVPS | OMD ACLGAD LVPS | MPGD LVPS | pfRICH LVPS | A | 1 | SVT RDO VME Crate + Power | SVT RDO VME Crate + Power | Network Patch Panel | Detector Interlocks | Detector Interlocks | Global Interlocks PLC | A | 1
| 2 | [7 empty] | 2 | [7 empty] | 2
| 3 | [7 empty] | 3 | [7 empty] | 3
| 4 |  |  | Air Inlet | Fan Tray | Fan Tray | pfRICH HVPS |  | 4 | [7 empty] | 4
| 5 | Rack Column 3: HP DIRC HVPS; Rack Column 4: Air Gap; Rack Column 5: Air Inlet |  | 5 | [7 empty] | 5
| 6 | Rack Column 4: OMD ACLGAD Bias; Rack Column 5: Heat Exchanger |  | 6 | [7 empty] | 6
| 7 | Rack Column 5: MPGD LVPS |  | 7 | [7 empty] | 7
| 8 | [7 empty] | 8 | [7 empty] | 8
| 9 | Rack Column 1: Fan Tray; Rack Column 2: Fan Tray |  | 9 | SVT RDO VME Crate + Power | SVT RDO VME Crate + Power | nHCAL & ECAL RDO VME Crate + Power |  |  |  |  | 9
| 10 | Rack Column 1: Air Inlet; Rack Column 2: Air Inlet; Rack Column 5: Fan Tray |  | 10 | [7 empty] | 10
| 11 | Rack Column 1: SVT LVPS Crate; Rack Column 2: B-TOF HVPS; Rack Column 5: Air Inlet |  | 11 | [7 empty] | 11
| 12 | Rack Column 5: Heat Exchanger; Rack Column 6: Air Inlet |  | 12 | [7 empty] | 12
| 13 | Rack Column 3: Air Inlet; Rack Column 5: MPGD LVPS; Rack Column 6: Fan Tray |  | 13 | [7 empty] | 13
| 14 | Rack Column 3: Fan Tray; Rack Column 4: Air Gap; Rack Column 6: Air Inlet |  | 14 | [7 empty] | 14
| 15 | Rack Column 3: HP DIRC HVPS; Rack Column 6: pfRICH Laser Box |  | 15 | [7 empty] | 15
| 16 | Rack Column 5: Fan Tray |  | 16 | [7 empty] | 16
| 17 | Rack Column 5: Air Inlet |  | 17 | SVT RDO VME Crate + Power |  | ECAL SciFi RDO VME Crate + Power |  |  |  |  | 17
| 18 | Rack Column 5: Heat Exchanger |  | 18 | [7 empty] | 18
| 19 | Rack Column 1: Fan Tray; Rack Column 2: Air Inlet; Rack Column 5: MPGD LVPS |  | 19 | [7 empty] | 19
| 20 | Rack Column 1: Air Inlet; Rack Column 2: Fan Tray; Rack Column 6: Air Inlet |  | 20 | [7 empty] | 20
| 21 | Rack Column 1: SVT LVPS Crate; Rack Column 2: Heat Exchanger; Rack Column 6: pfRICH Laser Box |  | 21 | [7 empty] | 21
| 22 | Rack Column 2: B-TOF LVPS; Rack Column 5: Fan Tray |  | 22 | [7 empty] | 22
| 23 | Rack Column 3: Air Inlet; Rack Column 5: Air Inlet |  | 23 | [7 empty] | 23
| 24 | Rack Column 3: Laser Box; Rack Column 5: Heat Exchanger |  | 24 | [7 empty] | 24
| 25 | Rack Column 2: Air Inlet; Rack Column 5: Air Inlet; Rack Column 6: Air Inlet |  | 25 | SVT RDO VME Crate + Power |  | MPGD RDO VME Crate + Power |  |  |  |  | 25
| 26 | Rack Column 2: Fan Tray; Rack Column 5: MPGD HVPS; Rack Column 6: pfRICH Laser Box |  | 26 | [7 empty] | 26
| 27 | Rack Column 2: Heat Exchanger |  | 27 | [7 empty] | 27
| 28 | Rack Column 2: B-TOF LVPS; Rack Column 3: Network Patch Panel |  | 28 | [7 empty] | 28
| 29 | Rack Column 1: Fan Tray |  | 29 | [7 empty] | 29
| 30 | Rack Column 1: Air Inlet; Rack Column 6: Air Inlet |  | 30 | [7 empty] | 30
| 31 | Rack Column 1: SVT LVPS Crate; Rack Column 2: Air Inlet; Rack Column 6: pfRICH Laser Box |  | 31 | [7 empty] | 31
| 32 | Rack Column 2: Fan Tray |  | 32 | [7 empty] | 32
| 33 | Rack Column 2: Heat Exchanger |  | 33 | SVT RDO VME Crate + Power |  | B-HCAL VME Crate + Power |  |  |  |  | 33
| 34 | Rack Column 2: B-TOF LVPS; Rack Column 5: Air Inlet |  | 34 | [7 empty] | 34
| 35 | Rack Column 5: MPGD HVPS; Rack Column 6: B-HCAL + B-ECAL SciFi + B-ECAL Astropix LV & Bias |  | 35 | [7 empty] | 35
| 36 | [7 empty] | 36 | [7 empty] | 36 | bar: Rack Column 1 to Rack Column 2; Rack Column 5 to Rack Column 6
| 37 | Rack Column 2: Air Inlet |  | 37 | [7 empty] | 37
| 38 | Rack Column 2: Fan Tray |  | 38 | [7 empty] | 38
| 39 | Rack Column 2: Heat Exchanger |  | 39 | [7 empty] | 39
| 40 | Rack Column 2: B-TOF LVPS; Rack Column 6: Air Inlet |  | 40 | [7 empty] | 40
| 41 | Rack Column 6: Fan Tray |  | 41 | Air Gap | Air Gap | Air Gap |  |  |  |  | 41
| 42 | Rack Column 6: Heat Exchanger |  | 42 | [7 empty] | 42
| 43 | [7 empty] | 43 | Heat Exchanger | Heat Exchanger | Heat Exchanger |  |  |  |  | 43
| 44 | [7 empty] | 44 | Air Gap | Air Gap | Air Gap |  |  |  |  | 44
| 45 | [7 empty] | 45 | [7 empty] | 45
Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6
B | 1 | dRICH LVPS CRATE | dRICH LVPS CRATE | Air Gap | Air Gap | E-TOF LVPS | E-TOF LVPS | B | 1 |  |  |  | Network Patch Panel |  |  | B | 1
| 2 | 3: dRICH Annealing PS CRATE; 4: dRICH Annealing PS CRATE |  | 2 | [7 empty] | 2
| 3 | [7 empty] | 3 | [7 empty] | 3 | bar: 2 to 6
| 4 | 5: Fan Tray; 6: Air Inlet |  | 4 | [7 empty] | 4
| 5 | 5: Air Inlet; 6: E-TOF HVPS |  | 5 | [7 empty] | 5
| 6 | 5: E-TOF LVPS |  | 6 | [7 empty] | 6
| 7 | [7 empty] | 7 | [7 empty] | 7 | bar: 2 to 6
| 8 | [7 empty] | 8 | [7 empty] | 8 | bar: 2 to 6
| 9 | 1: dRICH LVPS CRATE; 2: Air Gap; 5: Fan Tray |  | 9 | [7 empty] | 9
| 10 |  | dRICH Annealing PS CRATE | dRICH Annealing PS CRATE | dRICH Annealing PS CRATE | Air Inlet |  |  | 10 | [7 empty] | 10
| 11 | 5: E-TOF LVPS |  | 11 | [7 empty] | 11
| 12 | [7 empty] | 12 | [7 empty] | 12 | bar: 2 to 6
| 13 | 6: Air Inlet |  | 13 | [7 empty] | 13
| 14 | 5: Fan Tray; 6: E-TOF HVPS |  | 14 | [7 empty] | 14
| 15 | 5: Air Inlet |  | 15 | [7 empty] | 15
| 16 | 5: E-TOF LVPS |  | 16 | [7 empty] | 16
| 17 | 1: Air Gap |  | 17 | [7 empty] | 17
| 18 | dRICH LVPS CRATE | dRICH Annealing PS CRATE | Air Gap | Air Gap |  |  |  | 18 | [7 empty] | 18
| 19 | 3: Air Inlet; 4: Air Inlet; 5: Fan Tray |  | 19 | [7 empty] | 19
| 20 | 3: Heat Exchanger; 4: Heat Exchanger; 5: Air Inlet |  | 20 | [7 empty] | 20
| 21 | 3: Air Gap; 4: Air Gap; 5: E-TOF LVPS |  | 21 | [7 empty] | 21
| 22 | 3: dRICH Annealing PS CRATE; 4: dRICH Data Aggregator Box; 6: Air Inlet |  | 22 | [7 empty] | 22
| 23 | 6: nHCAL & ECAL LVPS |  | 23 | [7 empty] | 23
| 24 | 5: Fan Tray |  | 24 | [7 empty] | 24
| 25 | 5: Air Inlet |  | 25 | [7 empty] | 25
| 26 | 1: dRICH LVPS CRATE; 2: Air Gap; 5: E-TOF LVPS |  | 26 | [7 empty] | 26
| 27 | 2: dRICH Annealing PS CRATE; 4: Air Gap |  | 27 | [7 empty] | 27
| 28 | [7 empty] | 28 | [7 empty] | 28 | bar: 2 to 3; 5 to 6
| 29 | 5: Fan Tray |  | 29 | [7 empty] | 29
| 30 | 3: dRICH Annealing PS CRATE; 5: Air Inlet |  | 30 | [7 empty] | 30
| 31 | 5: E-TOF LVPS; 6: Air Inlet |  | 31 | [7 empty] | 31
| 32 | [7 empty] | 32 | [7 empty] | 32 | bar: 2 to 3; 5
| 33 | [7 empty] | 33 | [7 empty] | 33 | bar: 2 to 3; 5
| 34 | 1: dRICH LVPS CRATE; 5: Fan Tray |  | 34 | [7 empty] | 34
| 35 | 2: dRICH Annealing PS CRATE; 5: Air Inlet |  | 35 | [7 empty] | 35
| 36 | [7 empty] | 36 | [7 empty] | 36 | bar: 2 to 3
| 37 | [7 empty] | 37 | [7 empty] | 37 | bar: 2 to 3
| 38 | 3: Air Gap |  | 38 | [7 empty] | 38
| 39 | 3: Air Inlet |  | 39 | [7 empty] | 39
| 40 | 3: Heat Exchanger |  | 40 | [7 empty] | 40
| 41 | [7 empty] | 41 | [7 empty] | 41 | bar: 2
| 42 | 1: Air Gap |  | 42 | [7 empty] | 42
| 43 | 1: Air Inlet; 3: Network Patch Panel |  | 43 | [7 empty] | 43
| 44 | 1: Heat Exchanger |  | 44 | [7 empty] | 44
| 45 | [7 empty] | 45 | [7 empty] | 45
Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6 | Rack Row | Rack(u) | 1 | 2 | 3 | 4 | 5 | 6
C | 1 | 1: LF HCAL LVPS; 3: Network Patch Panel; 6: pECAL W/SciFi LVPS | C | 1 | Network Switches + RJ45 Patch Panels | Network Switches + RJ45 Patch Panels | Fiber Trunk | Fiber Trunk |  |  | C | 1
| 2 | [7 empty] | 2 | [7 empty] | 2 | bar: 1; 3
| 3 | [7 empty] | 3 | [7 empty] | 3 | bar: 1
| 4 | [7 empty] | 4 | [7 empty] | 4 | bar: 1
| 5 | [7 empty] | 5 | [7 empty] | 5 | bar: 1
| 6 | 1: Fan Tray |  | 6 | [7 empty] | 6
| 7 | 1: Air Inlet |  | 7 | [7 empty] | 7
| 8 | 1: LF HCAL LVPS |  | 8 | [7 empty] | 8
| 9 | 6: Air Inlet |  | 9 | [7 empty] | 9
| 10 | 6: pECAL W/SciFi LVPS |  | 10 | [7 empty] | 10
| 11 | [7 empty] | 11 | [7 empty] | 11 | bar: 1
| 12 | [7 empty] | 12 | [7 empty] | 12 | bar: 1
| 13 | 1: Fan Tray |  | 13 | [7 empty] | 13
| 14 | 1: Air Inlet |  | 14 | [7 empty] | 14
| 15 | 1: LF HCAL LVPS |  | 15 | [7 empty] | 15
| 16 | [7 empty] | 16 | [7 empty] | 16 | bar: 1
| 17 | [7 empty] | 17 | [7 empty] | 17 | bar: 1
| 18 | 6: Air Inlet |  | 18 | [7 empty] | 18
| 19 | 6: pECAL W/SciFi LVPS |  | 19 | [7 empty] | 19
| 20 | 1: Fan Tray |  | 20 | [7 empty] | 20
| 21 | 1: Air Inlet |  | 21 | [7 empty] | 21
| 22 | 1: LF HCAL LVPS Dist Panel |  | 22 | [7 empty] | 22
| 23 | [7 empty] | 23 | [7 empty] | 23 | bar: 1
| 24 | [7 empty] | 24 | [7 empty] | 24 | bar: 1
| 25 | [7 empty] | 25 | [7 empty] | 25 | bar: 1
| 26 | [7 empty] | 26 | [7 empty] | 26 | bar: 1
| 27 | 1: LF HCAL Bias; 6: Air Inlet |  | 27 | [7 empty] | 27
| 28 | 6: pECAL W/SciFi LVPS |  | 28 | [7 empty] | 28
| 29 | [7 empty] | 29 | [7 empty] | 29 | bar: 1
| 30 | [7 empty] | 30 | [7 empty] | 30 | bar: 1
| 31 | [7 empty] | 31 | [7 empty] | 31 | bar: 1
| 32 | [7 empty] | 32 | [7 empty] | 32
| 33 | [7 empty] | 33 | [7 empty] | 33
| 34 | [7 empty] | 34 | [7 empty] | 34
| 35 | [7 empty] | 35 | [7 empty] | 35
| 36 | 6: Air Inlet |  | 36 | [7 empty] | 36
| 37 | [7 empty] | 37 | [7 empty] | 37
| 38 | [7 empty] | 38 | [7 empty] | 38
| 39 | [7 empty] | 39 | [7 empty] | 39
| 40 | [7 empty] | 40 | [7 empty] | 40
| 41 | [7 empty] | 41 | [7 empty] | 41
| 42 | [7 empty] | 42 | [7 empty] | 42
| 43 | [7 empty] | 43 | [7 empty] | 43
| 44 | [7 empty] | 44 | [7 empty] | 44
| 45 | [7 empty] | 45 | [7 empty] | 45