## Slide 1
ParticleCNNTransformer
Hierarchical CNN–Transformer for 3D Hadronic Shower Momentum Regression
Architecture
CNN + 3-Stage Transformer
Input
64³ Voxel Energy Grid
Task
Proton Momentum Regression
Performance
MAE = 1.085 GeV
Mean Absolute Error
RMSE = 1.843 GeV
Root Mean Square Error
2.16 M
A few trainable Parameters
Calorimeter Reconstruction • Deep Learning • Particle Physics
Tamás Menyhárt, Róbert Lakatos, Dr. András Hajdu

## Slide 2
Problem statement
Why 3 levels of self-attention and CNN are important?
The Physics Problem
• Hadronic calorimeters measure particle showers deposited as 3D energy patterns
• Incoming proton momentum (1–20 GeV) must be inferred from the shower topology
• Traditional methods: calibration curves, linear weighting — limited for complex showers
• High-energy showers produce diffuse, multi-scale structures hard to characterise analytically
• The model lacks geometric awareness and the latent space is highly sparse.
Why This Architecture?
• Convolutional nets capture local features but struggle with long-range correlations
• Plain transformers on 64³ = 262,144 tokens: prohibitive O(N²) attention cost
• Multi-scale processing naturally matches the hierarchical structure of particle showers
• Attention mechanisms can learn which spatial regions drive the momentum estimate Density is LOGARITHMIC ! MAE=1.0851|RMSE=1.8426
Sample Input Events — 3-Axis Energy Projections

## Slide 3
Model Architecture
ParticleCNNTransformer — full pipeline overview
Input tensor construction
  Two-channel input: energy + complement (1 − energy)
  Improves stability and representation richness
Hierarchical CNN levels (L0–L3)
  Progressive downsampling: 64³ → 32³ → 16³ → 8³
IntraSpatialAttn
  Splits each scale into spatial blocks (CLS token per block)
  Capture local geometric patterns
CrossScaleAttn (multi-scale fusion)
  CLS token aggregates scale-wise information
InterBlockAttn (global aggregation)
O(N²) attention cost now reduced with 3-level aggregation.

## Slide 4
Model Efficiency & Parameters
2.16M parameters — transformer stages dominate; CNN backbone is lightweight
Parameter Distribution
CNN Backbone
289K (13.4%)
Stage 1 Intra
445K (20.6%)
Stage 2 Cross
443K (20.5%)
Stage 3 Inter
886K (41.0%)
Pool + Head
97K (4.5%)
Regularisation & Training Techniques
• LayerScale (init 1e-4): residual paths open gradually — prevents early instability
• DropPath / Stochastic Depth: drops entire residual paths per sample — stronger than Dropout
• RMSNorm instead of LayerNorm: faster, no mean subtraction, matches LLaMA/Gemma design
• AdamW with differential weight decay: LayerScale params exempt — prevents them being shrunk to zero
• Linear warmup + cosine decay learning rate schedule

## Slide 5
CNN Backbone
Depthwise-separable 3D convolutions across 4 resolution scales
L0 64³
32 ch
→
L1 32³
64 ch
→
L2 16³
128 ch
→
L3 8³
256 ch
→ All projected to 8³ × d_model=192 for transformer input
CNN Feature Maps — Spatial Mean Activation per Channel (Sample 1 and 2). Highest values: 0.1, 0.175, 0.35, 0.6
Highest activations

## Slide 6
CNN Backbone
Depthwise-separable 3D convolutions across 4 resolution scales
L0 64³
32 ch
→
L1 32³
64 ch
→
L2 16³
128 ch
→
L3 8³
256 ch
→ All projected to 8³ × d_model=192 for transformer input
Activation grows with depth — L3 captures most abstract, high-energy features. Features that describe the whole figure are more important than small details. (Possible noise?)

## Slide 7
Three-Stage Transformer Encoder
Hierarchical attention from local to global — O(N²) cost reduced ×7.8
Stage 1
IntraSpatialAttn
• 8 spatial blocks, each 4³=64 tokens
• Full self-attention per block + CLS token
• 3D RoPE positional encoding (relative distances)
• Output: 8 block CLS tokens per scale
• Flat attention: 512² → 8×65² (×7.8 faster)
→
Stage 2
CrossScaleAttn
• Per block: attends across 4 scale CLS tokens
• Sequence length: only 5 tokens (S+1)
• No RoPE — scale index is not spatial
• Output: 8 fused block CLS tokens
• Learns which resolution is most informative
→
Stage 3
InterBlockAttn
• Single global CLS token + 8 block tokens
• 9 tokens total — negligible cost
• 2 transformer layers for global reasoning
• Output: 1 global representation vector
• Learns which blocks drive the prediction

## Slide 8
CrossScaleAttn — Multi-Resolution Fusion
Each spatial block independently learns which CNN scale to trust most
Key Observations
• S3 (8³ native resolution) consistently dominates attention weight across all 8 blocks
• CLS row shows highest attention to S3 (~0.88–0.92) — coarse scale is most informative
• S1 (32³) receives least weight, suggesting intermediate resolution adds least value
• Weight pattern is consistent across blocks, indicating stable learned scale preference
• S3 dominance aligns with physics: coarse shower topology drives momentum more than fine detail
Attention Matrix Structure
Row = query token Column = key token Value = attention weight (head-averaged softmax)

## Slide 9
CNN Feature Map Analysis
Top-8 channel activations across L0–L3, projected along Z axis
Observations
• L0 (64³): fine-grained elongated shower core clearly resolved — RdBu diverging scale shows gradient structure
• L1–L2 (32³–16³): intermediate structure, increasing abstraction, shower boundaries visible
• L3 (8³): all channels show symmetric blob — coarse energy centroid captured
• Blue regions indicate inhibitory responses (boundary detection / contrast enhancement)
• Channel specialisation increases with depth — more diverse filter responses at L3

## Slide 10
Regression Performance
RMSE and MAPE across the full 1–20 GeV momentum range
MAE = 1.085 GeV
Global mean absolute error
RMSE = 1.843 GeV
Global root mean square error
~10% MAPE
At high momentum (10–20 GeV)
2.16 M
Trainable parameters
RMSE per Momentum Bin
MAPE per Momentum Bin
Key Insight:
RMSE grows roughly linearly with true momentum — consistent with calorimeter stochastic resolution (σ/E ∝ 1/√E). MAPE converges to ~10% above 8 GeV, indicating stable relative performance at high energies. The elevated error at 1–2 GeV likely reflects shower containment effects at low energies.

## Slide 11
Regression Performance
RMSE and MAPE across the full 1–20 GeV momentum range
MAE = 1.085 GeV
Global mean absolute error
RMSE = 1.843 GeV
Global root mean square error
~10% MAPE
At high momentum (10–20 GeV)
2.16 M
Trainable parameters

## Slide 12
Conclusions & Outlook
Hierarchical CNN–Transformer proves effective for 3D shower momentum regression
Key Conclusions
• 3-stage hierarchical attention reduces O(N²) complexity by ×7.8 vs flat transformer
• Multi-scale CNN features + CLS token aggregation captures local and global shower structure
• PCA of final CLS tokens shows a clean 1D momentum manifold — model internalised the physics
• CrossScaleAttn consistently prioritises the coarsest scale (S3), matching physical intuition
• MAE ~1.1 GeV and MAPE ~10% above 8 GeV — competitive for a 2M parameter model
Future Directions
• Extend to multi-particle events and mixed hadron species (pion)
• Compare against graph neural networks (GNN) on the same dataset
• Investigate attention rollout for shower core localisation
• Scale to full calorimeter geometry (non-cubic, irregular segmentation)
• Explore uncertainty quantification for physics analyses
64³ Energy Grid
→
CNN (4 scales)
→
IntraSpatialAttn
→
CrossScaleAttn
→
InterBlockAttn
→
Regression Head
Architecture Pipeline

## Slide 13
Longitudinal Energy Deposition Profile
Hadronic showers initiate at z≈18 and exhibit characteristic fluctuating profiles. Higher momentum groups deposit more energy but show similar longitudinal shape, consistent with nuclear cascade dynamics.

## Slide 14
Shower Containment
90% of shower energy is contained within z≈41–44 across all momentum groups. Higher-energy showers extend slightly deeper, but the difference is small (~3 bins), confirming adequate longitudinal detector coverage.

## Slide 15
Longitudinal Centre-of-Gravity
Energy-weighted COG saturates at z≈29, while hit-count-weighted COG sits ~3 bins deeper, revealing a low-energy secondary particle tail in the shower's downstream region. Both metrics plateau above ~5 GeV.

## Slide 16
Hit Density Heatmap
Vertical bands reflect the sandwich calorimeter's absorber-active layer structure. The shower maximum (dashed line) shifts from z≈18 at low momenta to z≈26 above 5 GeV, then remains stable — validating the longitudinal shower model.