## Slide 1
NEUTRON BEAM
OMD
Roman Pot
Credit: Guna Kuppan
FAR FORWARD DETECTORS

## Slide 2
Off momentum particles envelope
275 GeV beam 10σ envelope
Neutron
Credit: Guna Kuppan

## Slide 3
Cable layout
Bend R

## Slide 4
Some RF shielding options to consider
1
2
3

## Slide 5
RF shield
~.2mm thk.
Kapton cables
Connectors
RF shield at injection mode
Cooling
Peltier preferred
(other options liquid/evaporative)
(Electronic Liquid FC-40?)
concept

## Slide 6
Separable detector module
RF trap door (reliability concerns)
Sensors in extended position
Cooling solution TBD
Pumping ?
outgassing
concept

## Slide 7
Status update:
 |  | status | Person in charge
1 | Sensor | Stave (power/signal) 32 Kapton cables, # channels? Connectors? | Jack (BNL)
2 | RF shield Neutron transition | Brush seal – bristle – rf fingers – trap doors | Gang Wang / Alexei simulation
3 | Cooling | 1.Peltier 2.Liquid (single phase) 3.Evaporative cooling | IJC lab
4 | Vacuum | Vacuum Chambers | Guna
5 | Mechanical | RF shields – motion – cable management - | Chang/Karim?

## Slide 8
Reference:
TOTEM RomanPot
CERN