## Slide 1: Interpixel Capacitive Coupling in Hybridized Arrays
Kevan Donlon (KevanADonlon@gmail.com)
Laboratory for Advanced Instrumentation Research
Chester F. Carlson Center for Imaging Science
Rochester Institute of Technology
ISPA: December 3, 2018

## Slide 2: The structure of a hybridized array
Indium
P-implant
Depletion
N-Bulk
-y
V
0V
-(Vbi+Vrev)
Central Pixel
Indium
P-implant
Depletion
N-Bulk
-y
V
0V
ΔVcoup
Adjacent Pixel
{
Indium
P-implant
Depletion
N-Bulk
-y
V
0V
-(Vbi+Vrev)
Adjacent Pixel
Indium
P-implant
Depletion
N-Bulk
-y
V
0V
ΔV
Central Pixel
{
Indium
P-implant
Depletion
N-Bulk
-y
V
0V
ΔVsig
Central Pixel
{

## Slide 3: IPC coupling correlates noise

## Slide 4: IPC is a capacitance

## Slide 5: Parameters for physics simulations
LUMERICAL device
Parameter | Value
Pixel Pitch | 18μm
Implant Width | 13.5μm
Implant Depth | 2μm
Thickness | 5μm
Bump thickness | 8μm
Bump diameter | 11μm
In Bump

## Slide 6: First principle simulations give direct access to electrostatics

## Slide 7: This non-linearity comes from the non-linearity of fields in the diode

## Slide 8: These fields change throughout an exposure

## Slide 9: Direct measurement of IPC coupling using hot pixels
[C]entral
[N]eighbor
[B]ackground

## Slide 10: Direct measurement of IPC coupling using single pixel resets
[C]entral
[N]eighbor
[B]ackground

## Slide 11: The possibility of direct measurement of IPC coupling using SPR
Peak over estimate:
0.020[%]
Peak under estimate:
0.045[%]

## Slide 12: Convolution is not an appropriate mechanism
Where:

## Slide 13: IPC alters PSFs which alters photometry and astrometry
PSF | FWHM[pix] | FWHM[mas]
WEBBPSF 405N | 2.080 | 135.2
‘Dim’ | 2.186 | 142.1
‘Mid’ | 2.180 | 141.7
‘Bright’ | 2.169 | 141.0
FWHM up by 5% over theoretical
1% change from ‘Dim’ to ‘Bright’
applied peaks at 1.45% down to 0.65%

## Slide 14: This change in shape impacts PSF fitting of confused binaries
HST ACS/WFC
ESO VLT ULT4 HAWK-I

## Slide 15: This change in shape impacts PSF fitting of confused binaries
 | HST | HAWK-I, uncorr | HAWK-I, IPC corr
Separation[pix] | 9.265 | 4.288 | 4.320
Separation [mas] | 463.251 ± 0.583 | 456.363 ± 3.149 | 459.823 ± 3.149
Error [mas] | ----- | -6.888 ± 3.203 | -3.428 ± 3.203
Error[%] | ----- | -1.48% | -0.74%
 | HST | HAWK-I, uncorr
Separation[pix] | 9.265 | 4.288
Separation [mas] | 463.251 ± 0.583 | 456.363 ± 3.149
Error [mas] | ----- | -6.888 ± 3.203
Error[%] | ----- | -1.48%

## Slide 16: A summary of binary pairs
HAWK-I
HST ACS/WFC

## Slide 17: A summary of binary pairs
Separation Error of 74 confused binary pairs
Modeled using JWST and approximate

## Slide 18: What needs to come next?
SPR data for complete characterization
More empirical validation
More modeling for particular science cases
  Gravitational lensing, spectral lines?

## Slide 19: How to decouple: before or after linearity correction
Voltage domain
Charge Domain

## Slide 20: The LAIR lab