## Slide 1: Moving Forward with SAPHIRA
An array to Count photons in the near-infrared
Atkinson
2 Dec 2018
ISPA

## Slide 2: SAPHIRA

## Slide 3: SAPHIRA
MBE
MOVPE
Image by Vegar Ottesen
Image from Antoni Rogalski

## Slide 5: NIR Photon Counting for AO (kinda)
IRTF
Robo-AO
P60

## Slide 6: Dark Current

## Slide 7: Dark Current vs. Bias
valence
conduction
Tunnel-Tunnel
trap
e-
V
V

## Slide 8: Pulse Delay

## Slide 9: Pulse Delay

## Slide 10: Dark Current vs. Temperature
valence
conduction
trap
e-
V
T
Tunnel-Thermal

## Slide 11: Split Personality
Imaging
bias 8V
temp ~60K
dark 0.025e-/s
gain ~3
PC
bias 14V
temp ~85K
dark >10e-/s
gain >60

## Slide 12: Settling
Image courtesy Sean Goebel

## Slide 13: Arrays

## Slide 14: Future Uses

## Slide 15: Moving Forward with SAPHIRA
Pulse delay at low temperature
Tunneling at high bias
Array size, pitch