## Slide 1
skipper-CCD
Juan Estrada - Fermilab
Nov, 2018

## Slide 2
Recent developments by the MSL group at LBNL has allowed the fabrication for “massive” CCDs. 675 um is now possible.

## Slide 3
CONNIE-DAMIC 2016 sensors
16 Mpix — 6g
4 amplifiers
2e- noise
low background package
4k x 4k
15 x 15 um pixels
675 um thick CCD
Developed by LBNL Microsystems LAB

## Slide 4
muons, electrons and diffusion limited hits.
Particle identification in a CCD image

## Slide 5: Calibration using X-rays

## Slide 6
2014
2016
2017
Dark Matter in CCDs:
During 2013 we got together in Mexico to start this Collaboration. Since then we provide the best limits in the low mass WIMPs with silicon target, an best limits for hidden photon dark matter

## Slide 7
Centro Atómico Bariloche, Argentina
Centro Brasileiro de Pesquisas Físicas, Brazil
Universidad Nacional de Asunción, Paraguay
Fermi National Accelerator Laboratory, USA
Universidad Nacional Autónoma de México, Mexico
Universidad Nacional del Sur, Bahia Blanca, Argentina
Universidade Federal do Rio de Janeiro, Brazil
Universitat Zurich Physik Institut, Switzerland
University of Michigan, USA
standard model process
a window to new physics in the low energy neutrino sector
2014
2016

## Slide 8
CONNIE is > 80 g CCD array
(larger than LSST 😀)

## Slide 13: skipper-CCD

## Slide 14
The skipper-CCD is a modification of the output stage of a CCD (Janesik et al -1990). It allows for multiple non-destructive readout of the charge in a pixel.

## Slide 15
not a new invention,

## Slide 18
From Steve Holland:
•Used these papers as the basis of our first FG amplifier
•Chandler et al, 1990 SPIE
•Janesick et al, 1990 SPIE
•First reports of FG amplifiers (Fairchild R&D Laboratory)
—Wen and Salisbury, ISSCC, 154, 1973
—Wen, IEEE JSSC, 410,1974
2000 CCD textbook
not a new invention,

## Slide 19
R&D development @ FNAL/LBNL (G.Fernandez-Moroni)

## Slide 20
the new skippers

## Slide 21
the new skippers

## Slide 22
the new skippers

## Slide 23
the new skippers

## Slide 25
CONNIE/DAMIC now
skipper CCD
Designed at least~30 years ago, and reduces the noise to “0”
Physical Review Letters, Volume 119, Issue 13, (2017)
Single-electron and single-photon sensitivity with silicon Skipper-CCD (J. Tiffenberg et al)

## Slide 26
impressive ability to count electrons!

## Slide 27
55Fe X-ray line 5.9 keV

## Slide 28
55Fe X-ray line 5.9 keV

## Slide 29: dark sector search

## Slide 30
Once you can count electrons, you can search for electron recoils produced by very low mass dark matter (dark sector searches). This is what we are planning to do with the skipper-CCD in the SENSEI experiment.

## Slide 33
DAMIC
Physical Review Letters, Volume 118,
Issue 14 (2017) ]
λ=4.0 e− mm−2 d−1
DC=0.9 x10−3 e−/pix/d
In this business, even this low level of dark current is a limitation.
Using standard CCDs (searching for hidden photons) we have achieved:
we think we can do little better.

## Slide 34
ultralight dark photon
an updated result hopefully before the en of 2018…

## Slide 35
the future is all skipper…

## Slide 36
Expected CENNS measured anti-νe survival probability. Each point corresponds to a 2 kg skipper-CCD detector with 10eV threshold and 300 days of data collection. For the sterile neutrinos we assumed : ∆m2S = 0.5 eV2, sin(2θS)2 = 0.15 .
> 10 kg detectors could be used for neutrino and DM science in the future
arXiv:1212.2182

## Slide 37
entangled photons produced with non-linear crystal and imaged with CCDs.
[sub-shot noise imaging]
NATURE PHOTONICS | VOL 4 | APRIL 2010 | www.nature.com/naturephotonics

## Slide 38
state-of-the-art sensors can not count more than
1 photon (EMCCD)
skipper-CCD developed by FNAL+LBNL can count whatever number you like…
skipper for quantum imaging

## Slide 39
cubeSat for detecting
the decay of dark matter in our own galaxy.
skipper in space

## Slide 40
new skipper-CCD technology could improve the efficiency of a survey spectrograph reducing readout time.
Signal to noise could be tuned to optimizing readout time (target specific pixels for low noise).
(A.Drilica-Wagner)
skipper for cosmic surveys

## Slide 41
for experiments with > 10 kg of CCDs, we need “a bit” of development

## Slide 42
10 kg skipper Detector (4000sensors)

## Slide 43
Low Threshold Acquisition
Single board CCD readout
clocks generation
flexible programing
4 channels
low cost
available (fmoroni.guillermo@gmail.com)
already achieved <0.05e- RMS noise with this system

## Slide 44
correlated noise subtraction
We try to make systems that do not pickup noise… but if it often hard to do this perfectly.
Since we have 28 amplifiers we can optimize the noise using the correlated information from all the other channels.
raw noise(CCD2)
after subtracting correlated noise
How this works in CONNIE array (14 CCDs)

## Slide 45
Implemented this on LTA for a single CCD with 2 channels
Fully digital LTA gives this kind of flexibility. Obviously not needed for the ideal system, but seems to always help in the real system.

## Slide 46
Skipper-CCD is fun!
first results already out
new results coming soon
working hard on the R&D to go BIG

## Slide 49
NEWS: First light for CEvNS, “Observation of coherent elastic neutrino-nucleus scattering” by the COHERENT collaboration, published in Science, August 3, 2017

## Slide 50
Neutrinos produced by stopped pions (decay at rest).
Higher energy recoils, easier to see
Pulsed to control background.
Has to deal with beam associated background.
COHERENT
Coherent Collaboration
SBS neutrino spectrum
Neutrinos from a nuclear reactor
Very large flux, close to core.
Low energy recoils, harder to see.
Deal with background by shielding.
A window to very low energy neutrino sector.
MINER, CONNIE
Two ways to get high flux low energy neutrinos

## Slide 51
Nuclear Recoil Calibration (A.Chavarria et al)

## Slide 52
Nuclear Recoil Calibration (F. Izraelevitch et al)
Complete calibration down to our threshold for CONNIE.

## Slide 53
CONNIE rates

## Slide 54
now selecting the low energy events….
For each muon measure make a measurement of charge diffusion in the CCD
Using all the muons in a 10 day period make a model for the detector
Use this model to eliminate surface events.
coming soon…