RACF/SDCC Network Operations

Juniper SRX1500 and SRC5400 issues feedback obtained
Debugging issues on s241/s242 Arista switch pair serving subnet 59
Cleanup of s803/s804 switch systems and Brocade RX-16 legacy cable infrastructure pending.
Third round of legacy equipment retirement in FY18 to be finalized
Preparations for the new HPSS movers group servers

Upcoming interventions
STAR CH perimeter firewall upgrade
First attempt on Aug 21st unsuccessful, next is scheduled for Sep 18th

SciZone Perimeter Firewall upgrade
Issues needed to be checked with vendor before proceeding.

Issues with the s241/s242 switch pair serving Campus subnet 59 with the new stuff/admin SSH gateways
Most of these systems can be converted to LACP in order to avoid future interruptions due to SW upgrades.

Post Migration BCF and CDCE
Proposed Interventions for Juniper upgrade and Virtual machines in RHEV - 5-10 mins interventions
STAR web services
Gateway changes – not too many disruptions
Hardware Removal in Row 46- refurbished new servers

See slides posted on agenda

Storage Group update

Some issues with Phenix DCache and file transfers , working on resolution

HPSS status

HPSS Operations are fine.

General Services:

RHIC Samba server rsmb00.rhic.bnl.gov is being replaced by SSHFS and hence rsmb00 will be turned off. Checking with users and helping to move to SSHFS usage.
SSL updates – disable SSL 1.0
SSH gateway setting
Resolving GPFS issues
NoMachine – Probably disable Gnome desktop as issues with current upgrade to RHEL version 7 and NoMachine software version 6.
RACF Linux Farm

Copying data
OpenGL applications for PHENIX
Input from Shared pool meetings
Condor upgrade related issues

CSI Resources

Stable output
Resources for GPU Hackathon - Sep 17th – Sep 21st

Services and Tools

For Single Sign On, prototype phase being tested and okay
Integration issues, production phase to be looked into
Enable IPA for Single Sign On

AOB

SCP issues through gateway, band width limitation
Update of the FTP gateways – only data transfer allowed, no logins expected