## Slide 1: N. Nica1, J.C. Hardy1, V. Horvat1, V.E. Iacob1, H.I. Park1, T.A. Werke1, K.J. Glennon1, C.M. Folden III1, M.B. Trzhaskovskaya2, V.I. Sabla3, J. Bryant3, and X.K. James5 1 Cyclotron Institute, Texas A&M University, College Station, Texas 77843, USA 2 Petersburg Nuclear Physics Institute, Gatchina 188300, Russia 3 REU summer student from Middlebury College, Middlebury VT 05753 4 REU summer student from University of Central Arkansas, Conway AR 72035 5 REU summer student from University of Wisconsin, La Crosse WI 54601
Precise αK and αT Internal Conversion Coefficients Measurements of 39.752(6)-keV E3 Transition in 103mRh: Test of Internal Conversion Theory
TEXAS A&M PROGRAM TO MEASURE ICC

## Slide 2: Texas A&M - Cyclotron Institute β-γ Precision Measurements
K500 and K150 cyclotrons
+ MARS

## Slide 3: Texas A&M - Cyclotron Institute β-γ Precision Measurements
HPGe detector (γ)
Gas detector (β)
Plastic Scintillator detector (β)
Tape transport
Kamax NT acq

## Slide 4
Internal Conversion Coefficients (ICC):
Big impact on quality of nuclear science
Central for the nuclear data evaluation programs
Intensely studied by theory and experiment
Important result: hole calculation now standard
Precise αK and αT Internal Conversion Coefficients Measurements of 39.752(6)-keV E3 Transition in 103mRh: Test of Internal Conversion Theory
TEXAS A&M PROGRAM TO MEASURE ICC

## Slide 5
2002RA45 survey ICC’s theories and measurements
Theory: RHFS and RDF comparison
Exchange interaction, Finite size of nucleus, Hole treatment
Experiment:
  100 E2, M3, E3, M4, E5 ICC values, 0.5%-6% precision,
  very few <1% precision!
Conclusions, Δ(exp:theory)%:
      No hole: +0.19(26)% BEST!
      (bound and continuum states - SCF of neutral atom)
      Hole-SCF: -0.94(24)%
      (continuum - SCF of ion + hole (full relaxation of ion orbitals))
        Hole-FO: -1.18(24)%
        (continuum - ion field from bound wave functions of neutral atom
        (no relaxation of ion orbitals))
        PHYSICAL ARGUMENT
K-shell filling time vs. time to leave atom
~10-15 – 10-17 s » ~10-18 s

## Slide 6: 2002Ra45: 100 αK(exp) cases compared with ‘hole FO’ calculations

## Slide 7: Overview of the scope and completeness of the method
Scope: Minimize ICC measurement unc (~1%) and maximize
Δtheory(FO,NH)% (>4%, E3, M4)
Completeness: There is no criterion to reach the scope of comparison between ICC theories “with hole” and “no hole” except for measuring precisely as many relevant cases as practically possible

## Slide 11: 109Cd Efficiency Calibration 22.6-keV AgKx & 88.0-keV E3 γ regions
Photopeak efficiency:
109Cd Decay: single 88γ
-22.6-keV AgKx
-88.0-keV E3 γ ray

## Slide 13: 103mRh Run
Radioactive Sources were prepared by (nth,γ) reaction at TRIGA reactor of Texas A&M Nuclear Science Center at ~ 7.5 ×1012 n/cm2s
Sources were prepared of materials with natural isotopic abundance: 102Ru 32%, 102Pd 1%
1. 103mRu Source(1), 545 μg/cm2 RuO2 on Al backing. Activated for 20 h, measured after 1 months for ~20 days with HPGe detector. Found 153Gd decay (239 d) 41.3-keV Kα peak affecting the 39.8-keV 103mRh peak of interest
2. 103mRu Source(2), 1.1 mg/cm2 Ru metal on 1.3 mg/cm2 Cu metal. Activated for 32 h, measured after 1 months for ~77 days with HPGe detector and Si(Li) detector.
3. 103mPd Source(3), 4.8 mg/cm2 Pd metal. Activated for 4.5 h, measured after 2 months for ~44 days with HPGe detector .

## Slide 14: 103mRh Analysis
Ru/Cu Source(2): Impurity analysis spectrum
Pd Source(3): Impurity analysis spectrum
HPGe detector
Ru/Cu Source(2): (a) Rh Kx-rays; (b) 39.8-keV γ ray
RuO2 Source(3): (c) 39.8-keV γ ray + Eu Kα contamination
(Si)Li detector, Ru/Cu Source(2):
Rh Kx-rays with Ru Kx-rays (fluorescence)

## Slide 15: 103mRh Results
Weighted average of seven experimental results: :
From Ru run Source(1) and Source(2)
αK39.8 = 141.1(23) (rel. unc. 1.6%)
αT39.8 = 1428(13), (rel. unc. 0.9%)
Pd Source(3)
Consistency check: 103Pd ε ? 103Ru β- :1383(28) ≈ 1369(11)
(a) αK and (b) αT from Ru Source(1) and Source(2)
Model | αK | Δ(%) | αT | Δ(%)
Experiment | 141.1(23) |  | 1428(13) | 
Theory: |  |  |  | 
a) Pure E3 |  |  |  | 
No vacancy | 127.5(1) | +10.7(18) | 1388(2) | +2.9(9)
Vacancy(FO) | 135.3(1) | +4.3(17) | 1404(1) | +1.7(9)
a) E3+M4, δ=0.02 (0.04%) |  |  |  | 
No vacancy | 131.2(1) | +7.5(18) | 1410(2) | +1.3(9)
Vacancy(FO) | 139.3(1) | +1.3(17) | 1426(1) | +0.1(9)
Conclusion:
Small M4 admixture:
-Agreement with theory including the vacancy (FO)
-Disagreement with theory ignoring the vacancy