## Slide 1
W. Fischer† , Z. Altinbas, M. Anerella, E. Beebe, M. Blaskiewicz, D. Bruno, W.C. Dawson, D.M. Gassner, X. Gu, R.C. Gupta, K. Hamdi, J. Hock, L.T. Hoff, A.K. Jain, R. Lambiase, Y. Luo, M. Mapes, A. Marone, T.A. Miller, M. Minty, C. Montag, M. Okamura, A.I. Pikin, S.R. Plate, D. Raparia, Y. Tan, C. Theisen, P. Thieberger, J. Tuozzolo, P. Wanderer, S.M. White and W. Zhang
RHIC Elens Status and Its Commissioning Plan
for Run 13
25 July 2012, Brookhaven National Lab.
Xiaofeng Gu

## Slide 2
A Introduction and Status of The Elens Project
B Elens Commissioning and Its Effects on Operation
Xiaofeng Gu

## Slide 3
Xiaofeng Gu
A Introduction and Status of The Elens Project

## Slide 4
Xiaofeng Gu
Introduction: The Layout of E-lens System
Blue elens has 5 mm offset mechanically, and yellow has -5 mm;
At IR10, blue elens is on south side, and yellow is on north side.
Yellow elens
Blue elens

## Slide 5
Xiaofeng Gu
Introduction: The Layout of E-lens System
E-Gun
GS1
GS2
GSB
GSX&GSY
CSB
CS2
CS1
Collector
CSX&CSY
Superconducting Magnet
GSX & GSY: E-beam position control
GS2, GSB, CSB, CS2,CS1, CSX and CSY: Beam trajectory control
E-Gun: Electron source, e-beam current & energy control with DC mode or Pulse Mode
GS1 & Main Magnet: E-beam size control by changing field strength ratio between them

## Slide 6
Xiaofeng Gu
Power
B Field
Status: Warm Solenoid and Test

## Slide 7
Status: Power Supplies and Test
Xiaofeng Gu

## Slide 8
Xiaofeng Gu
Courtesy of SMD
Status: Main Solenoid
Two superconducting coils fabrication is under the way.
#1 reached full field (6T).
#1nd completion in October, #2 in November.
Blue elens will be available for 2013 proton run.

## Slide 9
Xiaofeng Gu
Status: Electron Gun Current (Test Bench)
DC beam 1040 mA
Pulsed beam 1210 mA

## Slide 10
Xiaofeng Gu
Status: Electron Gun Current (Test Bench)
Pulse Mode

## Slide 11
Xiaofeng Gu
Status: Electron Gun Profile YAG (Test Bench)

## Slide 12
Xiaofeng Gu
Status: Electron Gun Profile YAG (Test Bench)

## Slide 13
Xiaofeng Gu
Status: Electron Gun Profile Pin-Hole Scan (Test Bench)

## Slide 14
Xiaofeng Gu
E-Beam Diagnostics Quantities
Beam Alignment : BPM (2) (also for p-beam), Backscattered electron monitor(1)
E-beam Current : BCT (3), e-beam Loss (drift tubes)
E-beam Profile : YAG Screen (1), Pin-hole detector (1)
Ion Current : Ion collector (1)
Collector Temperature: RTD (8)
Instrumentation

## Slide 15
Xiaofeng Gu
Courtesy of Steve
Lattice Design

## Slide 16
Xiaofeng Gu
Now, we are also working on:
Control software and applications
78.8 k Hz modulator
Backscattered electron detector
Tunnel installation
Superconducting solenoids
Others

## Slide 17
Xiaofeng Gu
B Elens Commissioning and Its Effects on Operation

## Slide 18
Xiaofeng Gu
Elens Hardware Commissioning (Before Cooling Down)
Electron Beam Commissioning (Before Cooling Down)
Commissioning with Proton Beam
Ramp development with all elens solenoids on (orbit control)
100 Hz and 78.8k Hz modulator test with pulse electron beam in abort gap
Transverse position pre-alignment with BPM (local orbit control)
Longitudinal alignment electron beam to the last proton bunch
Change to DC beam if single bunch proton beam life time is good.
Tune proton beam or electron beam according to the collision detector.
Strategy

## Slide 19
Xiaofeng Gu
Single Bunch Compensation
The abort gaps are aligned in IP4 and IP10.

## Slide 20
Xiaofeng Gu
RHIC Orbit:
Global Orbit Feedback, Local Orbit Control (Chuyu, Al)
Beam Loss & Intensity Monitors (Bunch-by-Bunch)
pin diode BLM’s, WCM (bunched), fill pattern
Tune (Bunch-by-Bunch)
Schottky Cavity, BBQ? ARTUS?
Emittance (Bunch-by-Bunch )
CNI polarimeter
Longitudinal Profile (Bunch-by-Bunch)
WCM (bunched beam)
Instrumentation in RHIC

## Slide 21
Xiaofeng Gu
Transverse Magnetic Field on Proton Beam

## Slide 22
Xiaofeng Gu
Trajectories with Opera Simulation
0.1 mrad
250 GeV proton

## Slide 23
Xiaofeng Gu
The proton beam’s closed orbit.
The horizontal and vertical tune (quadrupole field components from elens).
One elens, coupling.
Abort gaps, luminosity.
Others
The Effects of Elens

## Slide 24
Xiaofeng Gu
Thanks !