Facility News and Announcements

New Data Center
Construction starts in March – 18-24 months, well developed migration plans with minimum interruptions

Hiring new staff member for Rucio development

See slides posted on agenda

RACF/SDCC Network Operations

Electrical Interventions in CDCE between Jan 14th and Feb 1st
14 step intervention sequence interruptions – one outlet at a time
ATLAS Tier-3 interruptions from Tuesday
ToR switch SW upgrade for 33 ToR
Schedule for specific compute node rack service interruptions
Hardware Removal/Deployment Operations

Last summer PDU grounding interruption – being done one at a time

New CDU flywheel work
Moving the HPSS servers
Upgrade of the ToR switches
Will be done without interruptions – done one CDU at a time

BNL ATLAS Tier1 switch - under 1GB data
Next Monday will be switched to full mode
HPSS lost power supply last week, but was redundant power supply , so was okay.

Power schedule , servers maintenance down for 1 full day
New ATLAS Dcache changes
Roll over racks to BCF,CDCE

Refurbishing with Simons equipment

New systems for the CFN cluster arriving
Retiring of couple of VMS in the BCF, couple more VMS left for the LDAP to be moved/retired after IPA migration

See slides posted on agenda

Storage Group update

Operations stable.

HPSS status

HPSS Operations are fine, low activity
For STAR group – Media has been acquired, can store 3 PB data, tapes have been delivered.
Currently Cosmic data being taken in STAR

PHENIX – half a Petabyte data stored

Approx. 3000 tapes have been moved, another 7000 tapes left to move.

General Services:

PHENIX hardware problems have been resolved after IPA migrations
So now gpfs02 server will be migrated live.
gpfs04 server will have a downtime for the migration following week
Issues with mail in MS Outlook 2010
TLS updates – send anannouncement regarding this – TLS 1.0 and 1.1 support in all web servers and RCF mail service will be removed
Users will need to update to Office 2016 or any modern IMAP client like Thunderbird that supports TLS 1.2

RCF mail server will be updated, includes IMAP/mail clients and Roundcube/Webmail

For STAR and PHENIX groups AFS accounts are added. HPSS accounts are also given until BNLBox is completely setup.

OpenAFS issues related to IPA

afs@RHIC.BNL.GOV Kerberos service principals will be replaced by
afs/rhic.bnl.gov@SDCC.BNL.GOV

RACF Linux Farm

Singularity updated earlier this week on the farm nodes
Batch nodes on the RHIC side will have an GPFS update, kernel updates will be announced

Shared pool migration for PHENIX as well as for STAR groups.
For USATLAS TIER3 analysis focused research into SHARED Pool use. Reserve one or two machines for this purpose
ATLAS – 40 different cores- resources utilized by ATLAS
Required Electrical Maintenance next week, nodes in USATLAS Shared T3 processor farm systems temporarily go down
In order to allow batch jobs to drain, batch hosts will be closed to new jobs 24 hours in advance of the maintenance.
New IC machines coming in January

CSI Resources

IC arrival of new servers,Early Feb new racks will be delivered
Stable output
Expansion of the IC systems

Services and Tools

Migration to FreeIPA backend is complete, working on enabling federated authentication at the facility

Currently working on:
Invenio
BNLBox
Indico
Web Services

Wiki – ITD version 0.8
Indico current version 2.0, prototype will be done in early summer
Search plugin, teleconference, Video Plugins will be looked into
Bluegene – Priority
Vidyo
Production version of Indico – Git repository
Move over to ITD by summer
Deactivate the web password migration page – middle of February

IPA migrations done on Dec 11
46.9 % of user have changed the password

Total active accounts with SSH keys – 1424 users
Migrate password – 662 uses
Ask group representatives to forward these password announcements also to internal mailing list

Migration password changes – look into how many users have changed credentials and allow a cut off date to facilitate password changes – Probably planning around mid February..
After the cut off date, users can use the RT ticket system to change passwords

See slides posted on agenda

AOB

PHOBOS servers will be brought down after 4 years of notifications/announcements.
SDCC SSH gateways – issues with slowness, network blocks in JLAB – has been resolved