## Slide 1
Report on the Design of PMT Read out board
Yasir Ali
PostDoctoral Researcher Instrumentation Development Lab University of Hawaii

## Slide 2: Modular Rich (mRICH) -> Key PID detectors ring imaging Cherenkov technology (RICH). Developed by the eRD14 collaboration for kaon and pion identification in momentum range from 3 to 10 GeV/c

## Slide 3: PMT Daughter card Integration:
PMT
256
Carrier
64
DC
DC
DC
DC
64
64
64
Transition Board
SCROD
Ethernet Connection

## Slide 4:  SiREAD waveform sampling ASIC (SiREAD), optimized for high density light detectors, such as Silicon Photomultiplier (SiPM) or MA-PMTs It has 32 Channels with Sampling Rate of 1 GSa/s.
SiREAD

## Slide 5: Schematic
FPGA Spartan 6
J2 Connector

## Slide 6: PCB with Placement Stepping towards Routing
SiREAD
FPGA-Spartan 6
PMT
SCROD

## Slide 7
Carrier Board
SCROD to FMC Board

## Slide 8: Estimated Schedule
Schematic is Finalized and Placement is almost there
Lay out completion and Final Design Review by: 03-20-2019
Fabrication by: 03-29-2019
Assembly: 04-07-2019
Initial bring up and first indication of working: 04-15-2019
Thanks for your Patience