## Slide 1: sPHENIX Director’s Review Minimum Bias Trigger Detector
Mickey Chiu
April 9-11, 2019
BNL

## Slide 2: Minimum Bias Detector
Reuse of PHENIX BBC to provide high quality, cost effective solution
  128 ch’s of 3 cm thick quartz radiator on mesh dynode PMTs
Provide minimum-bias trigger with high efficiency for heavy ion collisions (~90%)
  Needs online z-vertex resolution of at least 2.5 cm, ie, 120 ps/ch
Contributes to centrality, reaction plane, and start time

## Slide 3: Readout Design
L1 Trig, Modebits, CLK
sPHENIX
Timing Module
sPHENIX DAQ
sPHENIX Digitizers
(4 ADC boards)
Disc/
Shaper
Board
BBC PMTs
In WBS 1.5 + 1.6 Scope
In WBS 1.7 Scope
sPHENIX
Trigger
Use sPHENIX EMCAL digitizers, and build a transition board to convert single-ended PMT signal to 100 ohm differential that stretches PMT signal to be recorded by 60 MHz ADC
To satisfy the trigger and timing requirements, we process the PMT signal to produce
  A shaped pulse for energy measurement
  A square ~1V discriminator signal (for timing at trigger level and precisiong timing in offline).

## Slide 4: MBD Project Team
BNL M. Chiu, M. Lenz, R. Pisani
  Project Lead, detector and electronics testing
RIKEN Y. Goto
  PHENIX BBCs
Nevis/Columbia C.Y. Chi, W. Sippach
  Disc/Shaper Board
Lehigh University R. Reed
  Detector and electronics testing, simulation, operations support

## Slide 5: MBD Status
Shaper
C.Y. Chi,
W. Sippach
TDC
ADC
sPHENIX Digitizer
DAQ
D/S Board
LL1
Board
432 ps + ? + 132 ps <= 502 ps
Laser PMT Test*
Split Pulse Test
Discrim.
*Tested in B-field with magnitude expected in sPHENIX

## Slide 6: MBD Disc/Shaper Boards
discriminator
discriminated
Pulse shaper
PMT pulse
shaper
Threshold DAC
MBD Discriminator
Clock Fanout
Clock
in
Gate
Width
Test pulse
generator
Input from
Calorimeter
Crate controller
MBD Clock module
D/S Prototype Boards are being fabricated

## Slide 7: Cost & Schedule
MBD expected to be ready well ahead of sPHENIX requirements

## Slide 8: MBD Risks

## Slide 9: Issues and Concerns
Risk entirely associated with performance of D/S board, which we will be able to test soon.

## Slide 10: Summary
Reuse of PHENIX BBC, with clever design of new electronics to interface with existing sPHENIX electronics, provides a high quality, cost-effective, reduced risk solution for the sPHENIX Minimum Bias Trigger Detector.
MBD is ready for PD-2/3 approval.