## Slide 1: Astronomical CCDs and other light sensitive sensors
Andrei Nomerotski
2 July 2019 @ BNL

## Slide 2: outline
CCD primer
CCD effects
Image processing
Fast imaging

## Slide 3: LSST Telescope and Site
1,380 m2 service and maintenance facility
30 m diameter dome
Control room and heat producing equipment (lower level)
1.2 m diameter atmospheric telescope
Stray light and Wind Screen
350 ton telescope
Calibration Screen
Base Facility

## Slide 4
LSST Camera
LSST Focal Plane
64cm diameter  3.5°
189 4K  4K CCDs  3 Gigapixels
21 “rafts” with integrated electronics for nine CCDs in shadow of sensor focal plane
At -100 deg C

## Slide 5
Raft Tower Module (RTM)
Raft Sensor Assembly (RSA)
3 Raft Electronics Boards (REB)
T = -100C
T = -40C
Science Raft Comprises 9 CCDs
S.Bellavia

## Slide 6: LSST Prototype CCDs
STA3800
CCD250

## Slide 7: Charged Coupled Device: CCD
CCDs invented in 1970 – widely used in cameras and telescopes
2009 Nobel prize - Boyle and Smith

## Slide 8: CCD as bucket brigade

## Slide 9: 3-phase CCD

## Slide 10
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
Time-slice shown in diagram
1
2
3
Charge Transfer in a CCD 2.

## Slide 11
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 3.

## Slide 12
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 4.

## Slide 13
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 5.

## Slide 14
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 6.

## Slide 15
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 7.
Charge packet from subsequent pixel enters
from left as first pixel exits to the right.

## Slide 16
1
2
3
+5V
0V
-5V
+5V
0V
-5V
+5V
0V
-5V
1
2
3
Charge Transfer in a CCD 8.

## Slide 17: P-N Junction or Silicon Diode
Two doped p- and n- pieces of silicon are brought into contact
Space charge region will appear due to diffusion
Will have electric field and build-up potential even without external voltage

## Slide 18: Silicon Diode
Forward external voltage causes exponential current
Reverse external voltage causes depletion
Depletion is THE REASON why the charge in silicon sensors lives long and can be efficiently moved around!

## Slide 19: Electric field in CCD
S.Holland

## Slide 20: CCD: Buried channel
C.Lage

## Slide 21: CCD vs CMOS
one amplifier vs many amplifiers

## Slide 22: LSST CCD Sensor
2 second readout time spec  16 amplifiers per 16 Mpix CCD
Noise spec 8 e-, based on anticipated sky noise; limits pixel rate
Pixel read rate is 550 Kpix/s
4k x 4k = 16 Mpixels
10x10 microns pixel
Si thickness 100 micron 
Enhanced infrared response
Anti-reflective coating

## Slide 24
LSST six color system: redshifts
Wavelength (nm)
Relative system throughput (%)
Includes sensor QE, atmospheric
attenuation, optical transmission functions

## Slide 25: Photon absorption in silicon
Blue photons are absorbed near the surface (~0.25 um for 430 nm)
Longer wavelength penetrate deeper (~1 um for 500 nm, ~10 um for 800 nm)
d, m
l, nm

## Slide 26: Quantum Efficiency (QE)

## Slide 27: Flats vs wavelength

## Slide 28
Fe55: 5.9 keV
CCD gain from x-rays

## Slide 29
Charge Transfer Efficiency

## Slide 30: Sensing node & noise
V = q/C
Noise 4-5 e in LSST rafts

## Slide 31: Sensor effects

## Slide 32
LSST Wide-Fast-Deep survey
4 billion galaxies with redshifts
10 billion stars
Time domain:
1 million supernovae
1 million alerts per night

## Slide 34
Want to know ellipticity of PSF to 0.1 %

## Slide 35
LSST pixel : 10 x 10 x 100 micron3
 Pixels are skyscrapers
Want to know ellipticity of PSF to 0.1 %

## Slide 36: Astrometric Distortions in Thick CCDs
P.O’Connor
On the egde:
  Non-linearity up to 50%
  Ellipticity up to 20%  necessary to correct

## Slide 37: Tree Rings
H.Park

## Slide 38: Point Sources Appear as 2-d Gaussians, on a “flat” sky background

## Slide 39: Point Spread Function
How many parameters needed?

## Slide 40: Brighter-Fatter Effect: PSF Intensity Dependence
P.O’Connor

## Slide 41
Brighter-Fatter Effect and Pixel Correlations
LSST, P.Astier et al

## Slide 42: Don’t forget optics and atmosphere

## Slide 43: Mirror fabrication is advanced - Private funding enabled early start of both reflective optics
Primary-Tertiary was cast in 2008 and completed in 2013
Secondary substrate fabricated by Corning in 2009.

## Slide 45: Seeing
Blurring due to turbulence of atmosphere

## Slide 46: Space: Hubble Space Telescope

## Slide 47: Ground: Subaru Telescope

## Slide 48: Simulated LSST image (one exposure, 3 bands)
Composite image, representing 10-9 of the LSST data
A single 15-sec exposure
Connolly

## Slide 49
Image Processing

## Slide 50: Image Processing
actual sky
fuzzy, distorted,
warped, noisy,
vignetted image
with cosmic rays, diffraction spikes, and crosstalk
artifact-suppressed processed image

## Slide 51
R.Lupton

## Slide 52
Galaxies
Saturated star:
Charge blooming down CCD columns
Diffraction spikes from optics support

## Slide 53: Image Processing
artifact-suppressed processed image
RA | Dec | time | flux | s flux | sky | ellipticity
36.01454 | -30.22013 | 54078.889 | 5687.2 | 103 | 1004 | 0.01, 45 deg
37.02567 | -29.09872 | 54078.890 | 543 | 405 | 1002 | 0.2, 98 deg
Weak lensing DE signature is ellipticity (shear) map vs.RA, DEC, z
Supernova DE signature is peak flux vs. redshift

## Slide 54: LSST

## Slide 55: Site selection based on weather, seeing conditions and existing infractructure
LSST Base Facility
50 km paved highway
0
10
20 km
LSST SITE
CTIO
N
Coquimbo
Gemini & SOAR
La Serena airport
Vicuña
Pan-American Highway
port
La Serena
40km dirt road

## Slide 56: LSST Site in 2013

## Slide 57: LSST Site: in February 2017
February 2017

## Slide 58: 2019

## Slide 60: LSST at BNL
BNL is involved in LSST since 2004
Dedicated LSST cleanroom class 1000 and 10000
  Tests of all LSST sensors and production of all Science Rafts in 2016-2019

## Slide 61: LSST cleanroom at BNL
Status: produced all rafts

## Slide 65: Optical Cameras with photon counting

## Slide 66: Types of fast Imaging
“normal” cameras: 0.1 ms  10 ms
Burst mode cameras: 1 ms  10 ns
Self-triggered cameras: 10  0.01 nsec
Streak cameras: 1 psec
Repetitive “pump/probe” cameras : fsec
10-4 sec
10-9 sec
10-14 sec
10-6 sec
10-12 sec

## Slide 67: Modern CMOS Imagers
Ever increasing complexity and data rate
One example (ix-cameras.com)
  2048x1536: 8 kfps  26 Gpix/sec
  510x19: 1000 kfps  10 Gpix/sec
BUT: Not fast enough! 1000 nsec  1 nsec

## Slide 68: Normally signal is integrated in a slice of time
1 msec

## Slide 69: Can achieve faster imaging (ex. by gating)
Smaller time window = Less signal = Lower occupancy
 ultimately resolve single photons
Need to deal with huge data volumes  sparse readout
  Keeping back-end rate the same ~ 10Gb/s
1 ns

## Slide 70: Imaging with photon counting
Single frame
Integrated image
Many parallels with particle detectors and x-ray imaging

## Slide 71: “New” Approach to Optical Imaging
Detect and time stamp photons, one by one, using intelligent pixels
Accumulate statistics for images, also for more complex analysis (coincidences, correlations etc)
Depart from the frame-by-frame imaging and move to continuous stream of time stamped single photons
Tpx3Cam: time-stamp 10 MHz flux of photons with 1 ns precision

## Slide 72: Thin window optical sensors
Developed at BNL, surface preparation inspired by astronomical CCDs (LSST)
High QE

## Slide 73: Timepix3 Camera
Camera = sensor + ASIC + readout
Timepix3 ASIC: spin-out of R&D for LHC at CERN
256 x 256 array, 55 x 55 micron pixel
  14 mm x 14 mm active area
1.5 ns timing resolution
Data-driven readout, 80 Mpix/sec, no deadtime
each pixel measures time and flux
  arxiv: 1707.06253
  1902.01357
Sensor is bump-bonded to chip
Use existing x-ray readouts:
SPIDR (Nikhef, ASI)
www.amscins.com

## Slide 74: Single Photons: Image Intensifier
MCP Scintillator
pixel sensor
PhotoCathode
Image intensifier (Photonis)

## Slide 75: Single Photons in Tpx3Cam
Tpx3Cam + intensifier by Photonis
data taken by J. Long (ASI)
1 ms slice of data
1.5ns time-stamping
TOA
TOT
TOT

## Slide 76
TOA
TOT
Each photon is a cluster of pixels
3D (x,y,t) centroiding
Spatial resolution: 0.1 pixel / photon
Time resolution: < 1 ns / photon

## Slide 77: Quantum Information Science: Entangled Photons

## Slide 78
BNL – SBU Collaboration
(Figueroa group at SBU)
Goals:
  Development of elements of a room temperature quantum computer
  Quantum network with quantum repeater
  Demonstration of scalability

## Slide 79: BNL-SBU quantum network
Attenuation in fibers  need quantum repeater to reproduce qubits
  Simple amplification will not conserve the quantum state
Qubit teleportation: produce entangled photons and send them to two locations
Bell State Measurement (BSM) on one photon will collapse the wave function of the other one
  Still need to communicate the measurement result via classical channel so the causality is conserved
A.Zeilinger

## Slide 80: Characterization of Single Photon Down-Conversion Source
Figueroa lab
qubit: use H, V photon polarization states

## Slide 82: Results
Find coincidences, plot as function of two polarizations
Figure of merit: S-value
  If > 2: photons are entangled
  max value: 2
Measurement:
S-value = 2.720.02
Time resolution: 2ns
Time difference between photons

## Slide 83: Spatial characterization of entanglement
arXiv:1808.06720
Measure S-value
for 81 combinations of subareas

## Slide 84: Scalability
can send multiple beams (up to 16x16) to the sensor
QE ~ 35% but room temperature operation
Other applications in QIS which require fast single photon imaging: OAM, ghost et al.

## Slide 85
Characterization of entanglement for long-distance network
DT = 2068 ns
0.8 & 0.3 km
P.Stankus
P.Svihra
DT = ~100 ns
~ 9 & 9 km

## Slide 86
White Rabbit
Tpx3Cam
intensifier
optics
fiber from BCF
fiber box
Signal from fiber
S-value = 2.410.06
Stokes parameters
P.Stankus, P.Svihra, D.Katramatos, J.Haupt,
A.Elger, S.Gera, Y.Kim, M.Flament

## Slide 87
Direct view of SBU hospital from BNL
~20 miles
Telescope with fiber coupled adaptive optics

## Slide 88: Other applications

## Slide 89: Optical readout for LAr TPC
Image light from avalanches in gas phase
hep.ph.liv.ac.uk/ariadne/index.html
Kostas Mavrokoridis, Adam Roberts et al
Tpx3Cam can measure drift time
 converts 2D to 3D

## Slide 90
5.5 MeV alphas in CF4 gas
Using Tpx3Cam
Color = TOA
Color = TOT

## Slide 91
Alphas and cosmics
TOT color scale
(x,y,z)
A. Roberts, P. Svihra, A. Al-Refaie, K. Majumdar, K. Mavrokoridis, A. Nomerotski, B. Philippou and J. Vann: 'First demonstration of 3D optical readout of a TPC using a single photon sensitive Timepix3 based camera'. https://arxiv.org/abs/1810.09955

## Slide 92: Future directions in imaging

## Slide 93
X. Llopart
by Medipix4 collaboration

## Slide 94: Single Photon Sensitivity without intensifier?
So far needed outside amplification (MCP) to have a detectable signal
Limitation: QE ~ 35%
GaAs
Photonis photocathodes

## Slide 95: Single Photon Imaging without intensifier?
Can the amplification be integrated into the sensor? Silicon QE can be >90%. At room temperature.
SPAD imagers
Currently PDE ~30-60% and high DCR but there are no fundamental limits, the technology is improving

## Slide 96: 100 ps 32x32 pixel SPAD Camera
fully digital 8×16 pixel SPAD array
Superb time resolution
BUT high dark count rate,
difficulties in integration of complex designs
in a monolithic sensor

## Slide 97: Questions?