## Slide 1
Urša Rojec <ursa.rojec@cosylab.com>
Miroslav Pavleski <miroslav.pavleski@cosylab.com>
MTCA.4 Health monitoring in EPICS

## Slide 2: Motivation
MTCA.4 offers a lot of heath data on the system
Currently this needs to be monitored trough the terminal or dedicated web interfaces
  specific MTCA4 knowledge is required

## Slide 3: Goal
Pull relevant monitoring data into EPICS –
expose the crate health as any other device in the CS
Integrate MTCA.4 health information into the CS
  Information available directly on the operator screens
  Include alarms in the CS alarm service
  Monitor trends and archive data
Benefits
  Predictive maintenance
  allow operators to react to critical events
Notes: Remove the need for domain knowledge and MTCA.4-specific training – expose the system as any other device in the control system

## Slide 4: Realization
Use of standard Linux libraries
Device support for EPICS
Operator Screen provided
NAT specific commands integrated first
Device support will allow for including other MCHs

## Slide 5: NDS vision
Nominal Device Support v3
      https://github.com/Cosylab/nds3
abstraction layer for digitizers / FMC carriers
future FPGA side abstraction – define inputs / outputs and use Simulink to do the application specific stuff

## Slide 6: Thank you!
Miroslav Pavleski
COSYLAB
Web: www.cosylab.com