Facility News and Announcement

Computing review in September
Feedback with regards to the SPHENIX group – Collaborative tools
Need to look into computing needs for FY20 - Instantiate VMs
ITD meeting – Single Identity provider was assumed but in fact allows for multiple IDPs
Agreement with ITD to support separate inCommon IDP for RACF/SDCC
Active Directory federation - local instance of co-Manage with CIlogon
Test with other institutions to federate

Integrate federated identity management with selected facility servers
Invenio based data repositories
MatterMost – Guest accounts currently will not require a BNL account to login
BNLBox - concern about filesharing/security issues

Inform any security concerns about federated identity management and service integration to ISSO

New employee – web development/web issues

See slides posted on agenda

RACF/SDCC Network Operations

Summary of equipment
ATLAS/RHIC/BELLE II/EIC Computer additions
7 racks in CDCE and RCF are expected to be decommissioned before FY20 CPU purchase
New RHIC central storage in CDCE for purchase
CSI ML cluster in Farm group updates
New ATLAS Prod Ceph OSD nodes in Storage group
Legacy Nexsan racks being inventoried
New RHIC central storage in CDCE -purchase in progress
Purchase of dedicated NSLS II storage (for Lustre)
Additional FARM nodes
Reduce purchases, 10 PB of free storage
External Antenna deployed on roof of Bldg 515 connected to first GPS – 9 months completion period- is working fine.
HPSS DB New servers replaced, installation in progress - service /data not migrated
Preparation for BCF Silo migration
ATLAS – dedicated DUNE dCache – dedicated storage using spare hardware
BELLE II Rucio subsystem being added
STAR maintenance went without interruptions
Conclusion of migration of HPSS – legacy passive HPSS FC infrastructure racks have to be removed
DL2 switch pair replacement completed
MMF fiber termination approaching completion
Move all tapes 2 HPSS libraries - schedule for summer, 6 racks to be filled, new computer for BELLE, RHIC, ATLAS
HPSS tapes can travel between adjacent setup racks

See slides posted on agenda

Storage (Disk and Tape) Group Update

HPSS status

Silo downtime occurred when planned for the LTO-8 upgrade
Monday restart – ACSLS tape silo manager did not come up
Some Hardware Failures, Network Connection errors on all RHIC silos
Software Failures
Partially brought up the HPSS service – STAR Silo down (5% of STAR tapes down)
Reset the switches – issue only with the PHENIX, BCF, STAR silo errors
Oracle support staff were brought in for troubleshooting
Software configuration issues come up when PHENIX silo was moved in July
Live move to CDCE, never tested, removing a library which caused problems
Have to reinstall from scratch, had to take out from audit – reinstalled ACS software and resolution reached
In the future schedule at least 4 hours downtime and auditing is required.
Future use SCSI tape libraries to detect, figure out the HPSS HW errors

See slides posted on agenda

General Services

AFS heavily hit earlier in the week, Volume checks needs to be done

rcf3.rhic.bnl.gov updates - latex testing on tex.sdcc.bnl.gov
Issues of transferring files with group accounts
MatterMost - STAR issues – Testing with SDCC accounts for now, later add BNL active directory accounts

RACF Linux Farm

New nodes for EIC are online – increased quota
Interactive machines for EIC have been tested
ATLAS – new nodes added to the shared pool
Hold off retiring equipment for farm (make sure of resources availability)

Services and Tools group

BNL Box – 60 users now
Testing by STAR - extensive – small document disclaimer text from ITD
Discussed with ITD for list of requirements
Not much feedback from NSLS II
CFN – 7 GB of data usage (assigned 1 TB)
Migration of data from old system to new system in Nextcloud
Deadline to turn off old system

AOB

Email services – PHENIX Testing - group management of mailing lists has issues
Need to do together, instead of individual user management