## Slide 1: CMM Measurements of Coil LHQ03
R. Bossert, J. Schmalzle, R. Riley
April 7, 2014

## Slide 2
CMM Measurements were taken of the cross section of coil LHQ03 at both BNL and FNAL at several measurement positions.
Positions taken by BNL:
10 in. (254mm)
18 in. (457mm)
40 in. 1016mm)
70 in. (1778mm)
100 in. (2540mm)
120 in. (3048mm)
128 in (3251mm) .
Positions taken by FNAL:
10 in. (254mm)
18 in. (457mm)
40 in. 1016mm)
59 in. (1498mm)
70 in. (1778mm)
80 in. (2032mm)
100 in. (2540mm)
120 in. (3048mm)
128 in (3251mm) .
All measurements except two are taken at the same positions by the two labs. The additional two positions (in red) taken by FNAL are located at the alignment positions of the BNL impregnation tooling.

## Slide 3
All measurements are normalized vertically to the outer surface of the coil and horizontally to the slot at the center of the titanium pole.
All positions are shown as “distance from the lead end”, and all plots are shown “as viewed from the lead end”.
Comparisons of the measurements are shown on the following slides.
Arrows describe the amount that surfaces deviate from the nominal position.

## Slide 4
Position 10in (254mm)
BNL
FNAL
Left Midplane
OD
Right Midplane

## Slide 5
Position 18in (457mm)
BNL
FNAL
Left Midplane
OD right
Right Midplane
OD
Keyway Right
Keyway Left
Keyway Bottom

## Slide 6
Position 40in (1016mm)
BNL
FNAL
Left Midplane
OD right
Right Midplane
OD
Keyway Right
Keyway Left
Keyway Bottom

## Slide 7
Position 59in (1498mm)
FNAL
Left Midplane
OD right
Right Midplane
OD left
Keyway Right
Keyway Left
Keyway Bottom

## Slide 8
Position 70 in (1778 mm)
BNL
FNAL
Left Midplane
OD right
Right Midplane
OD left
Keyway Right
Keyway Left
Keyway Bottom

## Slide 9
Position 80in (2032mm)
FNAL
Left Midplane
OD right
Right Midplane
OD left
Keyway Right
Keyway Left
Keyway Bottom

## Slide 10
Position 100in (2540mm)
BNL
FNAL
Left Midplane
OD right
Right Midplane
OD left
Keyway Right
Keyway Left
Keyway Bottom

## Slide 11
Position 120in (3048mm)
BNL
FNAL
Left Midplane
OD right
Right Midplane
OD left
Keyway Right
Keyway Left
Keyway Bottom

## Slide 12
Position 128in (3251mm)
BNL
FNAL
Left Midplane
OD
Right Midplane