## Slide 1: High-Accuracy 5-MeV Mott Polarimetry at the CEBAF Injector
J. M. Grames1, C. K. Sinclair2, R. Suleiman1, M. Poelker1, X. Roca-Maza3, M.L. Stutzman1, Md.A. Mamun1,4, M. McHugh1,5, D. Moser1, J. Hansknecht1, B. Moffit1, K. Foreman6, and T.J.Gay6
1JLab; 2TIAA-CREF; 3Università degli Studi di Milano; 4Old Dominion U.;5George Washington U.; 6U. of Nebraska-Lincoln

## Slide 2
CEBAF Polarized Electron Injector
Chopper
Buncher
Capture
Bunchlength
Cavity
Cryounit
Cryomodules
Synchrotron
Light Monitor
Mott
Polarimeter
Injection Chicane
Spectrometer Dump
PreBuncher
Gun#2
Gun#3
V-Wien Filter
H-Wien Filter
Apertures
Spin Solenoids
bunching & acceleration
(500 keV)
SRF acceleration
(3-8 MeV)
4p spin manipulation
polarized electron source
(130 keV)
synchronous photo-injection
5-MeV Mott polarimeter
SRF acceleration
(123 MeV)

## Slide 3: High-Energy Polarimetry in the Jlab Experimental Halls (2020)
Hall A
Compton: ~ 1%
Møller: ~1.8%
Hall B
Møller: ~2.5%
Hall C
Compton:~0.6
Møller: ~0.8%
¡Møller, PVDIS need polarimetry with an accuracy better than 0.5%! This will lab-wide polarimeter upgrades and a 2nd SPIN DANCE

## Slide 4
The Ascent to A TRUE
S = the “Sherman Function”
Calculate for elastic scattering from single atoms
The Sherman function is calculated assuming elastic scattering from single atoms.
As the incident energy increases, the surface of the “effective Sherman function”, Seff, flattens out
=

## Slide 5: The CEBAF 5-MeV Mott Polarimeter
θ = 172.6°
Ω= 0.18 msr

## Slide 6: Pulse-Height Analysis & Energy Resolution
Pulse-height cuts made between
- 0.5σ and +2.0 σ
After time-of-flight cuts, the Gaussian fit (green) is made after the exponential quasi-inelastic tail is temporarily subtracted.
2σ

## Slide 7
Extrapolation to Single-Atom Scattering
In parallel with GEANT modeling, we explored multiple fitting functions (see Fletcher et al. PRA 34, 911 (1986)
Try both A(t) and A(R)
Use the method of Pade approximates (suggested by D. Higinbotham):
or (n,m),
Previous Mott scattering zero-thickness extrapolations have considered forms (1,0), (0,1), (1,1), (0,2), (2,0), and (∞,0)
Reject fits based on poor reduced chi-squared values and the outcomes of F-tests
Expand statistical uncertainty to include all reasonable fits
Run 1 Run 2

## Slide 8
J. M. Grames, C. K. Sinclair, M. Poelker, X. Roca-Maza, M. L. Stutzman, R. Suleiman, ­ Md. A. Mamun, M. McHugh, D. Moser, J. Hansknecht, B. Moffit, and T. J. Gay, “A High Precision 5- MeV Mott Polarimeter,” Phys. Rev. C, in press.

## Slide 9: Error Budget and Result

## Slide 10: Q:How good is the theory for S? A: “Probably about 0.5%...”
QED effects (vacuum polarization, self-energy) and bremsstrahlung, which are just starting to become important at 5 MeV, lead to some uncertainty in S, although the cognoscenti are “pretty sure” that the effects of vacuum polarization offset those of self energy. (There is some circumstantial experimental evidence to support this.) The effect of bremsstrahlung has not yet been quantified.
With Mott precision of < 0.5%, we can test theory indirectly by comparing experimental results with the predictions of theory for the Z- and E-dependence of S.
New regime for tests of QED
Z
E

## Slide 11
γ
e-
z
y
x
Pe
P1 ; P2 ; P3
0o
45o
90o
135o
Acurate Electron Spin Optical Polarimetry (AESOP)
See also MAMI POLO: B.Collin et al., NIM A 534, 361 (2004)

## Slide 12: The General Electron Optical Polarimeter Equation
P3 → Electron polarization in the direction of the emission direction
P1 → Analyzing Power
P2 → Validity of the kinematic assumptions
NB – a,b, exactly computable

## Slide 13: Mott Calibration
Goal: A 0.4% calibration with the 0.3% precision - now demonstrated - would give give an accuracy of 0.5%
This would also allow direct checks of the theoretical Sherman function calculations; tests of QED in a new energy regime

## Slide 14
K.W. Trantham, K.D. Foreman, and T.J. Gay, “Demonstration of vacuum strain effects on a light collection lens used in optical polarimetry” Appl. Opt. 59, 2715 (2020).
AESOP Optical Polarimeter Tests

## Slide 15
Scale drawing of the combined GaAs/trochoidal monochromator AESOP prototype showing: (1) GaAs photocathode (source of polarized electrons); (2) trochoidal deflector and (3) trochoidal monochromator; (4) target cell with optical 2-axis access.

## Slide 16: Double Scattering Calibrations – see the next talk!
A. Gellrich u J.Keβler, Phys. Rev. A 43, 204 (1991)

## Slide 17
¿e?
Supported by the USDOE under contract No. DE-AC05-84ER40150, the NSF (KF, TJG.) under Grants PHY-1505794, PHY-1632778, and PHY-1806771. XR-M acknowledges funding from the European Union’s Horizon 2020 Research and Innovation Program under Grant No 654002.