## Slide 1: Application of WireCell toolkit on ICARUS minicrate dataset
Wenqiang Gu, Andrea Scarpelli
Brookhaven National Laboratory

## Slide 2: Motivation
Wire-Cell toolkit provides the “2D” deconvolution with a long-range induction effects considered in the field response
  https://sbn-docdb.fnal.gov/cgi-bin/private/ShowDocument?docid=16386
The first step is to integrate the toolkit into the ICARUS environment
  Connection with larsoft in both simulation and data

## Slide 3: Porting minicrate dataset to WireCell toolkit
Raw Waveform (de-baseline)
Reading larsoft data format: successful!
First 1000 channels in one event
  Baseline ~ 2000, should be induction
Coherent noise across each readout board (x64 channels)
64 channels

## Slide 4: Coherent noise removal
Coherent Noise Removal
Power spectrum
The correlated noise component is reduced

## Slide 5: Comparison of the power spectrum
Raw
Denoised
Raw
Denoised
Difference between above two
Some spikes are also “coherent” and got filtered

## Slide 6: RMS of ADC from each channel
Coherent Noise Removal
RMS ~ 3.2 ADC
RMS ~ 2.5 ADC

## Slide 7
Ch: 320
321
322
323
324
Coherent Noise Removal
Raw waveform
--- Denoised

## Slide 8
Coherent Noise Removal
Coherent Removal according to 64 channels / group

## Slide 9
Coherent Noise Removal
Coherent Removal according to 32 channels / group

## Slide 10: On-going works
Understanding of the noise from the minicrate data
Performance tuning of the 2D signal processing
  Based on both simulation and data
Validation of the field response
  As well as the transparency
The plan is to catch up with the commissioning