## Slide 1: Beampipe, electron acceptance
Central area ( around IP) ok
Beryllium beampipe
Diameter 62.0 mm inner, 63.5 mm outer
Later: water cooling
Cones & rectangles: Al (needs improvement)
Plots: -4.5 < h < -3.5 band; white circle: h = -4.0
Material in acceptance, [%]
First Si disk at this distance, [cm]
+/- 60 mrad
+/- 60 mrad
+/- 60 mrad
+/- 4.5 m
< 1.5 m
Side view

## Slide 2: Beampipe, hadron acceptance
Material in acceptance, [%]
First Si disk at this distance, [cm]
+/- 60 mrad
+/- 60 mrad
+/- 60 mrad
Central area ( around IP) ok
Beryllium beampipe
Diameter 62.0 mm inner, 63.5 mm outer
Later: water cooling
H-pipe cone: Al (needs improvement)
Plots: 3.5 < h < 4.5 band; white circle: h = 4.0
+/- 4.5 m
< 1.5 m
ROOT TGeo model used for the scans
Top view