## Slide 1: PID Class Updates HBD Update
TK Hemmick

## Slide 2: PID Class
Later today I will update the PID Class.
We need to include e-pi separation as a default.
Everyone will be asked to update their code accordingly.

## Slide 3: PHENIX(JLEIC) Hadron Blind Detector
PHENIX HBD optimized for 1e-vs-2e separation.
  20 photoelectrons vs 40 photelectrons
Non-zero hadron response.
Re-optimize for EIC??
electron
Unfocused Threshold
Cherenkov
Fractional Contribution to signal
Pion Signals Simulated
1st Gap Dominates!
Limited by 1st Gap
Garfield + Fast Monte Carlo

## Slide 4: PHENIX/JLEIC Hadron Blind Detector
microMEGAS provide the smallest gas length.
Gain from any or all of three layers:
  Gain from GEM
  Gain from m1
  Gain from m2
m1
m2
Conceptual Idea
pe
10
10
10
20
20
20
30
30
30
G
pe
pe
Fractional Contribution to signal
HBD: Phenix
HBD+: Gem + 1-stage mM gain
HBD++: GEM _ 2-stage mM gain
HBD
HBD+
HBD++
HBD
HBD+
HBD++

## Slide 5: Rejection Simulation
Match to measurement is quite good for simple simulation.
HBD
HBD+
HBD++

## Slide 6: Gem Hole Spacing
Trivial implementation:
  Assume scale invariance.
  Collection layer thickness linear with spacing.
“Collection Layer” scales with hole spacing
Smaller and Smaller Hole spacing leads to better and better performance
100 mm
125 mm
150 mm

## Slide 7: Summary
HBD can be optimized for e-pi separation.
What rejection is needed requires more debate.
If we minimize hadron response:
  Can get better rejection at fixed length.
  Can maintain rejection at reduced length.
Reasonable?

## Slide 8: BACKUPS

## Slide 9: Recent HBD Work
Primary pe
Smeared by gain
125 micron
150 micron
175 micron
1.5 mm
2.12 mm

## Slide 11: Micro-MEGAS Effective Gain