## Slide 1
AE95 - Optical diagnosis of self-modulated CO2-laser-driven plasma wakes
R. Zgadzaj, James R Welch, M. C. Downer - University of Texas at Austin
M. Babzien, M. Fedurin, P. Kaur, R. Kupfer, K.Kusche, M. Polyanskiy, C. Swinson,
I. Pogorelsky, M. Palmer - Brookhaven National Lab, Accelerator Test Facility
I. Petrushina, L. D. Pinto de Almeida Amorim, M. Flament, P. Iapozzuto, Y. Jing,J. Yan, S. Kongtawong, P. Kumar, R. Samulyak, N. Vafaei-Najafabadi, V. Litvinenko - Stony Brook University
C. Zhang, W.B. Mori, C. Joshi -
University of California Los Angeles
Work supported by: AFOSR-MURI* grant FA9550-16-1-0013 DoE grant DE-SC0011617 DoE grant DE-SC0014043
ATF USERS MEETING, DEC. 09, 2020

## Slide 2
Vision: Quasi-mono-energetic LWFAs based on large, controlled mid-IR laser-driven bubbles
λdrive= 0.8 µm (UT)
25 TW, 30 fs
ne/n0
ne = 2 1019cm-3
ne/n0
λdrive= 10 µm
25 TW, 500fs
ne = 1 1016cm-3
simulations courtesy G. Shvets
Solution: 1) Increase Bubble size >>> a) driving it in lower plasma density 1016 < ne < 1017 cm-3
    b) and efficiently using LWIR driver AE93/AE95/AE88
2) Control injection >>> a) self-injection absent for densities 1016 < ne < 1017 cm-3
    b) inject micron sized, fs duration bunches from a linac AE93/AE95
    c) photo-inject electrons from high Z dopant into the bubble AE88
The most intractable problems in LWFA science (16 years after 2004)
are ~ 10% energy spread (needed: 0.1%) & lack of e-spin-polarization.
ATF USERS MEETING, DEC. 09, 2020

## Slide 3
Vision: Quasi-mono-energetic LWFAs based on large, controlled mid-IR laser-driven bubbles
ne(ρ,ξ)/N0
ρ = kpr
ξ = kp(z – ct)
Self-Modulated LWFA
ne (cm-3)
τ (ps)
ATF CO2
Laser pulse
P (TW)
4
~1018
0.5
CO2 driver
laser
Probe
AE95
simulations:
N. E. Andreev et al.,
PR-STAB 6, 041301 (2003)
e-
Probe
55MeV, <200fs
AE93
<2
<<1018
>2
Self-injected,
accelerated
Electrons
ATF USERS MEETING, DEC. 09, 2020

## Slide 4
nm
Jet backing pressure (atm)
Mean Thomson shift (nm)
ne= 5 1017 cm-3
Pcr = 0.4 TW
λp = 47 µm
ne = 1.8 1018 cm-3
Pcr = 0.1 TW
λp = 25 µm
0
1
2
4
8
12
0
0
10
-10
-20
-30
20
30
0
0.5
1.0
1.5
2.0
ne (1018 cm-3)
Notch filter blocking region
collective Thomson shift (nm)
CO2 laser pulse
drives SM-LWFA
ne-dependent probe spectral shifts 0.5TW, 4ps, λ=10.6µm CO2 laser pulse drives SM-LWFA
“red
zone”
upper ne
limit:
CO2 laser
reflection
from jet
4 ps, λ = 0.532 µm pulse probes wake via forward collective Thomson scatter as ne , ∆t and PCO2 vary.
Lower limit:
Notch filter
J. Welch, “Self-modulated laser wakefields driven by a CO₂ laser,”
Doctoral Dissertation, UT Austin, August 2019.
New plasma shutter has eliminated this problem.
New narrower notch filter will decrease the lower bound.
ATF USERS MEETING, DEC. 09, 2020

## Slide 5
We observed the onset of self modulation near P ~ Pcrit
~P/Pcrit
wavelength[nm]
Blocked by interference filter
Pump and Probe difference frequency
~1
Edge of notch filter blocking region has been moved closer to the probe wavelength, 532nm, by slight rotation.
ne ~ 1.3 1018cm-3
Leaked Probe spectrum
Stokes side band
Pcrit = .017(ω/ωp)2 TW = 0.1 TW
(Pcrit - critical power for relativistic self-focusing)
ATF USERS MEETING, DEC. 09, 2020

## Slide 6
Probe-pump delay (∆t) shows wake decays 90% in ~10 ps, remnants visible at ∆t > 25 ps
6.67
520
525
530
535
540
544
0
-6.67
anti-Stokes
Stokes
ne = 1.5 × 1018 cm-3
notch filter
13.33
20
26.67
λprobe [nm]
∆t [ps]
average Stokes/
anti-Stokes amplitude
Probe duration deconvolved
sideband
amplitude
(arb. u.)
J. Welch, “Self-modulated laser wakefields driven by a CO₂ laser,” Doctoral Dissertation, UT Austin, August 2019.
Spectral structure
observed around
∆t ≈ 0
Simulation: Prabhat Kumar SPACE 1 code
K. Yu, R. Samulyak, “SPACE code for beam-plasma interactions,” Proc. IPAC, 728 (2015)
ATF USERS MEETING, DEC. 09, 2020

## Slide 7
Ionization front seeds the forward Raman instability
PRE-IONIZED PLASMA
DYNAMIC IONIZATON
Simulations using SPACE1 code: P. Kumar, R. Samulyak, Stony Brook University
K. Yu, R. Samulyak, “SPACE code for beam-plasma interactions,” Proc. IPAC, 728 (2015)
P. Kumar, et al., “Simulation study of CO2 laser-plasma interactions and self-modulated wakefield acceleration”, Phys. Plasmas 26, 083106 (2019);
3D parallel, relativistic particle-in-cell code for simulating EM fields, relativistic particles, plasma & atomic processes
On-axis Ex
On-axis Ex
0
1.5
0.2
1.3
Z [mm]
-0.1
0
0.1
-0.1
0
0.1
x[mm]
x[mm]
Z [mm]
-12
0
-14
0
ne[1017cm-3]
ne[1017cm-3]
1064nm PROBE SPECTRUM
Probe spectral side bands have equal amplitudes
ATF USERS MEETING, DEC. 09, 2020

## Slide 8
Main findings from optical probe data at low pulse energies
• 1st detection of SM-wakes using long-λ driver
- record low ne ~ 1017 cm-3
- record low P ~ 0.1 TW
- complex S/AS spectral structure
- wake decay: 5 < τdecay < 10 ps
• Simulations confirmed observations, yielded new insight
- wake growth: τgrowth ~ 1 ps
- nonlinear wake structure
- revealed complex, evolving wake structure
- showed primary SM-wake decays by exciting radial wake, ion channel
(2nd-order S/AS sidebands)
- reproduced spectrum of S/AS peaks via self-consistent probe simulation
- wake amp: depends non-monotonically on drive pulse energy
- reproduced non-monotonic ECO2-dependence
- showed ionization front seeds rapid wake growth
ATF USERS MEETING, DEC. 09, 2020

## Slide 9
Electron self-injection and acceleration expected at current laser parameters
20
40
10
30
dq/dE (pC/MeV)
Energy (MeV)
P = 2 TW
w0 = 50 µm
ne = 4e17cm-3
z = 4.8mm
3D-PIC
1
Simulation: Lidia Pinto de Almeida Amorim, SBU
Simulation: Chaojie Zhang, UCLA
1
1
Simulation: Prbhat Kumar, SBU
SPACE2 code
Pump parameters
w0 =20micron , 2ps, 4J
1.2 mm H2 jet
ne=7.5 1017cm-3
Pump parameters
w0 =50micron , 1ps, 2J
4.8 mm H2 jet
ne=4 1017cm-3
[1] R.A.Fonseca et al., NCS 2331, 343 (2002)
[2] K. Yu, R. Samulyak, “SPACE code for beam-plasma interactions,”
Proc. IPAC, 728 (2015)
ATF USERS MEETING, DEC. 09, 2020

## Slide 10
First Demonstration of SM-LWFA in the mid-IR
CCD w/objective
H2 gas jet 4mm length
ne ~ 5e16 to 5e17/cc
From CTS probe measurement
slit
magnet
B
Lanex
Al foil
20micron
Steel slit
CO2 laser pulse: w0~30μm ,~2ps, 0.5J to 5J
Ref mask
ATF USERS MEETING, DEC. 09, 2020

## Slide 11
Upgrade to 2 TW, 2 ps CO2 drive pulses resulted in copious few-MeV electrons
2.3J
1.0J
6.5J
CCD
4mm length
ne = 4 x 1017 cm-3
from CTS probe measurement
Lanex
Al foil
20 µm
CO2 laser pulse: 2 ps, 1 to 5 J
~0.3 rad
H2 gas jet
s-pol
Elaser
No Injection
ATF USERS MEETING, DEC. 09, 2020
4.0J
1.8J
~0.3 rad
~60 mrad FWHM
0 J
1 J
2 J
3 J
4 J
5 J
6 J
Lanex integrated signal [arb.]
Laser pulse energy

## Slide 12
Upgrade to 2 TW, 2 ps CO2 drive pulses resulted in copious few-MeV electrons
CCD
Probe CTS Spectrum
CO2 pulse
2TW, 2ps
532nm,
2-4 ps probe
H2
jet
Lanex
magnet
ne=1.4 x 1017cm-3
4
∞
16
1
0.7
Electron energy (MeV)
5
10
15
Electron energy (MeV)
30
60
Charge (pC/eV)
SIMULATED
MEASURED
courtesy Prabhat Kumar
(SUNY-Stonybrook)
• peaked (non-exponential) energy spectrum
• self-injection observed down to ne ~ 1017 cm-3 !!
• several tens of pC charge
(injection threshold confirmed by simulations)
Variations in CO2 laser profile lead to significant steering within plasma. As a result, the electron beam pointing also changes. Different parts of this beam fall on the spectrometer on each shot.
Complex e-beam profiles and spectral structures are often observed at high np and/or high ECO2
ATF USERS MEETING, DEC. 09, 2020

## Slide 13
Upgrade to 2 TW, 2 ps CO2 drive pulses resulted in copious few-MeV electrons
Variations in CO2 laser profile lead to significant steering within plasma. As a result, the electron beam pointing also changes. Different parts of this beam fall on the spectrometer on each shot.
Complex e-beam profiles and spectral structures are observed at high np and ECO2
ATF USERS MEETING, DEC. 09, 2020
Total charge above ~1 MeV >1.3 pC
Significant pointing variation makes the use of a slit problematic
[mm]
[mm]
E= 4.2 J
ne = 7.5 x 1017 cm-3
2mm slit
Magnetic deflection UP
E= 3.8 J
ne = 5.7 x 1017 cm-3
Total charge above ~1 MeV
> 0.8 pC
2mm slit
Magnetic deflection UP

## Slide 14
Accelerated electrons display evidence of Direct Laser Acceleration (DLA)
1.7J
2.4J
1.1J
4.8J
CCD
4mm length
ne = 1.4 x 1017 cm-3
from CTS probe measurement
Lanex
Al foil
20 µm
CO2 laser pulse: 2 ps, 1 to 5 J
~0.3 rad
H2 gas jet
s-pol
• e-beam profile
elongated along
Elaser
• e- depleted
perp. to Elaser
Elaser
No Injection
ATF USERS MEETING, DEC. 09, 2020

## Slide 15
The Elongated, double-lobed e-beam profiles along Elaser are reproduced in simulations
Simulation: Prabhat Kumar SPACE code
ne = 5 x 1017 cm-3
ECO2 = 1.4 J, τCO2 = 2 ps
~0.1 rad
py /pz
1
0
-1
20
10
5
15
Electron energy
[MeV]
px /pz
1
0
-1
ATF USERS MEETING, DEC. 09, 2020

## Slide 16
SPACE code simulations elucidate injection and acceleration in the new laser parameter regime.
• Self-injection coincides with wave-breaking
• Trapped e- move forward in wake thru
drive laser fields2 before emerging
t
t +
300 fs
t +
600 fs
2 inducing Direct Laser Acceleration (DLA)
1 Laser: λ = 9.2 µm, w0 = 20 µm, τ = 2 ps, E = 4 J
Plasma: ne0 = 5 x 1017 cm-3
δn/n0
lineout
of above
pz [norm. u.]
pz [norm. u.]
x [µm]
x [µm]
ne [1017 cm-3]
wave-breaking
e-injection
Prabhat Kumar et al., “Evolution of the self-injection process in long wavelength infrared laser driven LWFA,” Physics of Plasmas, ACCEPTED
ATF USERS MEETING, DEC. 09, 2020

## Slide 17
Simple electron bunch source size test
CCD w/objective
H2 gas jet 4mm length
ne ~ 5e16 to 5e17/cc
From CTS probe measurement
slit
Lanex
Al foil
20micron
Steel slit
CO2 laser pulse: ~2ps, 0.5J to 5J
Ref mask
5.5J
2.6J
Simulation: Prabhat Kumar SPACE code
50micron wires
ATF USERS MEETING, DEC. 09, 2020

## Slide 18
Improved electron spectral measurement. Larger spectral resolution and accuracy.
Optical measurements of plasma density with new short pulse TiSapp laser probe. Using both Thomson scattering and interferometric techniques for more accurate measurement of plasma density structures.
Correlation of plasma density, electron properties and radiographic measurements to create a fuller image of the laser plasma wakefield acceleration process.
Improved characterization of CO2 profile and possibly phase for simulation input. Spectral measurements before and after the interaction.
Continued push toward the bubble regime and external injection.
CONCLUSIONS
• 1st detection of SM-wakes using long-λ driver
4ps and 0.5TW
- record low ne ~ 1017 cm-3
- record low P ~ 0.1 TW
- complex S/AS spectral structure
- wake decay: 5 < τdecay < 20 ps
- wake growth: τgrowth ~ 1 ps
- nonlinear wake structure
(2nd-order S/AS sidebands)
- wake amp: depends non-monotonically on drive pulse energy
• 1st detection of self-injection and acceleration in SM-wakes using long-λ driver
Upgraded CO2 laser <2ps and 1-2TW
- Injection and acceleration at record low ne ~ 1017 cm-3
- Electron beam structure consistent with presence of DLA
- Unexpected quasi-monoenergetic features in electrons spectra
FUTURE PLANS
Thank you!
ATF USERS MEETING, DEC. 09, 2020

## Slide 19
Parameter | Units | Typical Values | Comments | Requested Values
Beam Energy | MeV | 50-65 | Full range is ~15-75 MeV with highest beam quality at nominal values | N/A
Bunch Charge | nC | 0.1-2.0 | Bunch length & emittance vary with charge | N/A
Compression | fs | Down to 100 fs (up to 1 kA peak current) | A magnetic bunch compressor available to compress bunch down to ~100 fs. Beam quality is variable depending on charge and amount of compression required. NOTE: Further compression options are being developed to provide bunch lengths down to the ~10 fs level | N/A
Transverse size at IP (s) | mm | 30 – 100 (dependent on IP position) | It is possible to achieve transverse sizes below 10 um with special permanent magnet optics. | N/A
Normalized Emittance | mm | 1 (at 0.3 nC) | Variable with bunch charge | N/A
Rep. Rate (Hz) | Hz | 1.5 | 3 Hz also available if needed | N/A
Trains mode | --- | Single bunch | Multi-bunch mode available. Trains of 24 or 48 ns spaced bunches. | N/A
Electron Beam Requirements

## Slide 20
Configuration | Parameter | Units | Typical Values | Comments | Requested Values
CO2 Regenerative Amplifier Beam | Wavelength | mm | 9.2 | Wavelength determined by mixed isotope gain media | 
 | Peak Power | GW | ~3 |  | 
 | Pulse Mode | --- | Single |  | 
 | Pulse Length | ps | 2 |  | 
 | Pulse Energy | mJ | 6 |  | 
 | M2 | --- | ~1.5 |  | 
 | Repetition Rate | Hz | 1.5 | 3 Hz also available if needed | 
 | Polarization | --- | Linear | Circular polarization available at slightly reduced power | 
CO2 CPA Beam | Wavelength | mm | 9.2 | Wavelength determined by mixed isotope gain media | 9.2
Note that delivery of full power pulses to the Experimental Hall is presently limited to Beamline #1 only. | Peak Power | TW | 2 | ~5 TW operation is planned for FY21 (requires further in-vacuum transport upgrade). A 3-year development effort to achieve >10 TW and deliver to users is in progress. | 5
 | Pulse Mode | --- | Single |  | single
 | Pulse Length | ps | 2 |  | 2
 | Pulse Energy | J | ~5 | Maximum pulse energies of >10 J will become available in FY20 | 5
 | M2 | --- | ~2 |  | 2
 | Repetition Rate | Hz | 0.05 |  | 0.05
 | Polarization |  | Linear | Adjustable linear polarization along with circular polarization will become available in FY20 | Adjustable Linear + circular
CO2 Laser Requirements

## Slide 21
Ti:Sapphire Laser System | Units | Stage I Values | Stage II Values | Comments | Requested Values
Central Wavelength | nm | 800 | 800 | Stage I parameters have been delivered, while Stage II parameters will be available for user experiments once our vacuum transport installation is complete (now planned for FY21 after COVID-19 delays) | 800
FWHM Bandwidth | nm | 20 | 13 |  | 
Compressed FWHM Pulse Width | fs | <55 | <75 | Transport of compressed pulses will initially include a very limited number of experimental interaction points. Please consult with the ATF Team if you need this capability. | 60
Chirped FWHM Pulse Width | ps | 50 | 50 |  | ~2ps
Chirped Energy | mJ | >30 | 200 |  | 
Compressed Energy | mJ | >14 | 100 |  | ~1
Energy to Experiments | mJ | >10 | >80 |  | 
Power to Experiments | GW | >250 | >1067 |  | 
Near IR Experimental Laser Requirements
Nd:YAG Laser System | Units | Typical Values | 2021 Modifications | Comments | Requested Values
Wavelength | nm | 1064 | 1064 | Single pulse | 
Energy | mJ | 5 | 100 |  | 
Pulse Width | ps | 14 | <20 |  | 
Wavelength | nm | 532 |  | Frequency doubled | 532
Energy | mJ | 0.5 |  |  | 0.5mJ
Pulse Width | ps | 10 |  |  | 1-4ps

## Slide 22: COVID-19 Pandemic Impacts
Closure of UT – remote work and associated complications
Inability to travel to BNL to conduct experiments

## Slide 23: Special Equipment Requirements and Hazards
Electron Beam
  Please indicate any special equipment that you expect to need, including (but not limited to) the transverse deflecting cavity, shaped bunch using mask technique, plasma capillary discharge system, bolometer/interferometer setup etc.: NONE
CO2 Laser
  Please note any specialty laser configurations required here: polarization control
Ti:Sapphire and Nd:YAG Lasers
  Please note any specialty non-CO2 laser configurations required here: Doubled Yag and Ti:Sapphire laser beams at LWFA chamber: NONE
Hazards & Special Installation Requirements
  Large installation (chamber, insertion device, etc.):NONE
  Cryogens:NONE
  Introducing new magnetic elements: Spectrometer magnet <1T
  Introducing new materials into the beam path: NONE
  Any other foreseeable beam line modifications: Compressor for electron beam

## Slide 24: Experimental Time Request
Capability | Setup Hours | Running Hours
Electron Beam Only |  | 0
Laser* Only (in FEL Room) |  | 0
Laser* + Electron Beam | 80 | 240
CY2021 Time Request
Capability | Setup Hours | Running Hours
Electron Beam Only | 0 | 0
Laser* Only (in FEL Room) | 0 | 0
Laser* + Electron Beam | 160 | 480
* Laser = Near-IR or LWIR (CO2) Laser
Time Estimate for Remaining Years of Experiment (including CY2021)